## Slide 1: The low-lying electric dipole strength in nuclei: the role of deformation
Luna Pellegri
University of the Witwatersrand and iThemba LABS
PDR?!
GDR

## Slide 2
The Electric Dipole Response
Open Questions on PDR
Collective or single particle
IS vs IV interplay
Neutron skin or toroidal
Role of deformation
Recent Review Papers
A. Bracco, E. G. Lanza and A. Tamii, Prog. Part. Nucl. Phys. 106 (2019) 360
E.G. Lanza, L. Pellegri, A. Vitturi, M.V. Andrés, Prog. Part. Nucl. Phys. 129 (2023) 104006
Thuthukile Khumalo

## Slide 3
The Electric Dipole Response in Deformed Nuclei
P. M. Goddard, et. al. Phys Rev C 88, 064308 (2013)
M. Tamkas et al. / Nuclear Physics A 987 (2019) 79–89
165Gd(g,g) at HIgS
M. Guttormsen et al., Phys Rev C 106, 034314 (2022)
P. von Neumann-Cosel, private communication
154Sm(p,p’) at 295 MeV - RCNP
76Se(g,g) up to 9 MeV at HIgS
Nd isotopes Oslo Method - UiO
in the experimental realm deformed nuclei are not too much explored

## Slide 4
Tin isotopes – RHB + QRPA
K. Yoshida and T. Nakatsukasa, PRC 83, 021304(R) (2011)
Nd and Sm isotopes - HFB plus QRPA with Skyrme interaction
Quench of the low-lying dipole strength with deformation
D. Peña Arteaga, E. Khan and P. Ring, PRC 79, 034311 (2009)
Substantial increase of the dipole strength with deformation - 5 times more than spherical

## Slide 5
The two calculations use:
Different treatments for the pairing.
Different use of the treatment of continuum and weakly bound orbitals.
The calculations of Peña et al. are fully self-consistent, and they do not have the contamination of the spurious center-of-mass motion.
Anyone with more deformed nuclei theoretical models for E1?
Tin isotopes – RHB + QRPA
Nd and Sm isotopes - HFB plus QRPA with Skyrme interaction

## Slide 6
STUDY of the ISOSCALAR Response
Harshna Jivan

## Slide 7
Overview of experiment
BaGeL
K600
At focal plane:
1 XU VDC (position and angle)
1 plastic scintillator paddle (PID)
Resolutions:
K600 → 110-135 keV
LaBr → 80 keV @5 MeV
Clover → 15-30 keV @5 MeV
Target thicknesses
144Sm: 1.8 mg/cm2
154Sm: 4.9 mg/cm2
Absolute photopeak efficiency:
0.14-0.3% @ 8 MeV
12 HPGe Clovers + 6 large volume LaBr3:Ce

## Slide 8
Results for 144,154Sm
144Sm
154Sm
⍺-𝛾 correlated events are clearly visible

## Slide 9
144Sm
154Sm
Spherical
Deformed

## Slide 10
Confirming Multipolarity Character
A practical guide to using the AngCor package - arXiv:2001.11104 [nucl-ex]

## Slide 11
Confirming E1 Character
A practical guide to using the AngCor package - arXiv:2001.11104 [nucl-ex]

## Slide 12
Differential Cross Sections
Spherical
Deformed

## Slide 13
Low-lying E1 strength excited in both nuclei
Higher fragmentation of the strength in the deformed Sm
Hinder of the total cross section below separation energy for the deformed Sm

## Slide 14
144Sm theoretical calculation
Inelastic α-scattering excitation cross sections calculated in semiclassical model framework for E1 excitations based on the transition densities obtained from RQTBA (covariant density functional with NL3 parametrization)
2p2h and 3p3h configurations are considered
Performed by Edoardo G. Lanza and Elena Litvinova
Method described in PHYSICAL REVIEW C 89, 041601(R) (2014)

## Slide 15
144Sm
Complex configurations critical for the interpretation

## Slide 16
154Sm theoretical calculation
Transition densities obtained from Deformed HFB+QRPA calculation
K. Yoshida and T. Nakatsukasa, PRC 88, 034309 (2013) and PRC 83, 021304(R) (2011)

## Slide 17
Cross section of 154Sm not reproduced
Overestimation of the total strength
Experimental data show a hinder in the strength as suggested by the RHB+QRPA calculations
154Sm

## Slide 18
144Sm - Comparison of (⍺,⍺’𝛾) with (𝛾, 𝛾’) results
Anton Tonchev et al., EPJ WoC 93 (2015) 01030

## Slide 19
154Sm(p,p’) at 295 MeV – ISOVECTOR RESPONSE
P. von Neumann-Cosel, private communication
IVGDR energy region are fitted by the sum of two Lorentzians
Work of A. Krumann and P. von Neumann-Cosel

## Slide 20
154Sm - Comparison of (⍺,⍺’𝛾) with (p,p’) results
?
?
Presence of a second peak at 8 MeV depend on the shape of the tail of the IVGDR fit

## Slide 21
154Sm - Comparison of (⍺,⍺’𝛾) with (p,p’) results
P. von Neumann-Cosel, private communication
154Sm Theoretical Calculations
IS
IV
IS
IV
?

## Slide 22
154Sm(𝛾, 𝛾’) at HI𝛾S
ALAGA rule ratio for pure K=0 and K=1 states
Explored only up to 3.5 MeV
A. Zilges et al. PRC 42 (!990) 1945
Attempt to measure the decay to g.s. and 1st excited state important to understand the splitting
154Sm(g, g’) @ HIGS - May 2023
Refilwe Molaeng
Data analysis in progress

## Slide 23
Conclusions
The evolution of the PDR with deformation is being investigated using the (α,α’γ) reaction in 144Sm and 154Sm @ iThemba LABS
First time that a spherical and deformed nucleus is investigated in the isovector and isoscalar responses below neutron threshold
Results show no K-Splitting in the IsoScalar response. Rather isospin splitting observe as per studies in other nuclei.
Strength deduced from the direct decay appears hindered and more fragmented with deformation when compared to the spherical case
Importance of complex configuration in the description of the strength below Sn
144Sm response in agreement with theoretical predictions while it is not the case for 154Sm
  Is this due to deformation that hinders individual state structure?
  Does the statistical decay component play a more relevant role in the deformed nuclei?

## Slide 24
Collaboration
, M Weinert4
THANKS TO K. Yoshida, E. Litvinova, E. Lanza for the theoretical calculations

## Slide 25
THANK YOU FOR THE ATTENTION