## Slide 1: Coldbox design update
You can write unit / affiliation. leave blank if not applicable. To change content go to: Menu -> Insert (Mac = Display) -> Header and Footer
12-06-2019

## Slide 2: Vacuum chuck design
Vacuum chuck consists of three parts:
Base
Cover plate
Carrier rest plate
Vacuum chuck base
Vacuum inlet
Vacuum distribution grooves

## Slide 3: Vacuum chuck design
Vacuum chuck consists of three parts:
Base
Cover plate
Carrier rest plate
Vacuum chuck cover plate
Vacuum feedthrough holes
Mounting holes

## Slide 4: Vacuum chuck design
Vacuum chuck consists of three parts:
Base
Cover plate
Carrier rest plate
Vacuum chuck carrier rest plate
Mounting holes
Design of carrier rest plate can be finalized when we know the design of the module carrier.

## Slide 6: Chiller stackup
20x20mm extruded aluminium profile
10mm armacell insulation
Coldplate
Flexible tubing
4mm insulation
Peltier elements
Vacuum T adapter
Vacuum chuck base
Vacuum chuck cover plate
Vacuum chuck carrier rest plate

## Slide 7: Coldbox
New enclosure
15.2 cm shorter, 5cm lower
610 mm
1067 mm
254 mm
EN4SD422410GY

## Slide 8: Coldbox layout
All major structural elements fit well inside enclosure.
Tubing is routed below coldplates.
Structural elements are fastened to an extruded aluminium frame.

## Slide 10: Outstanding issues
How to measure temperature of module?
Do we really need temperature on cold-side of peltiers as suggested last meeting?