## Slide 1
Testing QED with Precision Spectroscopy of the Helium Atom
Yu Robert Sun
孙羽
University of Science and Technology of China,
Hefei, Anhui, P. R. China
Notes: Good morning , I am very appreciate to have this chance to give a talk here, and I will give a talk on testing QED with preic… My name is Yu Sun ,and I come form…

## Slide 2
Introduction : Simple Atom, Fundamental Physics
2
3He/4He IS
Nuclear Charge Radius
4He
Fine Structure
Electric Dipole Forbidden Transition
QED Theory Test
High Precision-Quantum Calculation
[Shui-ming Hu, Zheng-Tian Lu, Zong-Chao Yan,
Front. Phys. China, 2009,4(2), 165]
Notes: Simple structure , Helium atoms play, It is also among, with the calculation…., It can , main task, around the main task, Our project are proposed , three professor, test ,mearue

## Slide 3
Introduction : Simple Atom, Fundamental Physics
1324MHz
86MHz
23S1
23P2
23P1
23P0
2.291GHz
29.617GHz
1083 nm
21S0
21P1
11S0
2058.7nm
0.58ns
97.88ns
7870s
19.7ms
58.4nm
33D3
33D2
33D1
33P2
33P1
33P0
659MHz
8114MHz
389 nm
588nm
33P
33D
1557 nm
23P
104ns
Eikema
Vassen
Li_Bang Wang
Li-Bang Wang
Muelle
31D2
668nm
Notes: 丰富而有分明的能级系统

## Slide 4
He-4 (1s2p) 23P Fine Structure Interval Splitting
Testing the QED theory
Measure the fine structure constant α
He-4 (1s2p) 23S-23P Transition frequency
Testing the QED theory
He nuclear charger radius

## Slide 5
1s2s 3S1
3P2
3P1
3P0
ν 12 2.3GHz
ν02 32GHz
He-4 23PJ
1083nm
He-4 (1s2p) 23P Fine Structure Interval Splitting
Theory
Experiment
Pachucki’10
Pachucki’10
Hessels’01
Gabrielse’05
Shiner’10
Microwave Spectra, Atomic Beam
Saturation Spectra, Cell
Laser Spectra, Atomic Beam
Shiner’00
Hessels’09
Gabrielse’05
Hu’17
Hu’17
Hu’15
Notes: We are most interesting, It has two intervals, 2.3,32, Through this picture, once in the history, under the testing of …. The theory physics re-examine , right now the theoretic ,,but the result between different experiments ..

## Slide 6
Stern- Gerlach
Magnet
Magnetic shield
Helmholtz Coil
Laser Cooling Scheme
Atomic source
Channeltron
Detector
Cosine Coil
Pre-Cooling
Laser cooling based atomic beam system
Experimental Configuration
3-meter long beam line
well shielded space
Xin Zheng
23S1
23P
m=-1
m=0
m=+1
Probe laser
Δ2
23S1
m=-1
m=0
m=+1
Pump laser
σ+
23P1
Notes: 用这套原子束流系统我们可以测量23P1-2，以及23P0-2的能级间隔

## Slide 7
Optical Setup
Fiber Master Laser
Cooling Laser
Pump Laser
Temperature controlled ULE cavity
PDH locking scheme
Phase lock module
23S1
23P1
23S1
23P2
15GHz
Beat Signal
Phase lock module
2.3GHz
Beat Signal
÷8
Fiber EOM
15.6GHz
+1st
-1st
ECDL Probe Laser I
ECDL Probe Laser II
Phase lock module
Phase lock module
Shutter I
Shutter II
Power Noise Eater
Fiber coupler
Frequency Accuracy
Power Stabilization

## Slide 8
Spectral Signal

## Slide 9
Systematic Check -- Magnetic Field
Z. C. Yan and G. W. F. Drake, Phys. Rev. A 50,R1980(1994)
Second Order Zeeman shift
The magnetic field intensity
was determined with an
accuracy within 2mGauss
Contribution to the uncertainty
less than 60Hz
The contribution due to the
residual magnetic field
Less than 0.3mGauss contribution
to less than10Hz in the probe region

## Slide 10
Atomic Beam
Systematic Check – First Order Doppler Effect
Total deviation below 500Hz was observed, when the misalignment within 200urad
Normally we worked on the misalignment well below 10urad
Total Doppler shift less than 25Hz
Retro-Reflection Probe laser Beam

## Slide 11
Systematic Check – Laser Power
Power is lower than
1/4 saturation intensity
Extrapolate to the
zero laser power limit
Combined with the slopes
and the linearity of laser
power measurement
Total uncertainty within 60Hz

## Slide 12
Systematic Check – Other Effect

## Slide 13
Uncertainty Budget (in kHz)
Uncertainty budget(in kHz)
Source | ν02 | Δν(1σ) | ν12 | Δν(1σ)
Statistical | 31 908 130.90 | 0.06 | 2 291 176.35 | 0.08
Zeeman effect |  | 0.06 |  | 0.09
Laser power |  | 0.06 |  | 0.06
First-order Doppler |  | 0.03 |  | 0.03
Stray light |  | 0.02 |  | 0.02
Laser polarization |  | 0.03 |  | 0.08
Initial states |  | 0.04 |  | 0.04
Quantum interference | +0.08 | 0.03 | +1.21 | 0.10
Total | 31 908 130.98 | 0.13 | 2 291 177.56 | 0.19
Physical Review A 91, 030502(R) (2015)
Physical Review Letters 118,063001 (2017)

## Slide 14
Conclusion
The uncertainty of the ν02 interval is reduced to 0.13kHz
Confirmation of the α5Ry QED corrections
Would allow an independent determination of the α with a precision of about 2E-9
provided theoretical predictions reach a similar level of accuracy
Pachucki’10
Pachucki’10
Hu’17
Hu’17
Shiner’10
Gabrielse’05
Gabrielse’05
Hessels’01
Hessels’09
Shiner’00
Hu’15

## Slide 15
He-4 (1s2p) 23P Fine Structure Interval Splitting
Testing the QED theory
Measure the fine structure constant α
He-4 (1s2p) 23S-23P Transition frequency
Testing the QED theory
He nuclear charger radius

## Slide 16
He-4 (1s2p) 23S-23P Transition frequency
Aim
Measure absolute frequency of 23S-23P of 3He and 4He
Accuracy at least within 10kHz
=
μ-H/H
μ-He/He
Test of fundamental physics can be obtained
not only from the hydrogenic systems
but also from the few body atomic
Systems, such as He and He-like ions.
Physical Review A 95,062510 (2017)

## Slide 17
He-4 (1s2p) 23S-23P Transition frequency
23P-23S saturated absorption
Atom trap 21S-23S
Electron-scattering
nuclear theory
δr2[3He-4He](fm2)
3He/4He 21S-23S -R.van Rooij et al, Science 333,196(2011)
3He/4He 23P-23S–P.Cancio Pastor et al, PRL 108,143001(2012)
E(3He,23P01/2-23S13/2)-E(4He,23P2-23S1）-D.Shiner, PRL 74,3553(1995)
“The results forδR2 derived from the 23P-23S and 21S-23S transitions are shown to disagree with each other by about four standard deviations. The reason of this disagreement is presently not known”
- K. Pachuchi and V. A. Yerokhin J. Phys. Chem. Ref. Data(2015)
23P-23S laser spectroscopy
Isotopic shift (3He&4He) The nuclear charge radius discrepancy
Notes: Another interesting thing we can do is to test the isotopic shift of the He-3 and He-4 atom. The current puzzle that 23P-23S and 21s-23s transitions disagree with each other by four standard deviations are still unknown. Take advantage of our beam system and the frequency comb system, we shall improve the current measurement to a precise of 1 kHz. So hopefully we can solve this puzzle.

## Slide 18
Experiment Methods
23S1
23P1
m=-1
m=0
m=+1
Probe laser
Δ1
Δ2
23S1
m=-1
m=0
m=+1
Pump laser
π
23P0
Δ1=
Δ2=

## Slide 19
He-4 (1s2p) 23S-23P Transition frequency
Laser Frequency Metrology
First Order Doppler Effect
Problem to be solved

## Slide 20
Laser Frequency Metrology
Laser Frequency Metrology
Fiber Master Laser
PDH locking scheme
Frequency Measurement
GPS Served
Rubidium Clock 2E-12
10MHz Ref clock
Frequency Comb
GPS Served Rubidium Clock
Accuracy can be within 550Hz

## Slide 21
Δf = fb1 – fb2 = f1 – f2 + (N2 – N1) fr
Δf = f1566/m1 – f1083/m2
Probe laser line-width discriminate
Y. Yao et. al. Applied Physics Letter 109,131102(2016)

## Slide 22
Laser line-width measurement
Avg: 60 times
Sweep time: 200 ms
RBW: 100 Hz

## Slide 23
First Order Doppler
First Order Doppler
Atomic Beam
Probe Laser
No Doppler cancel
θ
Atomic Beam
Probe Laser
θ
With Doppler cancel

## Slide 24
First Order Doppler—Cancel mechanism
Probe laser
Atomic beam
α
10urad correspond to about 3kHz derivation
Cancel Mechanism
Cat’s eye optical method
Active Feedback method
Atomic beam
Focus=ƒ
Atomic beam
PZT-H
PZT-V
PLL
PI
PI
Fiber
Achromatic lens
Beam Splitter
Detector
Waist
Collimator
Fiber head
MFD7.7um
Physical Review Letters 92,023001 (2004)
Physical Review Letters 105,123001 (2010)
Can. J. Phys. 83,301 (2005)
Optics Express 24,17470 (2016)

## Slide 25
Systematic Check -- Doppler Effect
4
April 2017
July 2017

## Slide 26
Doppler Effect—Atomic longitudinal velocity distribution
UV light、21S helium atoms
Transvers cooling light
23S helium atoms
Measure longitudinal velocity of the atomic beam
2m
0.5mm Slit
Probe laser
0.5mm Slit

## Slide 27
Doppler Effect—Atomic longitudinal velocity distribution

## Slide 28
Doppler Effect—Atomic longitudinal velocity distribution
Standard Deviation
0.36kHz
Velocity Range
1/3 mean velocity
Residual first-order
Doppler shift
1.1kHz

## Slide 29
Measurement of 2S-2P Transition frequency
Source | Correction [kHz] | uncertainty [kHz] | Rel.uncertainty [10-12]
Statistical | - | 0.50 | 1.8
Frequency metrology | - | 0.55 | 2.0
First-order Doppler | - | 1.00 | 3.6
Line Shape | - | 0.40 | 1.2
Second-order Doppler | +0.70 | 0.15 | 0.5
Laser power | - | 0.10 | 0.3
Quantum interference | +0.60 | 0.10 | 0.3
Stray light | - | 0.05 | 0.2
Zeeman effect | - | 0.01 | 0.04
Recoil shift | -42.20 | - | 
Total | -40.90 | 1.4 | 5.0
23S1-23P1 Uncertainty budget(in kHz)
 | ƒ0 | ƒ1 | ƒ2
USTC | 276 764 094 657.2(1.4) | 276 734 477 703.8(1.4) | 276 732 186 526.2(1.4)
Florencea | 276 764 094 707.3(2.1) | 276 734 477 752.5(2.0) | 276 732 186 620.2(15.0)

## Slide 30
Measurement of 2S-2P Transition frequency
(Florence 2012)
Florence 2004 4He+Florence 2012 3He
Yale 1995
Amsterdam 2011
?
USTC 4He 2017+3He Florence 2012

## Slide 31
Outlook
Further improvement of the accuracy to 1kHz or sub-kHz
Use Zeeman Slower to Reduce the velocity to 100m/s
Reduce an order of factor of first order Doppler effect
Velocity extrapolation
Second-Doppler Effect Estimate
Jiao-Jiao Cheng
RF
excitation
Transverse Cooling
2D-MOT
Zeeman Slower
2D-MOT
deflect
pump
probe
Stern-Gerlach
Laser Cooling
State preparation
Spec. measurement
State-selection
Detection
Notes: In the meanwhile we would like to make some improvement of our old setup to make a better fine measurement. We plan to use..

## Slide 32
Acknowledgement
Funding:
Shui-ming Hu
Thank You !!!
Zheng-Tian Lu
Wei Jiang
UNB (CA)
Zong-Chao Yan
Zhan-Jun Fang
Fei Meng
USTC
NIM
NTS
Hai-Feng Jiang
Xin Zheng
Jiao-Jiao Chen
University of Warsaw
K. Pachuchi