## Slide 1: Particle Identification at the LHC
Rachid Mazini
Academia Sinica, Taiwan
First International High Energy Physics School
and Workshop in Western China Lanzhou, China
1-10 August 2018

## Slide 2: Rachid Mazini
From 1999-now:
Work on the ATLAS Experiment on the LHC @CERN as a student, Research
Associate (Canada) then a Reseacrh Scientist (Taiwan)
  Involded in Lquid Argon Calorimeter construction and operations
  Software development for jets and reconstruction
  Higgs physics, SM measurements, Dark Matter searches
  More recently, Timing Detectorr (HGTD) for the ATLAS upgrade for HL-LHC
2003-2005. CDF parenthesis:
  SM measuremnts: Z/W+jets, High order QCD corrections
Recently start some involbvemnet in CEPC activities
PhD Montreal
R. A. Toronto
& FERMILAB
Undegrad in
Morocco&France
Research Scientist
Taiwan
Work on ATLAS
@CERN

## Slide 3: Outline
Particle Identification is a very broad topic
Limited time  need to be selective
I will focus on the basic aspects of reconstruction and identification of elementary particles as they are produced in primary physics processes.
I will also discuss techniques to measure the performance of the reconstruction and identification algorithms using the data
I will restrict myself to the multi-purpose experiments ATLAS and CMS at the Large Hadron Collider (LHC)
Outline of this lecture:
Other identification techniques for single particles (hadrons!) like dE/dx, Cherenkov radiation etc. not covered here  some information in Backup Vertex reconstruction  some information in Backup
Lecture 1:
  Introduction to LHC
  Some basics in particles-matter interaction
  Track reconstruction
  Calorimeter energy
Lecture 2:
  Muons
  Electrons and photons
  Tau hadronic decay
Lecture 3:
  b-quark jets
  Jets,

## Slide 4: Elementary Particles of the Standard Model
Unstable: t  bW
Stable!
Hadronisation  Jets b jets: dedicated identification techniques
No interaction with detector
 Missing (transverse) energy/momentum
Hadronisation  Jets ( (quasi-)stable hadrons: p±, K±, K0L, p, n)
Unstable: identify via decay products
Stable!
(m not really, but as seen by a detector)
Unstable: identify via decay products

## Slide 5: The Large Hadron Collider: LHC
protons
protons
Proton-Proton (Heavy Ion) Accelerator
Circumference: 27 km
Energy: √s = 7 TeV (2010/2011)
√s = 8 TeV (2012)
√s = 13 TeV (2015-2018) Run 2

## Slide 6: The Large Hadron Collider

## Slide 7: Proton-proton collisions at the LHC
Proton bunches >1011 protons/bunch
colliding at 13TeV and at 40MHz in Run-2
collided at 7/8TeV and at 20MHz in Run-1
LHC beam profiles at the interaction point

## Slide 8
<>20~40 <µ>60~80 <µ>~200
Run 1 | Magnet | Run 2 at | Phase I | Run 3 at | Phase II | HL-LHC:
 | splice | ~full design | upgrades | original | upgrades | ten times
 | update | energy | (injectors) | design lumi | (final focus) | design lumi
HL-LHC mode | Peak Luminosity (cm-2 s-1) | Mean number of interactions per bunch-crossing <PU> | Integrated luminosity (fb-1)
Baseline | 5x1034 | 140 | 3000
Ultimate | 7.5x1034 | 200 | 4000
The HL-LHC: The future

## Slide 9: LHC Detectors
protons
ATLAS: A Toroidal LHC ApparatuS
CMS: Compact Muon Solenoid
LHCb (b-physics)
ALICE: A Large Ion Collider Experiment

## Slide 10: Principal Detector Layout
Typical HEP detector
Layout: - Tracking detectors to reconstruct charged particles (embedded in (solenoid) magnet) - Electromagnetic calorimeter to measure energies of electrons
and photons (+ jets)
- Hadronic calorimeter to measure energies of hadrons (jets)
- Muon spectrometer to detect and measure muons penetrating through the detector

## Slide 11: Brief Recap of Some Basics
The interaction of particles with matter allows the detection of particles …. …. but also causes effects like energy loss and deflections which are a nuisance to measurements
I’ll very briefly recap some basics as relevant for what follows in this lecture:
  Ionisation (dE/dx)
  Bremsstrahlung
  Multiple scattering
  Pair creation (photons)
}
Charged particles
Some information on other effects which can be also used for the identification of individual particles (Cherenkov radiation, transition radiation) can be found in the backup slides

## Slide 12: Ionisation, Bethe-Bloch Formula
primary ionisation
primary + secondary ionisation
Energy loss by ionisation: the basic process to create signals in many detector components
Described by the Bethe-Bloch formula ( backup for definition of all parameters, see also lecture of N. Wermes)
charged particle identification!
independent of mass of incident particle
~z2, squared charge of particle
~1/b2 up to minimum, followed by logarithmic relativistic rise
~Z/A  similar over wide range of materials
minimum at around βγ ≈ 3.5 (MIP: Minimum Ionising Particle)
not valid for electrons

## Slide 13: Bremsstrahlung and Pair Production
Bremsstrahlung in the Coulomb field of the nucleus
Average electron energy reduced to 1/e after having passed one radiation length
X0: Radiation length
material | X0 [cm]
Be | 35.3
Si | 9.4
PbWO4 | 0.9
Pb | 0.6
ATLAS LAr absorber
CMS ECAL crystals
Beam pipe
Bremsstrahlung and pair production are wanted features in electromagnetic calorimeters, but a nuisance otherwise!
g  ee conversion in the field of nucleus:
Probability not to have undergone a conversion:  mean free path for pair production is 9/7 X0
ϒ→e+e-
Simulation of electromagnetic shower

## Slide 14: Multiple Scattering
Rutherford scattering of incoming particles on the nuclei of the matter
→ Many small random changes of direction of flight
Distribution of scattering angle nearly Gaussian (many independent scatters; for central ≈ 98%) with:
Displacement:
Average scattering angle and displacement are zero!
 Does not systematically change the track parameters but increases uncertainties of track parameters.
Examples:
 Limiting factor for reconstructing low momentum particles
Multiple scattering is a nuisance for reconstruction of particles (with lower energies)!
x
}
300 mm Si: RMS = 0.9 mrad / bp (~ silicon module) 1 mm Be: RMS = 0.8 mrad / bp (~ beam pipe)

## Slide 15: Charged Particles Track Reconstruction
(Quasi-stable) charged Particles in the detector: e, m, p, p±, K±
Tracker to - reconstruct their trajectory with high efficiency and purity - determine kinematic properties Tracks are basis for many subsequent algorithms Important role in particle identification: - matching to calorimeter clusters for e/g identification, to muon spectrometer tracks for m identification - reconstruct secondary decay vertices of b hadrons, t leptons - ….. Only tracking detectors offer the spatial resolution needed for (many of) these tasks!

## Slide 16: ATLAS and CMS Tracking Detectors
CMS: All-silicon tracker (pixels and strips)
ATLAS: Silicon tracker (pixels and strips) + straw tube detector (Transition Radiation Tracker)
Embedded in solenoid magnets with B ≈ 2 T (ATLAS) ≈ 3.8 T (CMS)

## Slide 17: Requirements
Experimental environment at the LHC: Bunch crossing every 50 ns ( → 25 ns) High instantaneous luminosity (design: 1034 cm-2s-1)  Pileup
→ ~1000 charged particles every 50 (25) ns in the detector (even higher number of tracks in heavy ion collisions)
Need high granularity to reduce occupancy → large number of electronics channels and heat load → more material in the tracker
Fast response, otherwise integrate over several bunch crossings. Challenging readout electronics
Radiation hard: Design for 1015 neq (neutron equivalent) for innermost layers (10 year lifetime)
Precise: Momentum Measurement Spatial precision, especially close to Interaction Point → Impact Parameter

## Slide 18: Track Parameters
The trajectory of a charged particle in a magnetic field can be parametrized through
five parameters*:
- Two variables for localisation wrt. reference point/surface
- Three variables for momentum representation, e.g. two angles and curvature/momentum Perigee Parameters: - d0, z0: distance to reference point (e.g. 0/0/0) at point of closest
approach (in transverse plane)
- Φ, θ, q/p
(for cylindrical geometries,
different for fixed-target geometry)
*: 3d position + 3d momentum = 6
-1 because any point on
trajectory can be chosen
+ their uncertainties  5x5 covariance matrix

## Slide 19: Tracking Input
Main tracking detector types used at the LHC:
- Solid state (silicon) detectors, planar
- Gaseous drift detectors:
Tubes (muon chambers, Straws, …)
TPC (ALICE)
Inputs to track reconstruction are
hits, drift circles, …
May need to combine 2D measurements into space points first (e.g. silicon strip detectors with stereo angles)

## Slide 20: Track Reconstruction (Tracking)
The tracker sees a
cloud of hits (with spatial coordinates and their uncertainties)

## Slide 21: Track Reconstruction (Tracking)
The track reconstruction algorithms need to reconstruct particle trajectories from these hits and determine the kinematic properties (momenta, angles, …)
Trajectory: five track parameters e.g. Perigee Parameters: - d0, z0: distance to reference point at point of closest approach (in the transverse plane)
- Φ, θ, q/p
+ 5 x 5 covariance matrix

## Slide 22: Track Reconstruction Steps
Start from hits

## Slide 23: Track Reconstruction Steps
Start from hits
Find track seeds (typically from 3 hits), determine their parameters
Track Seeding

## Slide 24: Track Reconstruction Steps
Start from hits
Find track seeds (typically from 3 hits), determine their parameters
Extrapolate track candidate to next measurement layer and look for compatible hits
Track Finding

## Slide 25: Track Reconstruction Steps
Start from hits
Find track seeds (typically from 3 hits), determine their parameters
Extrapolate track candidate to next measurement layer and look for compatible hits
Track propagation:
Involves the track model, e.g. for solenoidal magnetic field and no material: helix
Take into account material effects: - energy loss  track parameters and uncertainties
- multiple scattering  inflation of uncertainties

## Slide 26: Track Reconstruction Steps
Start from hits
Find track seeds (typically from 3 hits), determine their parameters
Extrapolate track candidate to next measurement layer and look for compatible hits
Add hit and update parameters of the trajectory
Track Fitting

## Slide 27: Track Reconstruction Steps
Start from hits
Find track seeds (typically from 3 hits), determine their parameters
Extrapolate track candidate to next measurement layer and look for compatible hits
Add hit and update parameters of the trajectory
Kalman filter: combine predicted state at surface where track has been propagated to and new measurement (hit)  progressive way of a c2 fit

## Slide 28: Track Reconstruction Steps
Start from hits
Find track seeds (typically from 3 hits), determine their parameters
Extrapolate track candidate to next measurement layer and look for compatible hits
Add hit and update parameters of the trajectory
Continue to next layer and repeat until end of tracker is reached (or no more hits found). Final determination of track parameters (c2 fit or Kalman smoother).
This was a simplified view (had to be because of available time and the complexity). In practice, different strategies are used, often in an iterative way, e.g.: - Inside-out: seeds from innermost layers (pixel detectors  low occupancy, 3D hits) - Outside-in: seeds from outermost layers; propagate inwards  recover tracks from particles not stemming from the interaction point Adding hits to track candidates is not unambiguous  need to be resolved Might misassociate wrong hits to tracks  define quality criteria tracks have to pass

## Slide 29: Track Reconstruction Efficiencies
Muons are 'easy’:
- no hadronic interactions, no significant bremsstrahlung → Reconstruction efficiency close to 100%
Electrons: bremsstrahlung! ( see later for dedicated algorithms)
Hadrons (mainly pions): hadronic interactions
Tracker material in units of nuclear interaction lengths
pT = 5 GeV
ATLAS

## Slide 30: Tracking Precision
Precision of trackers affected by:
Intrinsic space point resolution (technology: silicon strips, pixels; gas detectors ....)
Dimension of the tracking volume
Multiple Scattering Material budget (also affects measurements in calorimeters!!)
Magnetic field Strength, knowledge!
Alignment Knowledge of detector components positions  See backup material of this lecture for some basics: Gluckstern formulae

## Slide 31: Track Parameter Resolutions
Impact parameters: Main measure for spatial resolutions
- Multiple scattering limiting factor for low pT - Clear dependence on pseudorapidity
Solid/open:
half widths of the 68/90% intervals
intrinsic
multiple scattering
Transverse momentum resolution

## Slide 32: Calorimeters
Lead/Liquid-Argon (LAr) sampling calorimeter with accordion geometry arranged in 3 layers
Fine segmentation
+ precise reconstruction of shower shapes direction measurements for photons!  vertex determination e.g. for gg final states
PbWO4 scintillating crystals (~ 75000 in total): r = 8.28 g/cm3, X0 = 0.89 cm Molière radius = 2.3 cm, A ~ 22 x 22 mm, l ~ 230 mm  Very compact calorimeter
+ Excellent energy resolution
ATLAS
CMS

## Slide 33: Cluster Reconstruction
CMS
ATLAS
sliding window
Start with seed clusters: ATLAS: based on calorimeter towers with Dh x Df = 0.025 x 0.025 from sliding-window algorithm (3 x 5 towers) CMS: extend seed crystals (E ≥ 1 GeV) by arrays of 5 x 1 in h x f
Extend/adjust size of clusters to account for origin of cluster ATLAS: based on track and (conversion) vertex reconstruction, classify clusters are as unconverted photon, converted photon or electron candidate. CMS: add in both directions of seed crystal up to 17 crystals in f if certain threshold exceeded to account for Bremsstrahlung and conversions (spread in f)  Supercluster
Compute corrected cluster energies (MVA regression techniques)

## Slide 34: Cluster Reconstruction
CMS
e without radiation,
g without conversion almost fully contained in 5 x 5 crystals radiation, conversion  spread in f direction
Energy w.r.t. true energy for 5 x 5 crystals and supercluster  significant fraction of energy out of 5 x 5 cells area

## Slide 35: Cluster Reconstruction
Seed clusters based on calorimeter towers with Dh x Df = 0.025 x 0.025 from sliding-window algorithm (3 x 5 towers) Based on track and (conversion) vertex reconstruction, clusters are classified - unconverted photon - converted photon - electron and their size is adjusted Cluster energy corrected for energy loss, leakage etc. (MVA, ….)
Ratio of energies within 3x3 cluster and supercluster energy for (un)converted photons
Energy wrt. true energy for 5x5 crystals and supercluster
Supercluster energies corrected for leakage,
Shower shape etc.  MVA regression Clusters also used for track seeding!

## Slide 36: Calorimeter cluster energy
Clusters of energy in a calorimeter are due to the original particles
  Clustering algorithm groups individual channel energies
  Don’t want to miss any; don’t want to pick up fakes
Careful tuning of thresholds needed
  needs usually learning phase
  adapt to noise conditions
  too low : pick up too much unwanted energy
  too high : loose too much of “real” energy. Corrections/Calibrations will be larger
Projection
low threshold,
against noise
high threshold,
for seed finding

## Slide 37: Cluster Energy calibration
Need to apply calibrations to the cell and cluster energies
  Correct for energy lost before the calorimeter and for energy leaking out the back
  Equalize the response across the detector (different parts of the detector can have different responses because of the way they are built etc..)
The purpose of the calibrations are to correct the measured energy to give as close as possible to the true energy of the incident particle
Calibration constants can be complex functions of the position and energy of the
cluster
  ECALIB = f(EMEASURED , η, ϕ, …) , f includes various calibration constants
Calibration very important to get the best energy resolution
Electron energy resolution from simulation

## Slide 38: Pile-up: the high luminosity dilema
When the LHC collides bunches of protons we can get more than one p-p interaction – this is called pileup
The number of pileup interactions depends on the LHC parameters
  How many protons per bunch
  How small the bunches have been squeezed
Over Run 2 we have on average ~40 interactions per bench crossing, with frequent peaks around 60-70
These pileup interactions give lots of low momentum tracks as well as extra energy deposit in calorimeter cells
We can usually identify which tracks are from which interactions by combining tracks that come from the same vertex
Pileup can cause difficulties for some physics analyses
  Also causes reconstruction to need more computing power
But allows us to get more luminosity
beam 1
beam 2
1011 protons
1011 protons

## Slide 39: Pile-up
Vertex =
Space point of
common origin of
(charged) particles
Primary event vertex in
beam-beam collisions or
fixed target experiment:
interested in THIS
vertex (has two high
pT muons)
Example for
inclusive vertex
recontruction

## Slide 40: Reconstructing tracks in high pile-up
Z->μμ event in ATLAS.
With 11 reconstructed vertices.
Tracks with transverse momentum pT>0.5GeV are shown
How can we do physics analysis with such a huge number of tracks in the detector?

## Slide 41: Reconstructing tracks in high pile-up
Z->μμ event in ATLAS.
With 11 reconstructed vertices.
Tracks with transverse momentum pT>2GeV are shown
How can we do physics analysis with such a huge number of tracks in the detector?

## Slide 42: Reconstructing tracks in high pile-up
Selecting high pT tracks, makes the event cleaner, hence easier to analyze.
BUT. It might also reduce its physics content.
Z->μμ event in ATLAS.
With 11 reconstructed vertices.
Tracks with transverse momentum pT>10GeV are shown
How can we do physics analysis with such a huge number of tracks in the detector?

## Slide 43: Summary
Reconstruction and identification of (elementary) particles play crucial roles in the physics programs of high pT physics at the experiments at the LHC
Requires excellent performance of several different detector components
The reconstruction of charged particles in the inner tracking detectors is the basis for the reconstruction and identification of charged (but also neutral) particles
Calorimeter energy at the cell and cluster level need to be well measured  Clusterization techniques well developed
From the detectors we have Tracks, Calorimeter Cluster energy, and some timing information
That is s all what we need for full Particle identification and properties measurements

## Slide 44: BACKUP Introduction

## Slide 45: Final State Particles
Most hadrons are unstable: Decays into hadrons, leptons or photons: E.g.: Δ++ -> pπ+ : p stable π+  μ+ νμ : τπ = 2.6 * 10-8 s  cτπ = 7.8 m → most π+- traverse detector also: K+-, n, K0L (+ weakly decaying hadrons which typically decay inside the detector) In high pT physics often relevant: Jets created from hadrons
Leptons: - e: stable - μ: τμ = 2.2 * 10-6 s  quasi-stable - τ: Decay to hadrons or leptons - νμ,e,τ: only weakly interacting  leave detector without detectable interaction  Via missing (transverse) energy/momentum
Gauge bosons: - W/Z: Decay to hadrons or leptons; - Photon (γ): stable

## Slide 46: The CMS Detector
Compact Muon Solenoid

## Slide 47: The ATLAS-Detector
25m
44m
7000 Tons
Electromagnetic
Calorimeter
Solenoid
Inner Tracking
Detector
Toroids
Muon-
Detectors
Hadron Calorimeter
A Toroidal LHC ApparatuS

## Slide 48: BACKUP Basics

## Slide 49: The Bethe-Bloch Formula
re: classical electron radius = 2.817 x 10-13 cm
me: electron mass
Na: Avogadro's number = 6.022 x 1023 / mol
I : mean excitation potential
Z,A : atomic number & weight of absorbing material
ρ : density of absorbing material
z : charge of incident particle in units of e
β,γ : v/c, 1/√(1-β2) of incident particle
δ : density correction
C : shell correction Wmax: maximum energy transfer in a single collision
(valid for heavy incident particles m>>me!)
often:
use surface density
or mass thickness
ε = ρ x
dE/dε has units
MeV cm2 /g

## Slide 50: Properties of Bethe-Bloch
does not depend on mass of incident particle
is proportional to squared charge of particle
is inverse proportional to squared velocity of particle (up to minimum)
dE/dx relatively independent of absorber (Z/A similar over wide range of materials)
has its minimum at around βγ ≈ 3.5 → MIP: Minimum Ionising Particle dE/dε (min) ≈ 1.5 MeV cm2 / g Density correction (δ): Shielding of electric field through polarisation of medium Shell correction (C): Slow incident particles: atomic electrons no longer stationary

## Slide 51
Minimum stable
over wide range of
materials (Z, A)!
Relativistic rise
Bethe-Bloch
brakes down
for very low
energies
(dE/dx drops!)
Different momentum
for different particle
masses → Particle ID!

## Slide 52: dE/dx for Particle Identification
dE/dx depends on βγ=p/E x E/M = p/m, universal for different particles
→ spread in particle mass M if plotted versus momentum
→ measuring momentum and dE/dx allows particle identification
p
K
μ
e
π
BABAR

## Slide 53
Critical Energy:
Approximation for electrons
and heavy elements:
Ec ~ 550MeV/Z
For muons in iron:
Ec ~ 900 GeV
Relativistic limit:
Radiated energy contained
in cone with
Bremsstrahlung

## Slide 54: Multiple Scattering
Multiple scattering limits the accuracy:
Silicon tracking detector (300 μm)
Distance between detector layers s = 3 cm
X0 (Si) = 9.36 cm → 300 μm corresponds to 0.3% of a radiation length
→ <d> = (0.9 mrad) / (βp) x s = 27 μm / p (β ≈ 1)
→ for p = 1 / 5 / 10 / 100 GeV
<d> = 27 / 5 / 3 / 0.3 μm
→ significantly larger than typical intrinsic resolutions for low momenta!!
Examples:
(typical for silicon
wafers and beam pipe)
X0 (Si) = 9.36 cm
X0 (Be) = 35.28 cm

## Slide 55: BACKUP Tracking

## Slide 56: Magnet Systems
ATLAS
CMS
Small solenoid (2T) for the Tracker Toroids for the muon system
Big solenoid (4T) Calorimeters inside solenoid

## Slide 57
ATLAS Tracking Detectors
► Pixels close to Interaction Point
Pixel Size 50 x 400 μm
first “b-layer” at r ≈ 5 cm
σrΦ ≈ 10 μm; σz ≈ 115 μm
Essential for identification of b-quarks!
► Silicon-Strip-Detectors
Pitch: 80 μm (central part)
Strip length: 12 cm (barrel)
All layers double sided
(Stereo angle 40 mrad)
σrΦ ≈ 17 μm; σz ≈ 580 μm

## Slide 58
Some more details:
Allow for (certain number of) missing hits, e.g. because of detector inefficiencies (especially if known that a certain module is dead)
Allow for more than one compatible hit to be added → Several track candidates may evolve from one seed → This needs ambiguity solving: Based on quality of tracks (scoring scheme),
track length etc.
Track Reconstruction

## Slide 59: Track Reconstruction Efficiencies
Muons are 'easy’
- no hadronic interactions, no significant Bremsstrahlung → Reconstruction efficiency close to 100%
Measured in Z  mm events
Hadrons: Hadronic interactions

## Slide 60: Tracking Precisions

## Slide 61: Tracking Precisions

## Slide 62: Tracking Precisions
however, not very practical ….

## Slide 63: Tracking Precisions

## Slide 64: Tracking Precisions

## Slide 65
Note: Tracking detectors and calorimeters have opposite behaviour!
August 20-23, 2010
(E)/E (Hcal)
(E)/E (Ecal)
(pT)/pT (Tracker)
(E)/E (%)
Resolutions from CMS Physics TDR

## Slide 66: Track Parameter Resolution Measurements
How to determine track parameter resolutions?
- Detailed simulation of the detector → expected resolutions However, simulation is not always perfect ....
→ Measure in the data (and compare to simulation):
Need additional information sensitive to track parameters, e.g. from:
- Cosmics Data: 1 track reconstructed as 2 tracks → compare track parameters of these two tracks - Reconstruction in a (independent) tracking system → Muon tracking system - Reconstruction of (well known) resonances: mass and width sensitive to tracking
(J/Ψ, Z, K0s, ....)

## Slide 67: Track Parameter Resolutions
Impact parameters: Main measure for spatial resolutions
Measured in data (needs to be deconvoluted from primary vertex resolution!)
Low pT range multiple scattering dominant  good material description
High pT range  hit resolution residual misalignment

## Slide 68
Impact Parameter resolution largely defined by distance of first measurement point to primary event vertex and spatial resolution of this point:
→ Place detectors with excellent position
resolution close to interaction point
Impact Parameter Resolution
material
→ multiple scattering
→ Minimize amount of material in front of first measurement layer → thin beampipes, detector layers
measured track
track direction wo. material

## Slide 69: Alignment
Position of detector elements needs to be known with a precision good enough not to
significantly dilute the measurement precision as can be expected from intrinsic spatial resolutions
Survey when constructing detector
Ultimate precision with track based alignment
Basic Principle: Minimize Track-Hit Residuals

## Slide 70: Vertex Reconstruction

## Slide 71: Introduction
Vertex = Space point of
common origin of (charged) particles
Decays of long-lived
particles, e.g. b-hadrons:
Example for
exclusive vertex
recontruction

## Slide 72: Inclusive/Exclusive Vertex Reconstruction
Inclusive:
The tracks (and even not their number) forming the vertex are a-priori not known → Need a pattern recognition stage first (often no clear boundary between vertex finding and fitting)
Typical examples: - Primary Event Vertex (or multiple vertices in case of Pile-Up) - Decay vertice in b- and/or c-jets - Hadronic interaction vertices in the detector material
Exclusive:
Number of tracks and track candidates known a-priori → Only need vertex fit (of course, might reject hypthesis based on fit result)
Typical examples: - Reconstruction of exclusive decays of c- and b-hadrons, e.g. D*+ → D0 π+ → K- π+ π+ , Bs → μμ - Exclusive decays of very long-lived particles, K0s, Λ0 - Photon Conversions in the detector material

## Slide 73: Inclusive Vertex Reconstruction
Typical use case:
Find secondary decay vertex
Doesn't look so difficult .......

## Slide 74: Inclusive Vertex Reconstruction
Typical use case:
Find secondary decay vertex
Doesn't look so difficult .......
But: Tracks from primary vertex can be
compatible with secondary vertex
and vice versa!

## Slide 75
Input to vertex reconstruction:
Tracks with their track parameters and uncertainties
+ specific input depending on the use case, e.g. the beamspot
profile for primary vertex reconstruction when applying
a beamspot constraint Now: Reconstruct vertex with a given set of input tracks
Vertex Reconstruction Input

## Slide 76: Vertex Reconstruction
Minimise χ2 of quadratical distances of tracks to vertex:
vertex
position
Projection of the 5x5
covariance matrix of
track parameters on
3D space
parameter to
describe
position along
the track
position of
track at PCA
to vertex
can e.g. be solved numerically in a global χ2 minimisation

## Slide 77: Vertex Reconstruction
Faster Methods I: The Billoir Method
track parameters
of track if it
would pass through
vertex
Track Parameter
Covariance Matrix
track
parameters
P. Billoir, S. Qian
NIM A311(1992)
Rewrite χ2 in 5D track parameter space:
3 → 5 projection
→ introduce track momenta at vertex as additional parameters (d0, z0 = 0 wrt. vertex at vertex; vertex position and momentum fully defines
track parameters)

## Slide 78: Vertex Reconstruction
Faster Methods I: The Billoir Method
track parameters
of track if it
would pass through
vertex
Track Parameter
Covariance Matrix
track
parameters
P. Billoir, S. Qian
NIM A311(1992)
Rewrite χ2 in 5D track parameter space:
3 → 5 projection
→ introduce track momenta at vertex as additional parameters (d0, z0 = 0 wrt. vertex at vertex; vertex position and momentum fully defines
track parameters)

## Slide 79: Vertex Reconstruction Performance
Primary Vertex reconstruction
Precision depends strongly on number of tracks and the topology of the event (~ pT of the) tracks

## Slide 80: Vertex Finding
A Vertex finding algorithm (apart from applying a basic track selection) has to deal with the following problem:
  Decide what tracks belong or not to a certain vertex:
    a c2 fit is quadratically dependent on the residuals, so:
      the presence of outliers (e.g. track from secondary interactions) can consistently bias the fit result
      decrease of vertex resolution!
    Methods to avoid this:
      fit a first vertex and iteratively remove the most incompatible tracks (Prob(c2)>cut)
      Start with e.g. two-track vertices and add compatible tracks
      rely on a “robust” vertex fitter, where the “outlying” tracks are downweighted dynamically by the fitter itself

## Slide 81: Adaptive Methods
Methods discussed so far provide efficient and unbiased estimator if tracks are
Gaussian distributed around their true position and the hypothesis of a common
origin is correct.
However, Outliers can bias the fit
- Badly reconstructed tracks, e.g. because of wrong hits assigned
- Tracks not originating from the vertex to be reconstructed
as well as under- or overestimated track uncertainties
→ Robust Methods to decrease sensitivity to such outliers
Deal with this during finding or fitting stage

## Slide 82: Adaptive Vertex Fitting
Modify χ2 function to be minimized by adding a track-by-track weighting factor
(for simplicity of notation off-diagonal terms of covariance matrix dropped):
Measure for compatibility with last estimated vertex position
Frequent choice:
Annealing scheme:
- Decrease temparature during iterations
- T → 0: soft to hard assignment

## Slide 83: Multi-Vertex Finding
Often has to reconstruct several vertices and associate tracks to them.
Especially challenging when vertices have distances comparable to experimental
resolution, e.g. for Pile-Up at the LHC (vertex uncertainties inflated for better visibility):
A-priori, even the number of vertices to be reconstructed is not known.
Often, Seed finders, are used to get an initial list of vertices
(can e.g. be based on simple clustering methods in case of PV reconstruction)

## Slide 84: Other Techniques
(Other) Techniques to identify (single) charged particles
Cherenkov radiation
Transition radiation

## Slide 85: Cherenkov Radiation
A charged particle moving in a medium with v > c/n
(i.e. a velocity above the speed of light in this medium)
emits so-called Cherenkov radiation
1934: P. Cherenkov: Experimental doscovery
1937: Frank & Tamm: Theoretical explanation
Energy loss caused by Cherenkov radiation small
compared to ionisation (percent level).
Cherenkov radiation in
a nuclear reactor,
Advanced Test Reactor,
Idaho Nat. Labs
Dispersion relation:
Emission preferred
in blue to UV.
n=√ε

## Slide 86: Cherenkov Radiation
Threshold behaviour: cos θ < 1 ↔ > β > 1/n
→ Lighter particles emit Cherenkov radiation at lower momenta
β = 1/n → cos θmin = 1 → θmin = 0
β = 1 → cos θmax = 1/n → θmax = arccos(1/n)
β=v/c
Separation of different
particles when plotting
versus momentum
→ Particle Identification

## Slide 87: Cherenkov Radiation
Application: Particle Identification
Measure momentum in tracking
detector, velocity in dedicated
Cherenkov detectors
LHCb

## Slide 88: Cherenkov Radiation
LHCb
Application: Particle Identification
Measure momentum in tracking
detector, velocity in dedicated
Cherenkov detectors

## Slide 89: Cherenkov Radiation
Many applications also in e.g.
astroparticle physics,
neutrino physics, ...

## Slide 90: Transition Radiation
When crossing boundaries of two media with different dielectron constants , a
charged particles emits electromagnetic radiation, transition radiation
Reason: adaptation of the electric fields (1, 2)
1946 Discovery and explanation by Ginsburg and Frank
(for a theoretical description, see e.g. Jackson, Classical Electrodynamics)
The total emitted energy in form of transition radiation is proportional to the
Lorentz factor 

important for the identification of particles in the high momentum /
energy range (where  ≈ 1)
Formation of transition radiation occurs
in a small region, at the boundary,
Formation length: D ≈  10-6 cm

## Slide 91: Transition Radiation
Mainly for the identification of electrons:
Their factor is much bigger for the same momentum: γe / γh = mh / me
e.g. for pions: γe / γh ≈ 270
For a value of 103 (e with p=0.5 GeV, with p ≈ 140 GeV) about half of
the radiated energy is found in the Röntgen energy range (2 – 20 keV  radiation)
These  quanta have to be detected, use absorber material with high Z
value (absorption via photoelectric effect, e.g. Xenon gas)
Application e.g. in ATLAS Transition Radiation Tracker