## Slide 1
Validation of cross section on (n,2n) reactions
Nicola Burianová

## Slide 2
Reasons of validation
Reactor dosimetry - determining the damage of
the reactor vessel (life expectancy of the
nuclear power plant)
Precision of neutron fission spectrum of 235U
(in region of the higher neutron energies)

## Slide 3
Irradiation
Chosen sample is irradiated in reactor LR-0
Irradiation time is dependent on half-life of generated
radioisotope
Notes: 3

## Slide 4
Irradiation
Example of ZrO2 irradiation
Notes: 4

## Slide 5
LR-0 reactor
Moderator - De-mineralized water
with boric acid
Fuel - UO2
Enrichment - 1.6 - 4.4% U235
Absorption Clusters - 18 rods -
solid B4C
Maximum output - 1kW
Notes: 5

## Slide 6
LR-0 reactor
Overhead view inside
the LR-0 reactor with
special core without
moderator
Notes: 6

## Slide 7
Measurement after irradiation
HPGe spectrometry
Measurement of activation
foils (Au, Ni)
Measurement of irradiated
capsule (ZrO2, …)
Notes: 7

## Slide 8
Measurement after irradiation
It is needed to have well-defined detector, because we measure large-volume sample (for efficiency calibration).
Radiograms of detector – pictures of detector geometry
Measurement of insensitive layer

## Slide 9
Evaluation of measurement

## Slide 10
Evaluation of measurement
RR = Φ*σ
Where Φ is neutron flux and σ is cross-section. Neutron flux is determined from measurement of activation foils (Au for thermal neutrons and Ni for fast neutrons)

## Slide 11
Evaluation of measurement
Neutron spectrum is calculated
by MCNP method
Acquired spectral average cross-section
is compared with spectral average
cross-section in databases.
Notes: 11

## Slide 12
Thank you for your attention!