## Slide 1: Potential of CEvNS measurements with cryogenic scintillators
Jing Liu, University of South Dakota
Magnificent CEvNS 2019, UNC

## Slide 2: Undoped crystals
Afterglow:
CsI(undoped)
NaI(undoped)
NaI(Tl)
40 K
Temperature [K]
Scintillation:
CsI(undoped)
NaI(undoped)
NaI(Tl)
2.0
1.5
1.0
0.5
0.0
Scintillation or Afterglow Intensity [A.U.]
NaI(undoped) & CsI(undoped) VS NaI(Tl) and CsI(Na)
40 K
  Minimal after glow rate
  Maximal light yield
Eur. Phys. J. C (2012) 72:2061
Phys. Rev. B 5 (1995) 2195
J. App. Phys., 123(11):114501, 2018
Crystal at LNT
Light guide
Light guide
PMT at RT
PMT at RT
Light loss in complicated readout system cancels out the gain from light yield 

## Slide 3: Experimental setup

## Slide 4: Single PE measurement

## Slide 5: Single PE distribution
IEEE TRAN., VOL. 58, NO. 3, JUNE 2011
Loss of electrons in PMT
Poisson
Noise
Gaussian
Electron loss

## Slide 6: Uncertainty on gain
Amplification factor: 10

## Slide 7: Energy calibration

## Slide 8: Energy calibration

## Slide 9: Light yield
M. Moszyński et al., NIMA, vol. 537, no. 1, pp. 357–362, Jan. 2005.

## Slide 10: Nonlinearity of light yield
IEEE Trans., VOL. 56, NO. 3, JUNE 2009 A Comparative Study of Undoped NaI Scintillators With Different Purity
Marek Moszynski, et al.

## Slide 11: DarkSide SiPM Arrays
IEEE Trans. Electron Dev. 64 2, 2017
Progress and plans for DARKSIDE and QF measurements in LAr, Claudio Savarese

## Slide 12: Dark counts of large SiPM arrays
IEEE Trans. Electron Dev. 64 2, 2017
Suppressed by after 2 PE coincidence

## Slide 13: Another reason for SiPM
For COHERENT CsI(Na) detector
Afterglow cut removes ~25% low energy events
Cherenkov cut removes most low energy events
Replace PMTs with SiPM
  Eliminate Cherenkov light generated in PMT’s quartz window
  PDE of SiPM > QE of PMT
  Coincidence trigger to reduce SiPM dark count effect
COHERENT Science paper

## Slide 14: Thresholds
Light sensor
Light sensor
PTFE
Optical photons
Crystal
Simulated setup
Assuming an 80% trigger efficiency
ER threshold: 160 eVee
Na recoil threshold: 2 keVnr (QF: 0.08)
Cs recoil threshold: 3.2 keVnr (QF: 0.05)

## Slide 15: Possible setup

## Slide 16: CEvNS event rate
Standard CEvNS:
With E&M contribution:
Assumptions:
50 PE/keVee
10 kg of undoped NaI
2 years of data taking
NaI(Tl) quenching factor
2 PE coincident trigger
https://github.com/schol/dukecevns

## Slide 17: Light dark matter from SNS
Searching for Light Dark Matter with Fixed Target Experiments P. deNiverville
M. Green on COHERENT

## Slide 18: Expectation
Assuming to be the same rate as in CsI(Na) detector
(very conservative)
Assumptions:
50 PE/keVee
NaI(Tl) quenching factor
2 PE coincident trigger
D. Pershey

## Slide 19: Strategies to tackle background: using delay’s neutrino signal
D. Pershey’s talk on LAr at SNS

## Slide 20: Strategies to deal with background: move the detector forward
Current Neutrino Alley Detectors
Evaluating the curve at these angle
DM(cosθ=0.3)/DM(cosθ=-0.7) = 1.41
cosθ=0.3 also closer to the source (additional flux boost of 1.37)
D. Pershey

## Slide 21: Strategies to tackle background: radiopurity of crystal
Universe 2018, 4, 116
Possible sources of crystal:
Alpha Spectra
SICCAS
AMCRYS
Other experiments

## Slide 22: This approach + LAr
D. Pershey

## Slide 23: A prototype capable of delivering physics
10 kg crystal + 2 years of data taking at SNS
D. Pershey
D. Pershey

## Slide 24: Scintillation mechanism
Self trapped holes:
H. Nishimura, M. Sakata, T. Tsujimoto, and M. Nakayama. Origin of the 4.1-eV luminescence in pure CsI scintillator. Phys. Rev. B, 51(4):2167{2172, 1995.
V. B. Mikhailik, V. Kapustyanyk, V. Tsybulskyi, V. Rudyk, and H. Kraus. Luminescence and scintillation properties of CsI: A potential cryogenic scintillator. physica status solidi (b), 252(4):804-810, 2015

## Slide 25: Scintillation mechanism
LY of Pure NaI VS Temperature
Eur. Phys. J. C (2012) 72:2061
Phys. Rev. B 5 (1995) 2195
Part of CRESST

## Slide 26: Decay times

## Slide 27: Quenching in Tl doped crystals
[1] L. N. Trefilova, et al., NIMA, vol. 486, no. 1, pp. 474–481, Jun. 2002.
NaI(Tl)
CsI(Tl)
[2] BRIT. J. APPL. PBYS., 1966, VOL. 17

## Slide 28: Quiz
What kind of crystals?
Operation temperature?
Light sensors?
Threshold
  Electron recoil?
  Na recoil?
  Cs recoil?
Prototype
  Mass?
  Exposure?
# of CEvNS?

## Slide 29: Answer
What kind of crystals?
Operation temperature?
Light sensors?
Threshold
  Electron recoil?
  Na recoil?
  Cs recoil?
Prototype
  Mass?
  Exposure?
# of CEvNS?
Undoped NaI and/or CsI
40 K (max LY, min after glow)
SiPM arrays to avoid Cherenkov light
~180 eVee (80% trigger efficiency)
~2 keVnr (80% trigger efficiency)
~3 keVnr (80% trigger efficiency)
10 kg
2 years
~1000

## Slide 33
arXiv:1612.06071

## Slide 34
Light sensors
Pure NaI or CsI crystals
cryostat

## Slide 35: Sole quenching measurement
[1] E. Hahn and J. Rossel, “Scintillations des particules dans Csl,” Helv. Phys. Acta, vol. 26, p. 271, 1953.
[2] B. Hahn and J. Rossel, “Scintillations dans Csl et spectrométrie,” Helv. Phys. Acta, vol. 26, p. 803, 1953.
alpha (5.3 MeV) counts only 85% of gamma (662 keV)