## Slide 1: NEWAGE/ CYGNUS-KM
Introduction
Latest results
Activities
Summary
Dec 11th, 2023 CYGNUS 2023 Sydney, Australia
Kentaro Miuchi (Kobe University)

## Slide 2: Introduction
Introduction
Latest results
Activities
Summary

## Slide 3
“CYGNUS” concept
CYGNUS
G. C.
Jun.
Dec.
v0=220km/s
v☉=230km/s
DM HALO
@ LAB
nucleus
Solar System
WIMP-wind detection
cosθ
1
-1
M=80GeV
σ=0.1pb
directionality (expected)
detector: low pressure gas emulsions diamond detectors, scintillators...

## Slide 4: NEWAGE history
μ-PIC(MPGD) based TPC
  3-D tracks SKYMAP
CF4 gas for SD search
Proposal PLB 578 (2004) 241
First direction-sensitive limits
  PLB654 (2007) 58 ~104pb
Underground results
PLB686 (2010) 11, PTEP(2023)ptad120 26 pb
lower BG, larger volume
SKYMAP (measured DATA)
limits
PTEP (2023) ptad120

## Slide 5
Fluorine advantage
even 10m3 detector can start exploring Xe neutrino floor
arXiv 2008.12587

## Slide 6: NEWAGE detector
Kamioka underground
NEWAGE-0.3b’’
Detection Volume: 31×31×41cm3
Gas: CF4 at 0.1atm (50keVee threshold)
Gas circulation system with cooled charcoal
Drift length: 41cm
PEEK + copper wires
- 31×31cm2
- pitch : 400mm
- gain : ~1000
- made by DNP, Japan
NEWAGE-0.3b’
μ-PIC
μ-TPC

## Slide 7
Key technology: Gaseous Time Projection Chamber
  2-dimensional image: Micro Patterned Gaseous Detector (MPGD)
  timing information: 3rd dimension
  realtime 3-dimensional tracking
x
y
TPC principle
E
μ-PIC
MPGD：
GEM, micromegas, μ-PIC
drawback: small mass O(kg) / m3

## Slide 8
Data we record
2008.12587
7
(Anode strips)
(Cathode strips)
Interestingly, 2d strip was found to be the “ideal” for us.
track data
+summed waveform
TOT (time-over-threshold)
“FOMs”

## Slide 9
Publications since last CYGNUS
  DM search
    First limits from a 3d-vector directional dark matter search with the NEWAGE-0.3b' detector PTEP, (2020) ptaa147 DOI: 10.1093/ptep/ptaa147
    “Direction-sensitive dark matter search with a low-background gaseous detector NEWAGE-0.3b” PTEP (2021) ptab053
    "Direction-sensitive dark matter search with three-dimensional vector-type tracking in NEWAGE”, PTEP(2023)ptad120
  Technical papers
    Development of a low-α emitting μ-PIC as a readout device for direction-sensitive dark matter detectors NIM A Volume 977, 11 October 2020, 164285
    Development of an alpha-particle imaging detector based on a low radioactive micro-time-projection chamber NIM A Volume 953, (2020), 163050 , arXiv1903.01090
    LTARS: analog readout front-end ASIC for versatile TPC-applications JINST (2020) 15 T09009
    Development of a Negative Ion Micro TPC Detector with SF6 Gas for the Directional Dark Matter Search JINST (2020), P07015
    "Test of low radioactive molecular sieves for radon filtration in SF6 gas-based rare-event physics experiments" JINST (2021) 16 P06024
  Future physics
    "Detection capability of Migdal effect for argon and xenon nuclei with position sensitive gaseous detectors" PTEP(2020) ptaa162
    "Directional direct detection of light dark matter up-scattered by cosmic-rays from direction of the Galactic center”, JCAP07(2023)061,

## Slide 10: Latest results
Introduction
Latest results
Activities
Summary
PTEP (2023) ptad120

## Slide 11
Underground measurements
  28 × 24×41cm3 fiducial volume (10g) out of 31 × 31×41cm3 active volume
  318 live-days
Exposure [kg*days]
Gas gain
Energy resolution
PTEP (2023) ptad120

## Slide 12
Event selections
  Additional selection applied with multi-variate analysis to reject electron recoil (ER) events

## Slide 13
Event selections
  Additional selection applied with multi-variate analysis to reject electron recoil (ER) events
  at a cost of some efficiency loss

## Slide 14
Results: sky maps
sky map @detector coordinate
sky map @detector galaxy coordinate
no “unexpected” was seen

## Slide 15
Results
  Best limits with directional analysis ×～2 improvement in a DM mass range of > 100 keV
  Cutting into DAMA/LIBRA interpretation region
  Best limits with directional and head-tail analysis ×10 improvement from NEWAGE2020 (first head-tail analysis)
PTEP (2023) ptad120
energy spectrum
cross section limits

## Slide 16: Activities
Introduction
Latest results
Activities
Summary

## Slide 17: Making μ-PIC low BG
Polyimide
w/ glass cloth
(Rn contaminated)
Original design
Low surface alpha version
(LAμ-PIC: 2017-)
Low-BG μ-PIC
(2020, 2023)
Polyimide
w/ glass cloth
Polyimide
w/o glass cloth
Quartz + Resin
LAμ-PIC: 2.3 ± 0.5 [mBq / μ-PIC]
Radon emanation measurement:
LBGμ-PIC (2023) : <0.10 [mBq / μ-PIC]
(90% C.L.)
30 cm
30 cm
paper in preparation
LBGμ-PIC (DNP)
(Shinetsu)

## Slide 18
Visual inspection (R.Namai)
CNCmachine (atomstack a5 10w)
USB microscope
（DINOAM4815ZTL）
~×100
1μ-PIC/day
anode
cathode
  anode pixel formation matters
  ”brightness” = (anode - cathode) / cathode

## Slide 19
Anode “brightness” comparison
brightness map
(model 2020)
Model 2020 had line structure.
Same pattern was seen in the gas gain
Great improvement was seen for model 2023.
brightness map
(model 2023)
brightness histogram
2023
2020

## Slide 20
Low BG μ-PIC performance
2020
2023_2
requirement for DM search
gas gain curves
gas gain distribution
2023 model shows sufficient performance
test w/ Ar+C2H6 gas

## Slide 21
Low BG μ-PIC for Kamioka run
test with a GEM
55Fe Waveform
CF4/76torr
Installation Nov. 2023
NEWAGE-0.3ｂ’’’ : commissioning ongoing

## Slide 22
NEWAGE-0.3b’’’status: so far so good!
  Details will be reported in a few months
flat response
good PIDs
well-ballanced X/Y signals
Quick look results

## Slide 23
C/N-1.0 chamber (18pcs × 40×40 cm2 windows)
40cm
C/N-1.0 chamber
“CYGNUS”-KM chamber
Acrylic + copper ribbon
filed cage
Originally we planned to use resistive sheet for the field cage.
Performance degradation was seen in a long-term use...
▲C/N-1.0
C/N-1.0 concepts
S. Higashino

## Slide 24
Low BG Molecular Sieve production (H. Ogawa)
  production procedure established
JINST (2021) 16P06024
This work (Nihon University)
Commercially available one
(Sigma-Aldrich)
Radon capture test
Results
  Better performance
  Repeating O(kg) productions

## Slide 25
Gas circulation system
refrigerator
(cold trap)
Rn detector (×2)
Rn filter
low-BG zeolite (5A)
Dew point [℃]
Coolant temp. [℃]
Rn rate [count/day]
operation snapshot
ready for housing detectors

## Slide 26: Detectors for C/N-1.0
Two requirements for the detector modules
  Electronics needs to fit 46 × 46 cm2.
  Detector top needs to be at the electrical ground level.
DETECTOR TOP
46 cm
C/N-1.0 inner view
C/N-1.0 outer view
C/N-1.0 concept

## Slide 27
Two Kobe modules for C/N-1.0 (M. Ofuji)
  Module-0: larger, w/o tracking for BG measurement
  Module-1: smaller, w/ tracking as a DM detector
30 cm
3 GEMs
30×30 cm2 detection area
read by 8 pads
8 readout channels
GEM + μ-PIC
10 × 10 cm2 detection area
read by 256 strips
Track reconstruction
30 cm
GEM
+μ-PIC
10 cm
10 cm
module-0
module-

## Slide 28
Module-1 test status
  being tested in a test chamber
Front
Inside
Back
pre-amplifiers boards
ADC board
  Fundamental test as a gas detector was completed.
  Tracking performance is being tested

## Slide 29
Details to welcome your modules...

## Slide 30
and, actually welcomed.
  Sheffield MICROMEGAS detector test
Sep 2022
Sep 2022
first light
super preliminary

## Slide 31: Negative ion TPC Study
no “S1” signal
Pioneered by DRIFT group
Minority carrier discovery (CS2+O2, Occidental group)
  use several ion species with different drift velocities
SF6 discovery (2015, UNM group).
  z-fiducialization 7.3mm FWHM
small diffusion
⇒ ｚ fiducialization possible ⇒LOW BG !
minority carriers (CS2 )
z-fidutilization (SF6)
2017 JINST 12 P02012
Phys of DU 9-10 (2015) 1

## Slide 32
Nuclear tracks detection in SF6
  strip readout + dedicated ASICs
  z-reconstruction
  tracking
    T. Ikeda+
    JINST (2020), P07015
    setup
    alpha-ray tracks
    z-reconstruction

## Slide 33
ASIC development for negative ion TPCs
  “LTARS” series with Liq. argon groups at KEK, Iwata
  LTARS 2018 at hand
    T. Kishishita+ JINST (2020) 15 T09009
    noise level
    LTARS 2018 SPECS

## Slide 34
“TIGAr”, a compact board to fit with C/N-1.0
    T. Shimizu (Waseda)

## Slide 35: PIXEL readout (QPIX NEO v1)
Energy threshold is limited due to electrode’s strip pitch (400 μm)
  Started to develop fine granularity “pixel” readout detector
  64 ch ASIC developed and testing its performance
S. Higashino
34
SoC (ZYNQ) board
Xilinx: ZC702
2 mm
2 mm
readout ASIC
(155 um)2 pixel pad
connecting to electrodes
by bump bonding
Test board
ASIC mounted
Test pulse waveform
for a particular ch.
Analog circuit + ADC
successfully working!
ADC count

## Slide 36: α-ray Imaging
H.Ito
NIM A Volume 953, (2020), 163050
Reusing NEWAGE-0.3a
measuring samples of various experiments

## Slide 37: MIRACLUE (MIGDAL study)
Ar (1atm) and Xenon (8 atm) gas
  direct interests in DM search
start with existing technologies
  less R&D
PTEP 2021 013C01
    K. Nakamura (Tohoku)

## Slide 38
Characteristic X-ray channel for 2-cluster detection (first step)
  less BG
Low energy (565keV) neutrons (@AIST, Japan)
  less BG
PTEP 2021 013C01
expected signature （2-cluster distance）

## Slide 39
High pressure Xenon TPC
  Xenon TPC worked with neutron beam successfully
  Energy & topology were measured
  Analysis for Migdal branching is ongoing
Xenon TPC
ELCC
1cm pitch EL readou
t
#1
#2
#3
#4
Xe X-ray
(Used for calibration)
No. | Energy [keV] | Note
#1 |  | escape peak of #2
#2 |  | 19F(n,γ) 110keV
#3 |  | escape peak of #4
#4 |  | 19F(n,γ) 197keV
No. | Energy [keV] | Note
#1 |  | escape peak of #2
#2 |  | 19F(n,γ) 110keV
#3 |  | escape peak of #4
#4 |  | 19F(n,γ) 197keV
Measured energy spectrum with 565keV neutron beam
“2 cluster“ event

## Slide 40: Cosmic-ray up-scattered DMs(CR-DM)
Light (1~100MeV) DMs would be up-scattered at Galactic Center by cosmic-ray protons
Can be detected with directional detectors
Studied for gaseous TPCs and emulsions
JCAP07(2023)061 K. Nagao
Incoming DM maps @Galactic coordinate
expected recoils
also in Nicole’ｓ talk

## Slide 41
Results
  Need LARGE exposures
  CYGNUS framework (even with emulsions) is necessary

## Slide 42: SUMMARY
Since last CYGNUS,
new limits
new detector
new powder
new targets
new tracks
Waiting
for
your
detectors
new playground