## Slide 1: Low-noise optical frequency divider for precision measurement
Yanyi Jiang, Yuan Yao, Haosen Shi, Hongfu Yu, and Longsheng Ma
9th Symposium on Frequency Standards and Metrology
State Key Laboratory of Precision Spectroscopy
East China Normal University, Shanghai, China
Kingscliff, NSW, Australia, 20 October 2023

## Slide 2: Motivation
Redefinition of the second
Precision measurement
Test the constancy of 
Dark matter detection
Geodesy
Precision spectroscopy (CaH+, 229Th…)
An accurate ratio measurement relies on optical clocks and measurement device!

## Slide 3: Precision ratio measurement supports applications of optical atomic clocks
 / : 1018
 / : 1020
 / : 1019
 / : 1021
Optical atomic clocks
8th FSM (2015)
Optical frequency ratio measurement
R / R : 1020
8th FSM
(2015)
R / R : 1022
Comb frequency noise
Noise from RF time base
Noise due to light path fluctuation

## Slide 4: Ti:Sapphire optical frequency comb
Al+/4
Hg/4
Ca+
Sr
Yb
Er comb
Yb+/2
Sr+
Ti:S comb
Low frequency noise (mm-scale solid state gain medium)
Broadened spectrum covers most of optical clocks
(no amplifiers, less frequency doublers…)
Beat notes between a Ti:S comb and optical clocks or lasers (RBW=300 kHz)
30 dB

## Slide 5: Reduce comb & RF time-base frequency noise
~Hz
 | 1 s instability | uncertainty | 
BIPM, ECNU, NIST | 2.3 × 1017 | 1.4 × 1019 | Science, 303, 5665 (2004)
RIKEN | 5 × 1018 | / | Appl. Phys. Exp., 10, 6 (2017)
NIST | 3 × 1018 | 1.7 × 1020 | Optica, 4, 879-855 (2017)
Menlo | 5 × 1018 | 5.3 × 1021 | Nat. Photonics 14, 44–49 (2020)
Comb phase-locked to an ultra-stable laser or an optical clock
 High servo bandwidth
 Easily lose lock
Synchronous counting
Aftime
Bftime
Cftime
Dftime
Bftime
Aftime

## Slide 6: Immune to comb frequency noise
comb stabilized to a H maser or a Rb clock
(extend continuous operation time, less cycle slips)
~ kHz-MHz
fb1 =1 (Mfr + f0)
fb2 =2  (Nfr + f0)
Transfer oscillator scheme [1]
Count fb  1/2
Lock fb  PLL 2 to 1
[1] Telle, et. al. Appl. Phys. B 74, 1 (2002)
Extra RF time base induces noise
Comb noise free

## Slide 7: Optically-referenced RF time base
comb stabilized to a H maser or a Rb clock
(extend continuous operation time, less cycle slips)
fb1 =1  (Mfr + f0)
fb1* = (M + 1)fr + f0  2
Transfer oscillator scheme
Only related to 1
Yao et. al. Nat. Sci. Rev. 3, 463 (2016)
Comb noise free
R can be preset & sweep
M+1

## Slide 8: Division noise characterization
Noise due to light path fluctuation: common path, air sealed box
Rset = 0.499 999 219 876 815 223 597 90
0.500 000 106 518 137 671 678 87
RSHG = 0.5

## Slide 9: Division noise characterization
Comb frequency noise immunity factor: 103 106
 | Instability of comb line @ 1 s | Instability of R @1 s
Rb[1] | 11011 | 81018
H[2] | 11013 | 41018
Laser[3] | 11015 | 61019
independent on comb f stability
multi-channel division (f0, fb )
[1] Yao et. al. Photon. Res. 9, 98 (2021)
[3] Yao et. al. Nat. Sci. Rev. 3, 463 (2016)
[2] Shi et. al. APL Photonics (2023)
Applicable to chip-based combs

## Slide 10: 1022 uncertainty in frequency division
Dataset with effective time >20 h in a day:
 eliminate daily T and P variation-induced offset
when comb is stabilized to a H maser

## Slide 11: Coherence transfer
Rb
clock
Ref. laser
1064 nm
ref
PLL
PLL
f0
fr
OFD
÷Rx
L=10 cm
Target laser
578 nm
=ref /Rx
Servo bandwidth: MHz
(without pre-stabilization)
Portable ultra-stable laser
(1 s): ~ 6  1016
~MHz
Yao et. al. Photon. Res. 9, 98 (2021)
D
Probe time
400 ms
1S0  3P0 clock transition
Yb atoms
Comb frequency jitter

## Slide 12: Synthesizer referenced to Yb optical clock
Tunable Ti:S c.w. laser
700—990 nm
Yao et. al. Appl. Phys. Lett. 3, 463 (2016)
Yb optical lattice clock
Output
 out=Yb ÷ Rx
OFD
÷Rx
c.w. lasers
@ designed frequency
RF/microwave
Effect | Shift 1017 | Uncertainty 1017
BBR | 244.87 | 1.10
Density shift | 0.52 | 0.33
Lattice shift | 1.81 | 0.56
Zeeman shift | 19.11 | 0.15
background gas | 0.25 | 0.02
Probe light | 0.02 | 0.01
DC Stark | 0.04 | 0.02
Servo error | 0 | <0.10
Total | 262.92 | 1.3
Ref. in

## Slide 13: OFD for clock comparison
1.8 m
0.6 m
0.9 m
0.6 m
0.2 m
Electronics for 4-channel OFD
Optics
Input: 698 nm, 578nm, 729 nm…
Sr (NIM)
Ca+ (APM)
R ?
ECNU
@Shanghai
NIM
@Beijing
Differential spectroscopy

## Slide 14: Beat note between Ti:S comb & 1.5 m light
Nonlinear fiber
Ti:S mode-locked laser
1.5 m
c.w. laser
SHG
SHG
Nonlinear Fiber
Ti:S mode-locked laser
1.5 m
c.w. laser
Conventional method
Four wave mixing-assisted method

## Slide 15: Beat note between Ti:S comb & 1.5 m light
Detected
@ 780 nm
Detected
@ 1.5 m
Detected
@ 590 nm
30 dB
No SHG to double 1.5 m laser frequency
Low 1.5 m laser power: ~10 mW  45 dB SNR fb
Detection at convenient wavelength and bandwidth
Four wave mixing-assisted detection method

## Slide 16: Division from Yb optical clock to 1.5 um
Yb optical clock Yb
1550-1
OFD
Four wave mixing-assisted detection method
 Rset-1
Yb  Rset-1 =1550-1
SHG
 2
OFD
Frequency counter
Reading number A
775-2
1550-2
ftime-base= Yb /K’
Conventional detection method
 Rset-2
 K’
Yb  Rset-2  2 =1550-2

## Slide 17: Division from Yb optical clock to 1.5 um
Instability: 5×10−18@1s，
1×10−19@1000s
Uncertainty：2.2  1019
Limited by 30 cm-long uncompensated light path fluctuation
Yao et. al. submitted
Typical instability of optical clocks

## Slide 18: Summary & outlook
Low-noise optical frequency divider
  Division noise: (0.68)×10−18@1s, 6×10−22@105 s
  Division uncertainty: 3×10−22
  Coherence transfer: resolve Hz-linewidth spectrum of Yb clock transition even when comb frequency jitter is 1 MHz
  Coherent linking Ti:S comb with 1.5 m laser using FWM-assisted detection
  Outlook:
  Frequency comparison between optical clocks
  Precision measurement & precision spectroscopy
  Optical frequency synthesis with chip-based combs

## Slide 19: Acknowledgement
Group members:
Longsheng Ma, Yuan Yao, Haosen Shi, Hongfu Yu, Zhiyi Bi
Collaborators:
NIM: Yige Lin, Zhanjun Fang, Fang Fang…
APM: Kelin Gao, Hua Guan, Yao Huang, Baolong Lv, Linxiang He…
Special thanks to
Andrew Ludlow, Chris Oates, Jun Ye, Scot Diddams, Tara Fortier, Chin-wen Chou, Albrecht Bartels…

## Slide 20: Thank you for your attention!

## Slide 21: Multi-channel division
Single reference
Independent references