## Slide 1
Differential Spectroscopy of Atomic Clocks
Tara Fortier….. and many others!
Time and Frequency Division
National Institute of Standards and Technology
9FSM: Oct 16 2023
That’s me holding a koala!
Notes: Atomic clocks are amazing:
Optical clock comparisons
Optical to microwave clock comparisons
Accessibility limitations

## Slide 2
Energy
Atomic energy levels
B, E, T, U….
c,mp/me,a...
Atomic clock basics
Fields/constants:
Lifetime >> 1s
Isolate, trap, cool, control, probe….
oscillator

## Slide 3
Resonant frequency
Power
frequency
Atomic clock basics
Isolate, trap, cool, control, probe….
Energy
Atomic energy levels
Lifetime >> 1s
oscillator

## Slide 4
Resonant frequency
Power
frequency
Cycles of an electromagnetic field are stabilized to an atomic transition
Atomic clock basics
Isolate, trap, cool, control, probe….
oscillator
feedback to oscillator

## Slide 5
Fractional Accuracy
Year
Accuracy 133Cs
~10-16
Al+
Yb
Sr
Al+
Sr
Historical Performance of Atomic Clocks
N. Poli et al, Rivista del Nuovo Cimento, 36 (2013)
A. Ludlow et al. Rev. Mod. Phys. 87, 637 (2015)
Clock accuracy: Dn/n0
105 time higher constraint on microwave transitions to achieve the same accuracy
Dn = 10 mHz on 10 GHz
Microwave clocks
Optical clocks
Dn = 1 mHz on 1 PHz
Optical ~10-18
Is it time to redefine the SI second?
Notes: Steeper slope for optical clocks
Reason: microwave clocks require much better control over their systematics.
Accuracy and potential of optical clocks…. Redefinition of second.
If we look at the performance of clocks over time we see a steeper slope associated with improvements in the accuracy of optical as opposed to microwave clocks. There is a reason for this. As I mentioned before, the higher the frequency of your clock the better the accuracy and stability. Said differently, the lower your clock frequency, the higher the constraint on the your systematics.
To achieve parts in 10-18 requires knowledge of an optical transition to 1 mHz. On a microwave transition 10-18 requires that you know your transition frequency to a fraction of a micro-Hz. Because the difference in constraints, microwave clocks are not likely to make significant gains in accuracy over their current performance, but optical clocks which have been demonstrated to be 100 more accurate are still improving.
The question that must be on everyone’s minds is…. Given the higher accuracy and potential for optical clocks…. Is it the time right for optical redefinition of the SI second?

## Slide 6
Atomic Clock Applications
F. Riehle, et. al., Metrologia 55.2 188 (2018).
T. E. Mehlstäubler et. al., Rep. Prog. Phys. 81 (2018)
C. Grebing, et. al.,, Optica, 3(6) (2016).
GPS and Navigation
Defining the SI second
Improve local geodesic measurements
Difference in clock readings
vg
Credit: A. Derevianko
Time
l/vg
Dark matter detection
Variation of
fundamental constants
a
Synchronization in communications networks

## Slide 7
Applications requiring comparison of two dissimilar clocks
Atomic Clock | Resolution ✕ 10-18 | Accuracy ✕ 10-18 | a- Sensitivity
171Yb | 1 | 1 | +0.06
87Sr | 1 | 1 | +0.31
199Hg+ | 40 | 30 | -3.0
27Al+ | 4 | 1 | +0.0079
Fundamental physics
Hees et al, Phys. Rev. D. (2018)
T.Rosenband et al. Science (2008)
Roadmap for redefining the SI second
Demonstrate robustness of optical systems, consistency between the new and current SI, and 100 improved accuracy
Demonstrating comparison between different atomic clock species at 5 x 10-18

## Slide 8
How do you compare optical clocks when they operate at different optical frequencies?
Skeptical bush stone-curlew: Currumbin Wildlife Sanctuary

## Slide 9
Frequency comb: a pulsed harmonic synthesizer
nopt
Optical IN
250-500 THz
Optical OUT
150 – 280 THz
Photonic Synthesizer
Reference
DT = 1/fr < 1fs
Microwave OUT
DC – 100 GHz
m-wave
fN = N * fr
optical
nN = N * fr + fCE
The OFC is referenced using an atomic clock.
It synthesizes a stable optical pulse train comprised of coherently and harmonically related optical modes.
Review: Fortier and Baumann, Communications Physics (2019)
fr ~ nopt ➗ C
C ~ 500,000 (non-integer)

## Slide 10
Combs for clock comparisons
Optical ruler
Frequency ratios are unitless: relative measurement of optical atomic clocks allow for measurements independent of the 10-16 accuracy limitations of PSFS (Hz).
Comb optical synthesis performance:
Additive instability ~ 10-18 t-1
Fractional accuracy ~ 10-21
nopt1
nopt2
100’s THz
fr ~ 1GHz
Cs133
fr ~ nopt ➗ C

## Slide 11
Dominant term
100’s THz
nopt2
nopt2
(“Hz”)
nopt1
(“Hz”)
=
N
M
Df
Optical-to-optical clock comparisons
Frequency ratios are unitless: relative measurement of optical atomic clocks allow for measurements independent of the 10-16 accuracy limitations of PSFS (Hz).
fractional offset < 1e-9
nopt1
fr ~ nopt ➗ C

## Slide 12
BRAN fiber link
Boulder Atomic Clock Optical Network (2018)
Yb lab
laser
Al+ lab
laser
Er comb
TiS comb
JILA
Sr lab
laser
Er comb
Frequency combs used for: 1) ratio and absolute clock measurements, 2) free-space time/frequency dissemination, 3) optical synthesis and 4) microwave generation for absolute frequency measurements.
Record measurement of 3 optical atomic clocks ratios, all near 10-18 using an inter-city optical fiber network (BRAN).
First comparison of optical atomic clocks across a free-space optical link, with measurement accuracy near 10-18
New constraints on the coupling of ultralight dark matter to normal matter via the fine structure constant.
NIST
Free-space link
BACON “Frequency ratio measurements at 18-digit accuracy using an optical clock network,” Nature 591 (2021).

## Slide 13: Ratios Day by Day

## Slide 14
Comparisons at 10-19 will require knowledge of relative clock
height difference at the mm-level…..
Comparison with world and past results
Relativistic Sensitivity
1 mm
1cm
10 cm
Gravitational redshift
m2/s2
(altitude)
2005
2020
2010
2015
10-18
10-17
10-16
10-15
10-19
Al+
Sr
Yb
Al+
Sr
Hg+
Al+
Sr
Sr
Yb
Sr
Hg
Accuracy Dn/n
Year
Clocks will be competitive with LIGO : 10-21
BACON
Ratios of 1

## Slide 15
Clocks and tests of fundamental physics
171Yb
87Sr
199 Hg+
27Al+
Atomic Clock | Resolution ✕ 10-18 | Accuracy ✕ 10-18 | a- Sensitivity
171Yb | 1 | 1 | +0.06
87Sr | 1 | 1 | +0.31
199Hg+ | 40 | 30 | -3.0
27Al+ | 4 | 1 | +0.0079
DM is predicted to couple transitions will couple to a DM field via a-fine structure constant
Coupling will result in a periodic time-variation in a,
wDM
Compton frequency
∝ DM mass
DM coupling strength
a (t) ∝ de* cos (wDM t)
One theory of dark matter (DM) suggests that our galaxy is pervaded by a DM halo composed of Bosonic, ultralight particles.
A. Arvanataki et al.,Phys. Rev. D 91, 015015 (2015)
Y. V. Stadnik and V. V. Flambaum, Phys. Rev. Lett. 115, 201301 (2015)
A. Derevianko and M. Pospelov., Nature Phys. 10, 933 (2014)
Y. V. Stadnik and V. V. Flambaum, PRA 93, 063630 (2016)

## Slide 16
Compton frequency, wDM (log)
Coupling strength, de (log)
Decreasing DM Coupling
Decreasing DM Mass
Equivalence Principle Tests
Tilburg et al., PRL 115, 011802 (2015)
Improve coupling constraint over 6 decades in DM mass.
Clocks and tests of fundamental physics
Hees et al., PRL 117, 061301 (2016)
DM coupling/mass excluded in shaded regions
Hees et al PRD 98 (2018)
BACON Nature 591 (2021)
Notes: We did this analysis on the ratio data I showed earlier in this talk as well as data from a clock comparison done at nist in 2007 with al/hg
From this analysis we are able to improve constraints on dm coupling from earlier measurements searching for ultra light dm coupling thru alpha osillations, black curve, by an order of magnitude, over 6 decades of DM mass. Explain plot

## Slide 17
Compton frequency, wDM (log)
Coupling strength, de (log)
Improved measurement resolution
Longer time interval
Equivalence Principle Tests
Tilburg et al., PRL 115, 011802 (2015)
Improve coupling constraint over 6 decades in DM mass.
Clocks and tests of fundamental physics
DM coupling/mass excluded in shaded regions
Hees et al, arXiv:1807.04512v3 (2018)
Better Constraints
Higher a sensitivity
Higher stability
Hees et al., PRL 117, 061301 (2016)
Notes: We did this analysis on the ratio data I showed earlier in this talk as well as data from a clock comparison done at nist in 2007 with al/hg
From this analysis we are able to improve constraints on dm coupling from earlier measurements searching for ultra light dm coupling thru alpha osillations, black curve, by an order of magnitude, over 6 decades of DM mass. Explain plot

## Slide 18
Best tree(s) ever!....... Antarctic beech trees in Springbrook National Park
Enthusiastic scientist at Currumbin Wildlife Sanctuary
Quick aside…..

## Slide 19
Accurate and precise!
Resonant frequency
Voltage
Df + SNR -> precision
Dfc -> accuracy
frequency
Averaging time
Adev (frac. instability)
10-15
10-16
10-18
For atomic clocks, which are dominated by Gaussian (white frequency) noise, the longer you average, the better you can define the center frequency.
15
16
18
1s
1 month
10-17
17
Digits of resolution
1 hour
1/t1/2
Stability vs accuracy in clocks

## Slide 20
Al+/Yb
Al+/Sr
Yb/Sr
104
103
102
Averaging Time (s)
101
Improving digits of resolution
100
Most applications of atomic clocks have impractically long measurement times!
108
107
106
105
10 months
10 years
geodesy at the mm level
15
16
17
18
19
Clock stability impact on applications
gravitational waves
20
21
3000 years/ 100,000 years!
Time record of ratio data
Ratios with Al+
Ratio with lattice clocks
Clock ratio offset from BIPM

## Slide 21
NIST Boulder Atomic Clocks
27Al+ quantum logic clock
171Yb & 87Sr lattice clocks
Al+
Mg+
no = 1.12 PHz
N = 1
s = 1.5 x 10-15 t-1/2
no = 0.518 PHz
N ~ 104
s = 2-3 x 10-16 t-1/2
S. Brewer et al. PRL 123 (2019)
W. McGrew et. al. Nature 564 (2018)
T. Bothwell et al Metrologia 56 (2019)
Atomic probe time
Averaging time
# Atoms
Transition frequency
Stability = 1/s ∝
Accuracies ~ 10-18
Tp = 500 ms
Tp = 150 ms
Notes: While optical atomic clocks have been under development for nearly 30 years, it is still unclear which species might be most suitable as the reference when the SI is redefined to optical atomic times. As a result, research groups around the work have invested into many atomic species.
At NIST, we current have have 3 operational clocks, the Al single quantum logic clock, and two optical lattice clocks.
Briefly, ion and neutral atom clocks exhibit different advantages and disadvantages. The lattice clocks can operated with up to 10^5 atoms permitting high SNR. The Al+ clock transition frequency is near 1 PHz which is advantageous to its QPN. A serious drawback of the ion clock is that it relies on a single ion for detection, which results in low SNR and relatively high short term instability as compared with the lattice clocks.
The focus of my today will be on how phase coherent comparison between the Al ion clock and a lattice clock can be used to improve measurement resolution beyond what is current possible if the Al ion clock is operated independently.

## Slide 22
longer probe, (free evolution time)
 better frequency resolution
Resolvable clock transition
Hz
Hz
Hz
Atomic probe time
Averaging time
# Atoms
Transition frequency
Stability = 1/s ∝
Probe time and frequency resolution

## Slide 23
Atomic clocks and laser atom decoherence
LASER
Freq. shifter
Atom corrected signal
10-16 @ 1s
Technical limitations of the clock laser:
Dick effect (noise aliasing) < 100% uptime.
Probe time limitations… drift in phase between the laser and the atomic sample.
Prep. atoms
Prep. atoms
Prep. atoms
Clock stability limitations: 1) laser noise and 2) atom-laser phase drift
One clock cycle
Tp
Notes: From the equation that relates the QPN to measurement instability we see that the longer the measurement time, or the atom probe time, the higher the achievable measurement resolution.
While the upper state lifetime of the excited state limits both the Al and Yb clocks to measurement times less than 20 s, drift in the relative phase of the laser with respect to the atoms results in laser-atom decoherence that limits the probe time to less than 1 s.
So why is decoherence and measurement time important?
The longer I can allow the atomic system to oscillate the higher the Q of the system, and the better the short term measurement resolution and stability. More importantly, the better the stability, the less averaging I have to do to reach a specific level of frequency resolution.

## Slide 24
LASER
Traditional clock comparison
Atom stabilized light from each clock is sent to the frequency comb…. clocks are operated independently and asynchronously.
M
N
DfYb
Tp = 0.5 s
N = 104
171Yb
\
Modelocked
laser
27Al+
Tp = 0.15 s
DfAl
LASER
N= 1
Al clock cycles
Yb clock cycles
1
2
3
1
2
3
4
5
6
7
8
0.5 s
0.15 s
Notes: To extend correlated spectroscopy to unlike atoms, the LO oscillator of the Yb system at 1157 nm, needs to be phase coherently transferred via the OFC to 1070 nm and quadrupoled to probe the Al+ clock transition frequency. More specifically, the reduce the drift of the Yb laser oscillator with respect to the Al+ ion, the Yb laser is phase corrected by the atomic sample on each Yb measurement cycle. As a result, the Al+ clock recieves atom corrected light from the Yb system.
Unfortunately, the Yb atom probe time itself is limited by laser atom decoherence due to drfit in the Yb optical cavity. This drift when transferred to the Al frequency is twice a large since the Al clock transition frequency is more than double the Yb transition frequency. As a result to Yb probe time is limited to less than 500 ms, albeit almost 5 times longer thatn the probe time of Al+ when it is operated independently.
To ensure faithful transfer from one atomic system, through the comb to the other atomic system, we performed a measurement of the network instability to ensure that the optical link noise was well below the expected performance of the atomic systems.

## Slide 25
171Yb
LASER
Differential Spectroscopy
27Al+
Tp = 0.5 s
LASER
N= 1
M
N
DfAl
DfYb
Tp = 0.5 s
N = 104
The comb is stabilized to the Yb clock
Al+ laser is locked to the com
Clocks are operated synchronously
Al and Yb clocks share phase information and are synchronous.
\
AOM
Modelocked
laser
Al clock cycles
Yb clock cycles
1
2
3
1
2
3
0.5 s
D. Hume and D. Leibrandt, Phys. Rev. A, 93, 032138 (2016)
But… the Al+ probe time is still limited by the drift between the Yb cavity!
Notes: To extend correlated spectroscopy to unlike atoms, the LO oscillator of the Yb system at 1157 nm, needs to be phase coherently transferred via the OFC to 1070 nm and quadrupoled to probe the Al+ clock transition frequency. More specifically, the reduce the drift of the Yb laser oscillator with respect to the Al+ ion, the Yb laser is phase corrected by the atomic sample on each Yb measurement cycle. As a result, the Al+ clock recieves atom corrected light from the Yb system.
Unfortunately, the Yb atom probe time itself is limited by laser atom decoherence due to drfit in the Yb optical cavity. This drift when transferred to the Al frequency is twice a large since the Al clock transition frequency is more than double the Yb transition frequency. As a result to Yb probe time is limited to less than 500 ms, albeit almost 5 times longer thatn the probe time of Al+ when it is operated independently.
To ensure faithful transfer from one atomic system, through the comb to the other atomic system, we performed a measurement of the network instability to ensure that the optical link noise was well below the expected performance of the atomic systems.

## Slide 26
Al clock cycles
Yb clock cycles
171Yb2
LASER
Zero-Dead Time Differential Spectroscopy
27Al+
Tp = 2 s
M
N
fr
DfAl
DfYb
Tp = 0.5 s
N = 104
\
Tp = 0.5 s
N = 104
171Yb1
1
2
3
4
0.5 s
2 s
LASER
Modelocked
laser
N= 1
1
The comb is stabilized to interleaved Yb clocks
Al+ laser is locked to the comb
The Al clock is probed synchronously over multiple Yb/Yb clock cycles.
We can extend the Al probe time to multiple seconds!
Notes: To extend correlated spectroscopy to unlike atoms, the LO oscillator of the Yb system at 1157 nm, needs to be phase coherently transferred via the OFC to 1070 nm and quadrupoled to probe the Al+ clock transition frequency. More specifically, the reduce the drift of the Yb laser oscillator with respect to the Al+ ion, the Yb laser is phase corrected by the atomic sample on each Yb measurement cycle. As a result, the Al+ clock recieves atom corrected light from the Yb system.
Unfortunately, the Yb atom probe time itself is limited by laser atom decoherence due to drfit in the Yb optical cavity. This drift when transferred to the Al frequency is twice a large since the Al clock transition frequency is more than double the Yb transition frequency. As a result to Yb probe time is limited to less than 500 ms, albeit almost 5 times longer thatn the probe time of Al+ when it is operated independently.
To ensure faithful transfer from one atomic system, through the comb to the other atomic system, we performed a measurement of the network instability to ensure that the optical link noise was well below the expected performance of the atomic systems.

## Slide 27
Improved clock measurement resolution
Al+ probe time 150 ms
Diff. spec. Al+ probe time 1.7 s
Clocks were not run in high accuracy mode.

## Slide 28
2008
2010
2016
2018
2020
Inter-species clock comparisons
10-15
10-16
10-14
1-s precision
Record inter-species precision!
2014
2012
year
Comparison with previous results

## Slide 29
What does this have to do with time?

## Slide 30
Al+/Yb
Al+/Sr
Yb/Sr
104
103
102
Averaging Time (s)
101
digits of resolution
100
Highest measurement for any interspecies clock comparison
Factor of 10 improvement in measurement resolution.
Factor of 100 speed up in measurement time.
108
107
106
105
10 months
10 years
geodesy at the mm level
15
16
17
18
19
Al+ Tp = 20 s
Al+ Tp = 2 s
Al+ Tp = 0.15 s
10-19 in < 15 hours!
Synchronously and phase coherently linking clocks with via frequency combs can permit significant improvements in measurement resolution… bringing next generation applications closer to reality.
Improved clock measurement resolution

## Slide 31
BRAN fiber link
Boulder Atomic Clock Optical Network 2.0 (2024...?)
Yb lab
laser
Al+ lab
laser
Er comb
TiS comb
JILA
Sr lab
laser
Er comb
Distribute the Sr clock LO (Si cavity) to the Al and Yb clocks:
Probe all 3 clocks synchronously
reduce measurement induced laser noise and
improve the QPN of the Al and Yb clocks, whose probe time is limited by atom-laser decoherence.
NIST

## Slide 32
Al Ion Clock
May Kim
Ethan Clements
David Hume
Sam Brewer
Jwo-Sy Chen
David Leibrandt
Yb Lattice Clock
Xiaogang Zhang
Will McGrew
Robbie Fasano
Stefan Schäffer
Daniele Nicolodi
Kyle Beloy
Andrew Ludlow
Sr Lattice Clock
Dhruv Kedar
Colin Kennedy
Toby Bothwell
John Robinson
Eric Oelker
Sarah Bromley
Jun Ye
Optical Frequency
Measurement Group
Scott Diddams
Holly Leopardi
Nick Nardelli
Tara Fortier
Free-Space Time Transfer
Martha Bodine
Issac Khader
Laura Sinclair
JD Deschenes
Nate Newbury
Boulder Atomic Clock Network Collaboration
Thank you for your attention!

## Slide 33
FIN

## Slide 34
()
Optical Cavity
Probe Time (Tp)
pulse
pulse
Ramsey Spectroscopy

## Slide 35
f – 2f
pulse
amplification
HNLF (2 ps/km/nm)
HNLF (5.6 ps/km/nm)
supercontinuum
generation
FPGA feedback
Er/Yb:glass (500 MHz)
Yb (1157 nm)
Al+ (1070 nm)
FPGA-based feedback
made by Marco Pomponio
The Er/Yb:glass Frequency Comb

## Slide 36
The Er/Yb:glass Frequency Comb
1.0
2.0
1.4
1.2
1.6
1.8
2.2
input pulse
Al+ clock (NIST)
1070 nm
Yb clock (NIST)
1157 nm
Sr clock (JILA)
1542 nm
N. V. Nardelli et al., Optical and microwave metrology at the 10−18 level with an Er/Yb:glass frequency comb, Laser & Photonics Reviews (2023).

## Slide 37
Comparisons at 10-19 will require knowledge of a relative
height difference at the mm-level!
Comparison against previous results
Relativistic Sensitivity
1 mm
1cm
10 cm
Gravitational redshift
m2/s2
(altitude)
2005
2020
2010
2015
10-18
10-17
10-16
10-15
10-19
Al+
Sr
Yb
Al+
Sr
Hg+
Al+
Sr
Sr
Yb
Sr
Hg
Accuracy Dn/n
Year
Clocks will be competitive with LIGO : 10-21
Notes: French recognized the
metric system was first introduced in France in 1799

## Slide 38: Ratios Day by Day
?
?
?
Measurement uncertainty:
Statistical uncertainties averaged below 5x10-18
Systematic uncertainties evaluated below 5x10-18
Network agreement:
Combs agreed to < 1x10-19 (overlapping data)
Links agreed to 1x10-18 (statistically limited)
Analysis:
Independent analyses agree to below 5x10-19
When the dust settles: 3 most accurate frequency ratio measurements

## Slide 39: Comparison with previous results

## Slide 40
Clocks as Sensors!
An extremely fine tool for probing the laws of Physics
Atomic clock transitions are sensitive to relativistic time-dilation shifts:
Relativistic geodesy
gravitational wave detection
Violation of LPI
Atomic transitions are defined by fundamental constants (me, mp, a)
Time variation of fundamental constants
  T.Rosenband et al. Science 2008
  N. Huntemann et al PRL (2014)
  R. M. Godun et al PRL (2014)
Searches for dark matter
Review: T. Mehlstäubler, Reports on Scientific Progress (2018)
J. Grotti et al. Nature (2018)
N. Ashby Nat. Physics 14 (2018)
P. Delva PRL 118 (2017),
Notes: What limits you in terms of sensitivity makes you a great sensor!

## Slide 41
Clocks and tests of fundamental physics
171Yb
87Sr
199 Hg+
27Al+
Atomic Clock | Resolution ✕ 10-18 | Accuracy ✕ 10-18 | a- Sensitivity
171Yb | 1 | 1 | +0.06
87Sr | 1 | 1 | +0.31
199Hg+ | 40 | 30 | -3.0
27Al+ | 4 | 1 | +0.0079
DM is predicted to couple transitions will couple to a DM field via a-fine structure constant
Coupling will result in a periodic time-variation in a,
wDM
Compton frequency
∝ DM mass
DM coupling strength
a (t) ∝ de* cos (wDM t)
One theory of dark matter (DM) suggests that our galaxy is pervaded by a DM halo composed of Bosonic, ultralight particles.
A. Arvanataki et al.,Phys. Rev. D 91, 015015 (2015)
Y. V. Stadnik and V. V. Flambaum, Phys. Rev. Lett. 115, 201301 (2015)
A. Derevianko and M. Pospelov., Nature Phys. 10, 933 (2014)
Y. V. Stadnik and V. V. Flambaum, PRA 93, 063630 (2016)

## Slide 42
Compton frequency, wDM (log)
Coupling strength, de (log)
Decreasing DM Coupling
Decreasing DM Mass
Equivalence Principle Tests
Tilburg et al., PRL 115, 011802 (2015)
Improve coupling constraint over 6 decades in DM mass.
Exclusion plot for dark matter coupling
Hees et al., PRL 117, 061301 (2016)
DM coupling/mass excluded in shaded regions
Hees et al PRD 98 (2018)
BACON Nature 591 (2021)

## Slide 43
JILA
Free-space optical link
Residual link noise at 10-17 @1s
Free-space and BRAN link agreement near 10-18 (consistent with statistics)
Yb
Sr
Fidelity of free-space link
Fractional Instability
Link agreement in optical clock ratio measurement
2/28
3/01
3/05
3/06
3/09
3/23
4/03
Date (2018)
Before IMS
FY2018
10-17 @1s
10-17
10-15
10-13
10-19
0.01
100
1000
0.001
0.1
1
10
Averaging time(s)

## Slide 44
Comb
DfYb
DfAl
DfSr
Comb frequencies
171Yb
87Sr
27Al+
UTC(NIST)
Time base for counters
Counting optical frequencies for comparisons
Counter data is recorded on a computer as multiple columns of microwave frequencies, averaged over a 1s gate time.
Data is filtered at 5-sigma + uptime data from clock labs.
Optical frequencies/ratios are calculated using the comb data + shifts provided by each clock lab that correct for time-dependent perturbations to the ideal transition frequency (temperature, E + B fields, collisional shifts)

## Slide 45: Ratios for loop closures
Yb clock
1.4x10-18
Sr clock
4.8 x10-18
Al clock
1.7 x10-18
2.162 887 127 516 663 703(13)
2.611 701 431 781 463 025(21)
1.207 507 039 343 337 848 2(82)
Loop Closure:
Measurements of
3 clocks or more permit
evaluation of a loop closure,
which assesses consistency in the measurements of clocks against one another & against 133Cs.

## Slide 46
Yb clock
1.4x10-18
Sr clock
4.8 x10-18
Al clock
1.7 x10-18
133Cs
The Hz
2.1e-16
3.2e-16
3.6e-16
2.162 887 127 516 663 703(13)
2.611 701 431 781 463 025(21)
1.207 507 039 343 337 848 2(82)
1121015393207859.5(36) Hz
429228004229873.19(15)
518 295 836 590 863.71(11)
Loop Closure:
Measurements of
3 clocks or more permits
evaluation of a loop closure,
which assesses consistency in the measurements of clocks against one another & against 133Cs.
Ratios for loop closures

## Slide 47
Yb clock
1.4x10-18
Sr clock
4.8 x10-18
Al clock
1.7 x10-18
133Cs
The Hz
2.1e-16
3.2e-16
3.6e-16
2.162 887 127 516 663 703(13)
2.611 701 431 781 463 025(21)
1.207 507 039 343 337 848 2(82)
1121015393207859.5(36) Hz
429228004229873.19(15)
518 295 836 590 863.71(11)
Loop Closure:
Measurements of
3 clocks or more permits
evaluation of a loop closure,
which assesses consistency in the measurements of clocks against one another & against 133Cs.
Ratios for loop closures

## Slide 48: 2018 Clock ratio data
14 hours
Ratio frac. offset from BIPM
4x10-15
-1
0
1
2
3
Optical network performance better than clocks so does not add measurement errors/instability
BACON collaboration Nature 591 (2021)
1 good day of data
104
103
102
Averaging Time
101
100
10-19
10-18
10-17
10-16
10-15
Improved resolution
Fractional Frequency Stability
Free-space link
Combs
Fiber link
Al+/Yb
Al+/Sr
Yb/Sr