## Slide 1: Applications of time and frequency signals on optical fiber
Davide Calonico, Cecilia Clivati, Simone Donadello, Alberto Mura, Maroc Pizzocaro, and Filippo Levi
Quantum Metrology and Nanotechnologies Division
Istituto Nazionale di Ricerca Metrologica
d.calonico@inrim.it

## Slide 2
Italian Quantum Backbone was born with the Project LIFT (Link in Italy for Frequency and Time).
First Signals Turin-Florence:
February 2013
Published the year after

## Slide 3
Italian Quantum Backbone steps
2014 650 km Link
2015 8th Symposium on Frequency Metrology
2016 Remote SI traceability for spectroscopy
// Remotely enabling quantum simulation
2018 Chronometric Levelling (Relativistic Geodesy)
// Submarine Cables and Earthquake sensing
2017- 2020 1850 km optical link // Radioastronomy
2021 1000 km White Rabbit Timing
2022 Atlantic cable - seabottom sensing
//Clock comparisons
//Quantum Communication
2023 Seismic permanent Observatory

## Slide 4: Italian Quantum Backbone: exploring applications
Absolute frequency reference dissemination and comparisons
C. Clivati et al., Opt. Express 24, 11865 (2016)
L. Livi, et al. Phys Rev Lett 117, 220401 (2016)
S. Borri et al, Sci. Rep. 7, 12780 (2017)
C. Clivati et al, Phys. Rev. Applied 18, 054009 (2022)
Relativistic geodesy
J. Grotti et al., Nature Physics (2018)
Radioastronomy (Very Long Baseline Interferometry)
C. Clivati et al., Sci. Rep. 7, 40992 (2017)
C. Clivati, et al. Optica 7, 1031-1037 (2020)
M. Pizzocaro, et al. Nature Physics, 17, 2, (2020)
Seismology/Geophysics
G. Marra et al., Science 361 (2018)
C. Clivati et al. Optica (2018)
G. Marra, et al. Science, 376, 6595 (2022)
Quantum Communication
S. Wengerowsky, et al., PNAS 116, .6684-6688 (2019)
D. Bacco, et al. EPJ Quantum Technology, 6, 1(2019)
S. Wengerowsky, et al. 6, 1 Nature PJ Quantum Information (2020)
D. Bacco, et al. Advanced Quantum Technologies 4, 7 (2021)
C. Clivati, et al. Nature Communnications, 13, 1 (2022)
INRIM IQB: 1850 km fibre research infrastructure
7 public research laboratories/institutes, 3 industrial companies connected
Primary frequency metrology (comparison and dissemination)
Certified atomic time and frequency
Platform for quantum metrology and communication
Coherent Fibre Sensing
←FRANCE
INRIM
BOLOGNA
ROMA
MATERA
Medicina Radiotelescope
FUCINO
Space Geodesy Centre
TORINO
NAPOLI
FIRENZE
MILANO

## Slide 5: Coherent laser interferometry
Basic principles:
interference between coherent light
optical phase measurement
Ultrastable lasers – laser noise < fiber noise
Doppler noise cancellation
Interferometry over the fiber network:
compatible with telecom infrastructure
coexistence with internet data traffic
high sensitivity and linearity
long range, can be amplified + high coherence

## Slide 6: Coherent laser interferometry
Faraday
Mirror
Real Fibre
(with data
Interferometer
Detection
Ultrastable
Laser

## Slide 7
Optical Fiber Links: a worldwide snapshot
1
Fiber Link in use

## Slide 8
Remote frequency measurements

## Slide 9
Via optical link INRiM-SYRTE:
1023 km long
Yb vs fountains at SYRTE (Paris)
Remote frequency measurement
Optical comparison between INRIM and
SYRTE (Systèmes de Référence Temps-Espace)
+ LPL (Laboratorie de Physique des Lasers)
C. Clivati et al., 2022 Phys. Rev. Applied 18, 054009

## Slide 10
Ongoing optical clocks comparisons
Two European optical clock comparisons
ROCIT campaign (March 2022):
- 11 optical clocks involved
- 7 different countries linked via GPS
- INRiM, SYRTE and PTB connected via
fiber link
- NPL, VTT, UMK and NMIJ connected via GPS
2023 campaign (March and April 2023):
- INRiM, SYRTE, PTB and NPL connected
via fiber link
- 6 optical clocks involved
- 2 transportable clocks developed at PTB and
RIKEN hosted at NPL
Data under analysis

## Slide 11
INRiM – Cs fountain
Accuracy: 1.7·10-16
Stability: 1.5·10-13 @ 1 s
F. Levi, et al., Metrologia, 51, 270 (2014);
INRiM – Yb clock
Accuracy: 2·10-17
Stability: 2·10-15 @ 1 s
M. Pizzocaro, et al., Nature Phys 17, 2 (2021)
INRiM – Sr clock
Accuracy: 1·10-14
Stability: 8·10-14 @ 1 s
Barbiero, M et al. , IEEE Trans I&M, 71, 1501509 (2022)
INRIM AFS

## Slide 12
INRIM AFS
INRiM – Yb clock ITYb1
Accuracy: 2·10-17
Stability: 2·10-15 @ 1 s
IT-Yb1 contributed to TAI real-time for 16 months
M. Pizzocaro, et al., Nature Phys 17, 2 (2021)
I. Goti et al., Metrologia 60, 035002 (2023)

## Slide 13
Instability of clocks comparisons
Stability:
IT-CsF2
FO2-Cs
IT-Yb1
C. Clivati et al., 2022 Phys. Rev. Applied 18, 054009
I. Goti et al., 2023 Metrologia 60 035002
IT-Yb1/FO2-Cs
= 518 295 836 590 863.61(17)
IT-Yb1/FO2-Rb
Results in agreement
with value recommended
by CIPM

## Slide 14
Towards the redefinition of the second
In 2022 the CCTF proposed a roadmap toward a redefinition
with clear criteria and quantitative conditions
GOAL: Redefinition by 2030
Uncertainty
< 2x10-18
Continuity with the definition
based on Cs < 3 x
Validation of frequency ratios
< 5 x
Regular contribution
to TAI
@ 2 x
Access to the realization of the new definition
N. Dimarcq et al., arXiv preprint arXiv:2307.14141 (2023)
1.The 2022 and 2023 campaigns in Europe demonstrated the maturity of the comparison process
2. In 2023, first involvement of a transportable optical clock in intercontinenal comparisons
3. Given 6 years 2024-2030: 2 campaigns/yr means 12 campaigns
4. This should a very good pace for demonstrating solid numbers (i.e. consistency)

## Slide 15
Radioastronomy
Geodesy

## Slide 16
VLBI Common clock via optical fibre
C. Clivati, et al. Optica 7, 1031-1037 (2020)

## Slide 17
VLBI Common clock via optical fibre
C. Clivati, et al. Optica 7, 1031-1037 (2020)
Dissemination of better clocks for
Better mm-VLBI: above 80 GHz, H-Masers are the main limit to resolution
M. Rioja, et al. Astron. J., vol. 144, no. 4, art. no. 121, 2012.
B. Nikolic, et al. Astron. Astrophys., vl. 552, art. no. A104, Apr. 2013.
M. Rioja and R. Dodson, Astron. J., vol. 141, no. 4, art. no. 114, 2011
In Geodesy VLBI, accuracy is relevant and 1-mm positioning accuracy requires clocks uncertainties at 1e-16.
A. Neill, et al. Report of Working Group 3 to the IVS Sep. 2005.Directing Board
Study of compact radio sources (better angular resolution) and interstellar molecular clouds
Studying Pulsar through absolute accurate time (1E-15 stability @years)
Improve atmospheric models

## Slide 18: VLBI for intercontinental OFS comparisons
M. Pizzocaro, et al. Nature Physics, 17, 2, (2020)

## Slide 19: Chronometric levelling
J. Grotti et al., Nature Phys. 14, 2018
How to translate this into a “real instrument”?
→ Transportable optical clocks + fibre link
A proof-of-principle geodesy experiment on the Alps

## Slide 20
Earthquakes

## Slide 21: Earthquake monitoring with subsea fibers
Underwater cables:
unmonitored seafloors
important for early warning
deep seas are quiet environments
ideal for sensing (earthquakes, waves, tides...)
9SFM - Kingscliff AUS - October 20th, 2023

## Slide 22: The experimental setup (today)
In-field installation:
transportable ultrastable lasers at data centers
standard fiber with internet traffic
vacuum pump
cavity
laser diode
control and electronics
internet operator data rack
9SFM - Kingscliff AUS - October 20th, 2023

## Slide 23: Submarine Earthquakes detection
L2
L1
Ragusa
Pozzallo
UniMalta
C. Clivati et al., Optica 14 (2018)
G. Marra et al., Science 361 (2018)
Two testbeds in the Mediterranean Sea,
Sicily to Malta:
A 96.4 km telecom cable
(fiber only, buried 1 m below sand)
A 117 km cable along electrical interconnection
(fiber + HV power, 1 m below sand)
9SFM - Kingscliff AUS - October 20th, 2023

## Slide 24: Submarine Earthquakes detection
G. Marra et al., Science 361 (2018)
9SFM - Kingscliff AUS - October 20th, 2023

## Slide 25: Submarine Earthquakes detection
Submarine fibers have up to 20 dB lower noise than terrestrial fibers
High SNR achievable even on transoceanic links
C. Clivati et al., Optica 14 (2018)
40 dB
9SFM - Kingscliff AUS - October 20th, 2023
C. Clivati et al., Optica 14 (2018)

## Slide 26
Geo-sensing: sea-bottom seismic noise
Generated by wind-sea interaction,
propagates down to seabed
Characteristic peaks at 0.1 Hz< f < 0.2 Hz
(twice the wave's frequency)
Affected by wind, coasts, water depth...
C. Clivati et al., Optica 14 (2018)
9SFM - Kingscliff AUS - October 20th, 2023

## Slide 27
Submarine cables: from 200 km to 2x6000 km
9SFM - Kingscliff AUS - October 20th, 2023

## Slide 28
Submarine cables over the Atlantic: geophysics and earthquakes
9SFM - Kingscliff AUS - October 20th, 2023
G. Marra et al., Science (2022

## Slide 29
Intercontinental clock comparisons expectations:
7000 km fibre
7000 km over two separated submarine fibres, extrapolated from 100 km meaured noise
7000 km over single submarine fibre, extrapolated from 100 km measured noise
In this region: exploitation of separated fibre noise correlations
C. Clivati et al., Optica 14 (2018)

## Slide 30
36 km commercial link pair (Ascoli Piceno - Teramo)
highly seismic area
populated towns and road traffic
1 sensing DWDM channel
coexistence with data traffic
comparison with local seismometers
Sensing with terrestrial fibers: the permanent observatory MEGLIO in central Italy

## Slide 31: Detection of weak, local, earthquakes... ... and strong, distant, earthquakes
Civitella (Italy),
Feb. 19th, 2022
magnitude 2.0
distance 18 km
Turkey,
Feb. 6th, 2023
magnitude 7.9
distance 2100 km
9SFM - Kingscliff AUS - October 20th, 2023

## Slide 32: Two years of observations: the sensitivity curve
Analysis over ~ 570 events: (June 2021 to September 2022)
detection of ~ 70 events
good sensitivity
down to M ~ 1
detection probability: distance ⇔ magnitude
Donadello et al., (2023), arXiv:2307.06203

## Slide 33: Fourier analysis and earthquake magnitude estimation
Brune’s model:
ground acceleration spectrum
corner-frequency ⇔ magnitude
Donadello et al., (2023), arXiv:2307.06203

## Slide 34
EuroQCI: European Quantum Communication Infrastructure

## Slide 35: European Quantum Communication Infrastructure
Source: European Commission
EuroQCI space segment
Distribution of quantum-secured encryption keys on a global scale
EuroQCI terrestrial segment
Federation of national terrestrial QCI networks with cross borders connections
An integrated satellite and terrestrial system spanning the whole EU for ultra-secure exchange of cryptographic keys (Quantum Key Distribution)
Quantum communication infrastructure (QCI) is part of the European Cybersecurity Strategy and is to be integrated in the new Secure Space Connectivity initiative ‘IRIS²’

## Slide 36
Coordination: INRIM
18 Partners: 9 Public + 9 Private
Large companies and SME
Budget: 9.45 Meuro
Duration 30 months
QUID: EuroQCI Italy
Deploy EuroQCI in Italy, advanced national quantum systems and networks for testing quantum communication technologies and for integrating them with existing communication networks
Quantum Metropolitan Area Networks (QMAN), >14 points in 9 towns: Turin, Milan, Bologna, Padua, Trieste, Florence, Rome, Naples, Matera.
Use these quantum systems and networks for developing and testing use cases in support of national QCI initiatives
Initial Connection of QMANS by Italian Quantum Backbone (IQB), from North to South Italy.
Acknowledgements – This presentation has been developed in the project The Project QUID (QUantum Italy Deployment) which is funded by the European Commission in the Digital Europe Programme under the grant agreement No 101091408

## Slide 37
ITALY DEPLOY NATIONAL: Extensions
QUID: extension and operation
Long range QKD / 7 Q-MAN / 9 Use Case / 18 partners
Time and Frequency distribution from IQB
Today: INRIM Italian Quantum Backbone
Time Distribution, VLBI Geodesy, Aerospace-Galileo
Metropolitan Q-comm tests,
Several collaborations (Pubblic and Private)
←FRANCE
INRIM
BOLOGNA
ROMA
MATERA
Medicina Radiotelescope
FUCINO
Space Geodesy Centre
TORINO
NAPOLI
FIRENZE
MILANO

## Slide 38: Quantum Key Distribution
Alice
Photon
source
φ = 0→ qubit 0
φ = π→ qubit 1
Bob
Photon
detector
eavesdropper
φ = 0→ qubit 0
φ = π→ qubit 1
10010110
10010110
10010100
10010100
In classical information, bits (0, 1) are encoded in power, phase, or polarization of a laser beam
In quantum information, qubits are encoded in phase or polarization of single photons
Quantum Key Eavesdropping implies measuring, hence destroying the quantum state

## Slide 39
QKD in Real-World limits: losses
QUANTUM REPEATERS
TRUSTED NODES
PLOB bound
OPTICAL AMPLIFIERS

## Slide 40: Twin-field QKD
DOUBLING THE DISTANCE between trusted nodes

## Slide 41
Alternative solution derived from atomic clocks comparison technology
The transmission of coherent laser radiation over thousand-kilometer-long fibers is exploited for the comparison of distant atomic clocks at the highest accuracy
Ultrastable lasers + the active cancellation of the noise introduced by connecting fibers  clock comparison
Frequency Metrology and TF- QKD: technological convergence

## Slide 42: Twin-field QKD setup
Our approach: a reference laser frequency nR to Alice and Bob + an additional sensing laser frequency nS over the service fiber with the reference laser, and the QKD fibers together with the QKD lasers
tight control of the fiber noise
simultaneous key streaming
Ideal TF-QKD: Alice and Bob encode quantum states on local lasers with equal frequencies nA = nB

## Slide 43: Twin-field QKD on IQB (real world)
TESTBED
206 km
65 dB
IQB
1800 km
nR = 1542.14
ns = 1543.33
Notes: The incoming and returning sensing laser is let to interfere here and the phase difference between each close path is evaluated here. The result drive an AOM that adjust the phase difference of the sensing laser of the two arms. Since also QKD lasers travel through the same AOM, the fiber noise is suppressed also for their signals.

## Slide 44: Results /1
Unstabilized condition: an instantaneous phase drift by 30 rad/ms is observed
Stabilized condition: the phase remains stable over the whole acquisition frame
C. Clivati, et al. Nature Communnications, 13, 1 (2022)
G. Bertaina et al., arXiv:2310.08621v1 (2023)

## Slide 45: Results /2: QBER and duty cycle
Secret key rate SKR of 4.942 kb/s is achievable
w/o INRIM TECHNIQUES
with INRIM TECHNIQUES
C. Clivati, et al. Nature Communnications, 13, 1 (2022)

## Slide 46: Conclusions
After 10 years, T/F over fibre links is more and more exciting
Comparisons for the redefinition of the second: mature and sustainable
Interesting results demonstrated in different applications
Areas interested / yet to be fully explored: Radioastronomy, Geodesy, Sensing, Q-Comm
Paradigm: T/F knowledge enables new measurements possibilities and insights, then a convergent technological platform is possible

## Slide 47: Acknowledgements
This work was supported by:
European Metrology Program for Innovation and Research
(projects 18SIB05 ROCIT, 20FUN08 NextLasers; 19NET02 EMN Quantum)
Horizon2020 (project Clonets-DS)
This presentation has been developed in the project The Project QUID (QUantum Italy Deployment) , which is funded by the European Commission in the Digital Europe Programme under the grant agreement No 101091408

## Slide 48
Fibre Team at INRIM
We are hiring!
d.calonico@inrim.it
THANK YOU.
Ytterbium Clock
M. Pizzocaro
I. Goti
S. Condio
F. Levi
D. Calonico
Cesium Fountain
F. Levi
G. Costanzo
M. Gozzellino
Quantum Optics
I.P. Degiovanni
A. Meda
M. Gramegna
S. Virzi
G. Bertaina
M. Genovese

## Slide 50
Optical fibre link in Australia

## Slide 51
Sensing with terrestrial fibers
G. Marra et al., Science 361 (2018)

## Slide 52
WR-PTP over 1200 km (Turin to Rome and Fucino)

## Slide 53
Coherent + WR-PTP Architecture
FIBRE
FIBRE
FIBRE
X16
1233 km, single fibre, 18 regeneration stations, 1 end receiver
REMOTE END (FUCINO)
STARTING POINT (INRIM)
10 MHz,
1PPS
Euramet TC-TF March 24th, 2022

## Slide 54: Coherent link needs ultrastable lasers
Optical clock techniques:
laser locked to ultrastable cavity
ultra-low-noise narrow-linewidth lasers
laser noise < fiber noise
high coherence ⇔ very long range (> 1000 km)

## Slide 55
Remote frequency measurement vs FO2 (SYRTE)
IT-Yb1/FO2-Cs
= 518 295 836 590 863.61(17)
IT-Yb1/FO2-Rb
Results in agreement
with value recommended
by CIPM
C. Clivati et al., 2022 Phys. Rev. Applied 18, 054009