## Slide 1: Prospect for Si sensors in Korea
Y. Kwon
(Yonsei Univ.)

## Slide 2: What is Si sensor? (Sensor on Si wafer)

## Slide 3: What is Si sensor? (Diced sensor)

## Slide 4: Introduction for student

## Slide 5: How do we make it? (CMOS process)
High purity Si wafer
Oxidation
Ion implant
Oxide layer deposition
Etch for contact
Metal layer deposition
Passivation

## Slide 6: How does it operate?
-

## Slide 7
KPS, Fall 2010
Cosmic muon test

## Slide 8: Possibility in Korea

## Slide 9: Si sensor in general
Mature technology
Reliable performance
Fine granule
Higher energy and time resolution (than gaseous ionization detectors)
Key burden is cost.

## Slide 10: Korean Strength
Productivity!
  Large amount of Si sensors produced with the standard CMOS process

## Slide 11
6 inch fabrication line
8 inch fabrication line
R&D environment
300 cm2 ~ $ 500

## Slide 12: Application

## Slide 13
“A” Si/W calorimeter prototype
Large amount of Si sensors needed!

## Slide 14: Schematics
Segment - 0
Segment - 1
Segment - 2
Lateral
Longitudinal
8 pad sensors
in one carrier board
15 mm
W, 4mm

## Slide 15
SEG0
SEG1
SEG2
y
z
PAD
STRIP
W
-RM<y<RM
FOCAL - schematic view (y-z view)
(EM Shower by single e)
~1X0 x 20

## Slide 16: Current snapshot

## Slide 17: MPC-EX for PHENIX
Application as a pre-shower for EMCal (Electromagnetic calorimeter)

## Slide 18: Sensor Design

## Slide 19: Segmentation as a pre-shower
# of PADs =32
# of PADs =4
Total # of PADs = 128
6.2 cm
6.2 cm
0.18cm
1.5cm

## Slide 20: Fine structure
PADs of Sensor
Bonding PADs
Bias Guardring
Floating Guardring
(3 layer structure)
Edge Rounding

## Slide 21: Process monitoring

## Slide 22: C–V simulation
Substrate specification
  (resistivity) = 6,9,12,18 kΩ∙cm
  thickness = 405μm
  orientation = <100>
Full depletion
  90V(6kΩ∙cm)
  60V(9kΩ∙cm)
  45V(12kΩ∙cm)
  30V(18kΩ∙cm)

## Slide 23: Test system

## Slide 24: Test electronics

## Slide 25: Actual test

## Slide 26: Measurement : Capacitance
Notes: (CV공식 쓰고 설명하기)
결론 : depletion thickness가 예상대로 형성되고 있다. Guard Ring 포함 면적보다 조금 더 deletion이 형성된다.(>>) 10%차이
Fully Depletion voltage도 강조할것 중요해!!!

## Slide 27: Measurement : Leakage current
< 1 A for whole sensor!

## Slide 28: Electric circuit test
We measured resistance between neighboring channels. Small fraction of them had short. Current yield ~ 30%. Statistics suggest the short is between metal traces. Stringent metal etching process is expected to cure the problem.
30 
30 
1.5 cm
1.5 cm
3 cm
1
2
3
4
6 cm

## Slide 29: Ending comment
Challenges are there…, but bright future is ahead!