## Slide 1: Activation cross section measurements of short-lived reaction products on Mo, Ge and Au isotopes induced by 16 to 20 MeV neutrons
Z. Bari1, M. Diakaki1, M.Kokkoris1, R.Vlastou1, V. Michalopoulou1, C. L. Fontana2, E. Mafucci2, C. Bonaldi2, W. Geerts2, S. Oberstedt2, G. Gkatis2
1National Technical University of Athens
2European Commission Joint Research Centre (JRC), Retieseweg 111, Geel, 2440, Belgium

## Slide 2
Motivation
Accurate cross-section measurements for short-lived reaction products are vital for:
  Nuclear Astrophysics: understanding of processes such as slow and rapid neutron capture
  Fundamental Physics: constrains statistical models
  Applications: Critical for nuclear waste management, innovative fuel cycles, etc
The Experimental Challenge : The rapid decay of the reaction products and interference from neighboring isotopes
The Solution : 1. Fast Pneumatic "Rabbit" System
2. Highly Enriched Targets (of Mo, Ge and Au)
But why are these materials important?
Mo: Important for producing the most widely known medical isotopes, 99mTc, and as structural material for advanced nuclear reactors
Ge: Many applications in high-frequency electronics, fiber-optic communication and space-grade solar panels.
Au: Global dosimetry standards – reference reaction
The investigation of neutron-induced reaction cross sections on short-lived nuclei suffers from severe experimental limitations

## Slide 3: Existing experimental data

## Slide 4: The MONNET Facility at JRC-Geel
The facility operates under the Joint Research Centre's nuclear research center in Geel, Belgium
Neutron Source: A high-intensity, quasi-monoenergetic fast neutron facility (up to 24 MeV)
Accelerator: Van De Graff 3.5 MV accelerator
Beam Flexibility: Continuous and pulsed proton, deuteron, and helium ion beams
Applications: Nuclear data research for activation, fission and scattering experiments, complementing the GELINA time-of-flight facility

## Slide 5: Experimental Set-up
The Pneumatic “Rabbit” System: High-speed transport system (FESTO)
Flux Monitor: A De Pangher Proportional Long Counter (PLC) equipped with a 10 Hz pulser to continuously monitor neutron flux and system dead-time
HPGe Detector: HPGe detector of 48.2% relative efficiency
Shielding: consisting of Pb, Cu and a custom-made wall of Pb and concrete

## Slide 6: High-Precision transfer time
Timing Calculation Signals:
Signal 1 (Start): The accelerator pulse (DAQ Ch3) marking the end of the irradiation (NEPTUNE).
Signal 2 (Stop): The Rabbit optical sensor (DAQ Ch1) detecting the sample's arrival inside the lead castle.
ttranfer

## Slide 7: Methodology: Neutron Activation Analysis
Irradiation
Target | Enrichment (%) | Reaction | Half-life | Number of cycles
97Mo* | 98.2 | 97Mo(n,p)97mNb | 58.7 s | 2-12
98Mo* | 98.67 | 98Mo(n,p)98g+mNb | 2.86 s | 15
74Ge* | 95.51 | 74Ge(n,p)74Ga | 8.12 min | 1-2
76Ge* | 88.46 | 76Ge(n,2n)75mGe | 47.7 s | 2-12
197Au | 100 | 197Au(n,3n)195mAu | 30.5 s | 2-12
 |  | 197Au(n,n')197mAu | 7.86 s | 2-12
27Al | 100 | 27Al(n,p)27Mg | 9.58 min | 1
* Provided by the CERN n_TOF collaboration
Irradiation
Transfer
Measurement
Neutron Production: Quasi-monoenergetic fast neutrons produced via the 3H(d,n)4He reaction (En = 16 to 20 MeV)
Configuration: Sequential irradiation (Al foil & targets) at the exact same position (~9 cm away from T target)
7
Cyclic Activation: Multiple irradiation-measurement cycles applied to the targets to build sufficient counting statistics for short-lived products

## Slide 8: Cross Section
Cross Section formula:
ΝT: Total number of target nuclei
Νγ: Integral of the γ-ray peak of interest
Ιγ: Characteristic γ-ray intensity
ε: Absolute efficiency of the HPGe detector
Φ: Neutron flux is derived from the reference reaction 27Al(n,p)27Mg.
Normalization: The integrated flux is normalized to the target’s beam current and specific irradiation time to yield the neutron flux for the target samples.
Correction factors:
F: γ-ray self-absorption within the sample, calculated via MCNP6.0 simulations.
D: Decay during the transfer and measurement intervals.
fc: Decay during irradiation and neutron beam instabilities (integrated via the De Pangher monitor).
Al irradiation at 18.2 MeV,
tirr = 900 sec

## Slide 9: HPGe detector & Efficiency Measurement
Detector Specifications:
Model: Canberra HPGe GR4520 (48.2% relative efficiency).
Calibration Sources: 152Eu and 137Cs point sources
Efficiency & Geometry Corrections:
Distance Mapping: Measured at 13, 9, 5, 4, 3, 2, and 1.35 cm to study True Coincidence Summing (TCS) effects.
Current Methodology: Efficiency at 1.35 cm derived by applying a geometrical scaling factor to the 13 cm reference position.
TCS Corrections: Ongoing MCNP-CP simulations to correct for cascading γ-rays.

## Slide 10: Typical spectrum
97m1Nb
Eγ = 743.36 keV
HPGe spectrum from the irradiation of 97Mo at En = 16.1 MeV

## Slide 11: Background measurements
Overnight
Immediately After
During Irradiation
tmeas = 15 min
tmeas = 30 min
tmeas = 12.5 h

## Slide 12: Germanium Target Corrections: Detector Crystal Interference
The Interference Problem
Target Reaction: 76Ge(n,2n)75mGe
Detector Composition: The HPGe detector crystal itself is composed of Ge
Internal Activation: Scattered fast neutrons induce the exact same reaction internally within the detector crystal
Parasitic Channel: Additional internal interference occurs via the 74Ge(n,γ)75mGe and 76Ge(n,2n)75mGe reaction
Correction Impact: ~ 4 % subtraction from the total integrated peak at En = 16.1 MeV
For the 74Ge(n,p)74Ga reaction the contamination was negligible
En = 16.1 MeV
70Ge,
20.5 %
72Ge,
27.4 %
73Ge,
7.76 %
74Ge,
36.5 %
76Ge,
7.75 %

## Slide 13: Preliminary Results: Ge reactions
t1/2 = 8.12 min
t1/2 = 47.7s

## Slide 14: Results: Au reactions
t1/2 = 7.78 s
t1/2 = 30.5 s

## Slide 15: Preliminary Results: Mo reactions
t1/2 = 58.7 s
t1/2 = 2.86 s

## Slide 16: Conclusions & Future Perspectives
Cross-section measurements of the short-lived reaction products for isotopes of Mo, Ge and Au.
A minimum measurable half-life threshold has been successfully established for this specific setup.
The reaction 98Mo(n,p)98g+mNb and 197Au(n,3n)195mAu has been measured for the first time
Data analysis for additional energies measured during this experimental campaign is currently ongoing, alongside MCNP simulations for TCS corrections
Measure additional neutron energies across the 16–20 MeV range, with a specific focus on 98Mo
Investigate the remaining highly enriched Mo isotopes (92Mo, 100Mo) and other materials

## Slide 17: Thank you for your attention!!

## Slide 18: DAQ System & Configuration
Source: JRC own elaboration
Hardware & Software Setup:
DAQ Software: ABCD1
Signal Digitizers: Two SP Devices ADQ214 (50 MHz sampling rate)
Timing & Synchronization: External 10 MHz reference clock with synchronized timestamps across both digitizers
Acquisition Channels:
Ch0: HPGe detector
Ch1: Rabbit optical sensor (detects sample arrival at the detector)
Ch2 (Flux & Dead-Time): De Pangher PLC neutron flux monitor coupled with a 10 Hz pulser
Ch3 (Irradiation): NEPTUNE pulse (drives/monitors the accelerator irradiation)
1https://github.com/ec-jrc/abcd