## Slide 1: Master Thesis at SMI
Daniel Kloppenburg
Setup Improvements And Analysis
GRASIAN:

## Slide 2: Gravitational Quantum States (GQS):
Ref.: C. Killian, GRASIAN: towards the first demonstration of gravitational quantum states of atoms with a cryogenic hydrogen beam, Eur. Phys. J. D (2023) 77:50
Quantum Reflection:
low energies
light neutral particles
rapidly changing potential
GQS:
quantum bound states
confined by mirror potential & gravitational potential
Ariy-function solution of Schrödinger eq.
Setup analysis
GRASIAN
Ref.: C. Killian et al., GRASIAN: towards the first demonstration of gravitational quantum states of atoms with a cryogenic hydrogen beam, Eur. Phys. J. D (2023) 77:50

## Slide 3: Gravitational Quantum States (GQS):
GRASIAN
Setup analysis
Ref.: C. Killian, GRASIAN: shaping and characterization of the cold hydrogen and deuterium beams for the forthcoming first demonstration of gravitational quantum states of atoms, Eur. Phys. J. D (2024) 78:132
Ref.: C. Killian et al., GRASIAN: shaping and characterization of the cold hydrogen and deuterium beams for the forthcoming first demonstration of gravitational quantum states of atoms, Eur. Phys. J. D (2024) 78:132

## Slide 4: GQS of ultra cold Neutrons (2002):
GRASIAN
Ref.: V. Nesvizhevsky, Quantum states of
neutrons in the Earth’s gravitational field. Nature 415, 297 (2002).
Setup analysis
Ref.: V. Nesvizhevsky et al., Quantum states of neutrons in the Earth’s gravitational field. Nature 415, 297 (2002).

## Slide 5: GQS of H & Setup:
Ultra cold H-Atoms are needed:
formation time τ ~ 0,5 ms
vH < 100
ideal aim: vH ~ 30
GRASIAN
Setup analysis
DUST
Ref.: F. Duringer, M. Simon, C. Killian

## Slide 6: Cleanroom
GRASIAN
Setup analysis

## Slide 7: Cleanroom
GRASIAN
Setup analysis

## Slide 8: GQS of H & Setup:
GRASIAN
Setup analysis
DUST
Ref.: F. Duringer, M. Simon, C. Killian

## Slide 9: GQS of H & Setup:
GRASIAN
Setup analysis
DUST
VIBRATIONS
Ref.: F. Duringer, M. Simon, C. Killian

## Slide 10: Geophone
Setup analysis
GRASIAN
Ref.: Klapez et al., Processing and Communication Delays in EWS: On the Performance of the Earthcloud Prototype. Wireless Communications and Mobile Computing. 2019. 1-13
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276
Klapez et al., Processing and Communication Delays in EWS: On the Performance of the Earthcloud Prototype. Wireless Communications and Mobile Computing. 2019. 1-13

## Slide 11: Geophone
Setup analysis
GRASIAN
f is frequency
f0 resonance frequency
Q0 is the quality factor
Z12 is scaling factor related to impedance
Measure V(t) of Geophone
Fourier Transform V(t) → V(f)
Calculate displacement d(f)
Ref.: G. Koolstra, Trapping a Single Electron on Superfluid Helium Using a Superconducting Resonator, 2019
Inverse Fourier Transform d(f) → d(t)
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 12: Geophone Calibration
Setup analysis
GRASIAN
Ref.: G. Koolstra, Trapping a Single Electron on Superfluid Helium Using a Superconducting Resonator, 2019
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 13: Geophone Calibration
Setup analysis
GRASIAN
Frequency response ratio ρ(f):
Ref.: G. Koolstra, Trapping a Single Electron on Superfluid Helium Using a Superconducting Resonator, 2019
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 14: Geophone Calibration
Setup analysis
GRASIAN
Frequency response ratio ρ(f):
Ref.: Frank van Kann, John Winterflood; Simple method for absolute calibration of geophones, seismometers, and other inertial vibration sensors. Rev. Sci. Instrum. 1 March 2005; 76
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276
Frank van Kann, John Winterflood; Simple method for absolute calibration of geophones, seismometers, and other inertial vibration sensors. Rev. Sci. Instrum. 1 March 2005; 76

## Slide 15: Geophone
Setup analysis
GRASIAN
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 16: Geophone
Setup analysis
GRASIAN
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 17: Geophone DAQ
Setup analysis
GRASIAN
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 18: Geophone DAQ
Setup analysis
GRASIAN
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 19: Geophone DAQ
Setup analysis
GRASIAN
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 20: Geophone
Setup analysis
GRASIAN
Measure V(t) of Geophone
Fourier Transform V(t) → V(f)
Calculate displacement d(f)
Ref.: G. Koolstra, Trapping a Single Electron on Superfluid Helium Using a Superconducting Resonator, 2019
Inverse Fourier Transform d(f) → d(t)
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 21: Geophone
Setup analysis
GRASIAN
Measure V(t) of Geophone
Fourier Transform V(t) → V(f)
Calculate displacement d(f)
Inverse Fourier Transform d(f) → d(t)
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 22: Geophone
Setup analysis
GRASIAN
Measure V(t) of Geophone
Fourier Transform V(t) → V(f)
Calculate displacement d(f)
Inverse Fourier Transform d(f) → d(t)
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 23: Geophone
Setup analysis
GRASIAN
Measure V(t) of Geophone
Fourier Transform V(t) → V(f)
Calculate displacement d(f)
Inverse Fourier Transform d(f) → d(t)
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 24: Geophone
Setup analysis
GRASIAN
Measure V(t) of Geophone
Fourier Transform V(t) → V(f)
Calculate displacement d(f)
Ref.: G. Koolstra, Trapping a Single Electron on Superfluid Helium Using a Superconducting Resonator, 2019
Inverse Fourier Transform d(f) → d(t)
Question:
Are the V(t) peaks too sharp in time domain?
Is the numpy fft reliable?
Are the displacement values d(t) reliable?
Solution:
Verification measurement is needed
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 25: Geophone
Setup analysis
GRASIAN
Measure V(t) of Geophone
Fourier Transform V(t) → V(f)
Calculate displacement d(f)
Ref.: G. Koolstra, Trapping a Single Electron on Superfluid Helium Using a Superconducting Resonator, 2019
Inverse Fourier Transform d(f) → d(t)
Measure d(t)
Fourier Transform d(t) → d(f)
New Approach:
Benefits:
Absolut measurement of d(t)
Expect no rapid change in d(t) … FFT more reliable
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 26: SICK OD5000
GRASIAN
Setup analysis
Laser Distance measurement:
measuring frequency of up to 80 kHz
Linearity: ± 1 µm
Measuring range: 14 mm - 16 mm
Ref.: www.sick.com

## Slide 27: SICK OD5000
GRASIAN
Setup analysis
Laser Distance measurement:
measuring frequency of up to 80 kHz
Linearity: ± 1 µm
Measuring range: 14 mm - 16 mm
Ref.: www.sick.com
Question:
What’s the best way to mount this to avoid motion in the micrometer range?
Solution:
Concrete is not possible… the ceiling is not stable enough
Lead / Sand construction?
Notes: What’s the best way to mount this to avoid motion in the micrometer range? 🫠

## Slide 28: GQS of H & Setup:
GRASIAN
Setup analysis
DUST
VIBRATIONS
Ref.: F. Duringer, M. Simon, C. Killian

## Slide 29: GQS of H & Setup:
GRASIAN
Setup analysis
DUST
VIBRATIONS
SLIT POSITIONS
Slit 1: 500 µm
Slit 2: 1 mm
Slit 3: 1 mm
Ref.: F. Duringer, M. Simon, C. Killian

## Slide 30: Slit Position
Setup analysis
GRASIAN
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 31: Slit Position
Setup analysis
GRASIAN
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 32: Slit Position
Setup analysis
GRASIAN
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 33: Slit Position
Setup analysis
GRASIAN
Ref.: C. Killian et al., GRASIAN: shaping and characterization of the cold hydrogen and deuterium beams for the forthcoming first demonstration of gravitational quantum states of atoms, Eur. Phys. J. D (2024) 78:132
Notes: https://www.digikey.jp/ja/maker/projects/diy-extremely-sensitive-geophone-sensor-for-earthquake-detection/100df39edf7b4230b26846aacc94fe23
https://www.researchgate.net/figure/Inside-an-Earthcloud-Geophone_fig3_332001276

## Slide 34: Conclusion:
Präsentation
GRASIAN
Setup analysis
Aim:
Finalize vibration measurement
Verification of vibration measurement
Find best suited slit position and verify
Challenges:
Find best mount with view vibrations
Ref.: F. Duringer, M. Simon, C. Killian
Notes: Precise error estimation for velocity distribution. Not only chopper opening also Vibra-
tion at slits and Temperature dependence.

## Slide 35: Geophone Verification OD5000
GRASIAN
SETUP Analysis

## Slide 36: Geophone Verification OD5000
GRASIAN
SETUP Analysis
Lead blocks
Sand bucket
Rubber mat