## Slide 1
High-dimensional phase space reconstruction using generative modeling of beam distributions
AAC - July 2026
Speaker: Juan Pablo Gonzalez-Aguilera1
Co-authors: L. Boulton2, D. Kennedy1, Y. Ye1, S. Kim3, A. Edelen1, R. Roussel1
1SLAC National Accelerator Laboratory, USA
2Deutsches Elektronen-Synchrotron DESY, Germany
3Pohang Accelerator Laboratory, Korea

## Slide 2: Outline
Introduction
  phase space measurements
Generative phase space reconstruction (GPSR)
  generative modeling of beam distributions
  differentiable particle tracking simulations
  4D GPSR pipeline
  extension to 6D
Implementations
  Argonne Wakefield Accelerator (AWA)
    4D GPSR flat/magnetized beams
    6D GPSR beams affected by CSR
  PAL-XFEL
    6D GPSR without TDC
  SLAC LCLS-II: automatic measurements
  SLAC FACET-II: two-bunch
Conclusions and Future Work

## Slide 3: Manipulating beams in phase space
Detailed measurement of beam phase space distribution is important for Accelerator R&D!
Joshi, C., et al (2018)
FACET-II

## Slide 4: Measuring phase space distributions
Cathey, Brandon, et al. PRL 2018
6D phase space measurement at SNS (ORNL)
5D tomography at FLASHForward (DESY)
Jaster-Merz, S., et al PRR 2025
reconstruction point
observations
reconstruction point
observations
Tens of hours of beamtime for measurements!
~5 million measurements -> ~36h
~1000 measurements-> ~28h

## Slide 5: Measuring phase space distributions
Cathey, Brandon, et al. PRL 2018
6D phase space measurement at SNS (ORNL)
5D tomography at FLASHForward (DESY)
Jaster-Merz, S., et al PRR 2025
reconstruction point
observations
reconstruction point
observations
Costs of detailed beam representations:
2D image
1D projection
Information compression

## Slide 6: Phase space fitting as an inverse problem

## Slide 7: Beam generator
How do we generate arbitrary 6D phase-space distributions in a flexible and learnable way?
Normal distribution
First order matrix transformation
Nonlinear transformation
Arbitrary transformation

## Slide 8: Beam generator
How do we generate arbitrary 6D phase-space distributions in a flexible and learnable way?
Fully connected NN with ~ 1k parameters

## Slide 9: Phase space fitting as an inverse problem

## Slide 10: Challenge: curse of dimensionality
challenge:
need to learn ~1K parameters of the beam generator
solution:
gradient based optimization
new challenge:
compute high-dimensional gradients

## Slide 11: Differentiable simulations
Automatic differentiation enables cheap gradient evaluation
Enables gradients from screen pixels wrt beam distribution parameters
Differentiable particle tracking simulations
Automatic differentiation
R. Roussel, et al. LINAC`24
J.P. Gonzalez-Aguilera, et al. IPAC’23
J. Kaiser, et al. PRAB 2024

## Slide 12: Generative phase space reconstruction (GPSR)
optimization
step
: experimental observations
reconstructed
beam distribution
experimental data
Loss
differentiable simulations
rec. point
measure of discrepancy between simulated and experimental observations
generate 6D beam distribution at rec. point
: simulated observations
scanning quad
screen
scanning quad
screen
R. Roussel, et al. PRL (2023)

## Slide 13: 4D transverse phase space GPSR
Animation by An Le

## Slide 14: 4D transverse phase space GPSR
Animation by An Le
Detailed 4D transverse phase space reconstruction
  a quadrupole and a screen
  7 quad strengths -> 7 screen images
  ~5 minutes of data taking and optimization

## Slide 15: Extension to 6D
screen
quad
Limitation:
Quadrupoles mostly project coordinates on x-y screen
No () information at screens

## Slide 16: Longitudinal diagnostics
TDC projects on screen axis
Dipole projects on screen axis
TDC
screen

## Slide 17: 6D GPSR data
screen 1, TDC off
screen 1, TDC on
screen 2, TDC off
screen 2, TDC on

## Slide 18: 6D GPSR pipeline: same pipeline, more diagnostics
optimization
step
: experimental observations
reconstructed
beam distribution
experimental data
Loss
differentiable simulations
measure of discrepancy between simulated and experimental observations
generate 6D beam distribution at rec. point
: simulated observations
R. Roussel, JP. Gonzalez-Aguilera, et al. PRAB (2024)

## Slide 19: 6D GPSR at the Argonne Wakefield Accelerator
Temporal structure
likely from laser
homogenization optics
Magnetization due
to solenoid focusing
R. Roussel, JP. Gonzalez-Aguilera, et al. PRAB (2024)

## Slide 20: 6D GPSR at the Argonne Wakefield Accelerator
Temporal structure
likely from laser
homogenization optics
Magnetization due
to solenoid focusing
6D GPSR
Resolves precise features
20 measurements
20 min of beam time
No pre-training needed
R. Roussel, JP. Gonzalez-Aguilera, et al. PRAB (2024)

## Slide 21: Previous implementations and applications
4D TPS GPSR of flat and magnetized beams at AWA
Seongyeol Kim, et al PRAB 2024
6D GPSR implementation and validation at PAL-XFEL
Seongyeol Kim, et al Sci. Rep 2025
6D GPSR of beams affected by CSR at AWA
J.P. Gonzalez Aguilera. Doctoral Dissertation 2026

## Slide 22: 6D GPSR of beam affected by CSR (AWA)
J.P. Gonzalez Aguilera. Doctoral Dissertation 2026
Detailed structure and metrics of PS slices
with only 36 screen measurements

## Slide 23: Automated GPSR at LCLS-II
Goal: Develop a workflow that autonomously operates DIAG0 to monitor the 6D phase space distribution over the span of multiple hours (~5 min. per measurement)
TDC
(1) Beam steering
(multiple locations)
(2) Beam focusing
2x screens
(3) TCAV phasing
(4) quad scans
TCAV ON/OFF, 2x screens
R. Roussel et. al. 2026 arXiv:2604.20125
reconstruction point
beam profile measurements

## Slide 24: Automated GPSR at LCLS-II
Automated tuning and 6D phase space reconstruction  ~5 minutes online
Continuous estimate of 6D phase space
Started exploring tuning directly on reconstruction
R. Roussel et. al. 2026 arXiv:2604.20125

## Slide 25: GPSR at FACET-II
challenges:
single and two-bunch operation
beam dynamics at experimental area
TDC
bend
quad
Experimental Area
injector
GPSR at injector (present)
GPSR at exp. area (future)

## Slide 26: GPSR at FACET-II injector
Reconstruction point
TDC
scanning quad
screen 1
screen 2
scanning quad strength 
TDC OFF
TDC ON
TDC OFF
TDC ON
scanning quad strength 
beam profile measurements at screen 1
beam profile measurements at screen 2

## Slide 27: FACET-II single bunch
screen 1
TDC off
screen 2
TDC off
screen 1
TDC on
screen 2
TDC on

## Slide 28: FACET-II two bunch (prel.)
screen 1
TDC off
screen 2
TDC off
screen 1
TDC on
screen 2
TDC on
witness
drive

## Slide 29: Summary
GPSR is precise and fast:
  4D ~5 min
  6D ~ 20 min
  no pre-training
  not a virtual diagnostic
Efficiency relies on:
  beam generator
  differentiable simulations (only for diagnostic beamline)
Flexible framework for implementation in different facilities:
  different available diagnostics (with/without TDC, screen placements)
  various applications (flat/magnetized beams, CSR, two-bunch)
Present/future:
  integration with automatic workflows at FACET-II and LCLS-II
  online 6D phase space tuning
Flat/magnetized beams at AWA
Seongyeol Kim, et al PRAB 2024
6D GPSR w/o TDC at PAL-XFEL
Seongyeol Kim, et al Sci. Rep 2025
CSR-affected beams at AWA
JP Gonzalez-Aguilera, Dissertation 2026
Automated online GPSR at LCLS-II
Two-bunch GPSR at FACET-II
R. Roussel, et. al. 2026 arXiv:2604.20125

## Slide 30: Acknowledgements
SLAC
Dylan Kennedy
Yiheng Ye
Auralee Edelen
Ryan Roussel
FACET-II group and operators
LCLS-II operators
Argonne
Alex Ody
John Power
Gwanghui Ha
Philippe Piot
AWA group and operators
Other institutions
Seongyeol Kim (PAL, Korea)
Lewis Boulton (DESY, Germany)

## Slide 31: Example: quadrupole scan
optimization
step
:
reconstructed
beam distribution
generate beam distribution at reconstruction point
experimental data
Loss
diagnostics beamline model
parametrized by
scanning quad
screen
:
scanning quad
screen

## Slide 32: Phase space fitting as an inverse problem
optimization
step
: experimental observations
reconstructed
beam distribution
experimental data
Loss
diagnostics beamline simulations
rec. point
measure of discrepancy between simulated and experimental observations
generate 6D beam distribution at rec. point
: simulated observations
scanning quad
screen
scanning quad
screen
parametrized by

## Slide 33: Phase space fitting as an inverse problem
optimization
step
: experimental observations
reconstructed
beam distribution
experimental data
Loss
diagnostics beamline simulations
rec. point
measure of discrepancy between simulated and experimental observations
generate 6D beam distribution at rec. point
: simulated observations
scanning quad
screen
scanning quad
screen

## Slide 34: Longitudinal diagnostics
dipole
TDC
screen1
screen2
lower
higher
TDC projects on screen axis
Dipole projects on screen axis
TDC
screen
quad