## Slide 1
2026 Advanced Accelerator Concepts , July 27-31, Los Angeles, CA
Single-Shot Reconstruction of Electron Beam Longitudinal Phase Space
Yong Ma
University of Michigan

## Slide 2
M.J.V. Streeter, F. Albert, N. Bourgeois, S. Cipiccia, J.M. Cole, S.J.D. Dann, K. Falk, E. Gerstmayr, I.Gallardo. Gonzalez, A. Higginbotham, A.E. Hussein, D.A. Jaroszynski, A. S. Joglekar, B. Kettle, K. Krushelnick, N. Lemos, N.C. Lopes, C. Lumsden, O. Lundh, S.P.D. Mangles, S. T. McLoughlin, K. Miller, W. Mori, Z. Najmudin, Q. Qian, P.P. Rajeev, J. P. Palastro, M. Shahzad, M. Smid, D. Seipt, R. Spesyvtsev, D.R. Symes, G. Vieux, L. Willingale, J. C. Wood and A.G.R. Thomas
Collaborators

## Slide 3
Work supported by:
US National Science Foundation under grant No. 1804463, 2126181
UK STFC core grants ST/P002056/1 (Cockcroft Institute), ST/P000835/1 (John Adams Institute),
United States Department of Energy Grant No. DE- NA0002372, DE-SC0022109, DE-SC0016804.
Partially supported by:
EuPRAXIA (Grant No. 653782),
LASERLAB-EUROPE (Grant No. 654148),
UK EPSRC Grant No. EP/J018171/1, EP/J500094/1 and EP/N028694/1),
Royal Society URF-R1221874,
EuCARD-2 (Grant No. 312453),
Swedish Research Council (VR 2019-04784, 2024-05698)
the Knut and Alice Wallenberg Foundation (KAW 2019.0318, 2020.0111)
the Extreme Light Infrastructure (ELI) European Project,
Natural Science and Engineering Research Council of Canada,
FCT Portugal under the contract POCI/FIS/59574/2004
US Department of Energy by Lawrence Livermore National Laboratory under the contract DE-AC52- 07NA27344; Lawrence Livermore National Security, LLC; DOE Early Career Research Prog. SCW1575/1.
US Department of Energy DE-NA0004144 and DE-SC0021057
Acknowledgment

## Slide 4: Laser / plasma wakefield acceleration
High acceleration gradients ~100 GeV/m
1000X than conventional RF accelerators
~10 GeV, um source size, fs pulse duration, kA current.
LWFA and PWFA are the most promising and successful advanced acceleration concepts
Driver:
Laser or particle beam
Plasma
Electron
beam
Lu, W., et al., Phys. Rev. ST Accel. Beams (2007)
T. Tajima and J. M. Dawson, Phys. Rev. Lett. 43, 267 (1979)
P. Chen et al., Phys. Rev. Lett. 54, 693 (1985)

## Slide 5: Applications
Secondary radiation sources:
    Betatron X-ray,
    Inverse Compton scattering,
    XUV (Photon acceleration),
    Mid-IR,
    ThZ (CTR),
    Free electron laser
    Synchrotron source injector
Secondary particle sources:
    Positrons
    Muons
Strong-field QED
    Thomson scattering
    Breit-Wheeler pair production
Future TeV collider
Applications — Beam properties — Diagnostics

## Slide 6: Diagnostics
Phase space
Single-shot
Charge
Energy
Energy spread
Pulse duration
Divergence
Source size
Peak current
Emittance
etc.

## Slide 7: Phase space diagnostics
3D Real space
Transverse phase space
M. LaBerge et al., Nature Photonics 18, 952–959 (2024)
K. Huang et al., Light: Science & Applications 13:84 (2024)
Coherent Transition Radiation & ElectroOptical sampling
CTR for temporal characterization
Pepper-pot mask
S. Fritzler et al., PRL. 92, 165006 (2004)
C. M. S. Sears et al., PRST-AB 13, 092803 (2010)
E. Brunetti et al., PRL 105, 215007 (2010)
Single shot 4D phase space
Betatron radiation
Inverse Compton scattering
Multi-shot
R. Weingartner, PRST-AB 15, 111302 (2012)
S. K. Barber, PRL. 119, 104801 (2017)
V. Shpakov, PRAB 24, 051301 (2021)
C. A. Lindstrøm, PRAB 23, 052802 (2020)
C. A. Lindstrøm, Nat. Comms 15, 6097 (2024)
G. R. Plateau, PRL 109, 064802 (2012)
S. Kneip, PRST-AB15, 021302 (2012)
A. Curcio, PRAB 20, 012801 (2017)
W. P. Leemans, PRL 77, 4182 (1996)
G. Golovin,Sci. Rep 6, 24622 (2016)
J. M. Kr¨amer, Sci. Rep 8, 1398 (2018)
Quadrupole scan
Indirect Single Shot X-Ray Spectroscopy
J. van Tilborg et al., PRL. 96, 014801 (2006).
Y. Glinec, et al., PRL. 98, 194801 (2007)
O. Lundh et al., Nat. Phys. 7, 219 (2011).
O. Lundh et al., PRL. 110, 065005 (2013).
See also:
Downer et al.: Diagnostics for plasma-based electron accelerators,
Rev. Mod. Phys., 90. 3, 2018.

## Slide 8: Longitudinal phase space f(z, pz)
Free electron lasers using LWFA / PWFA
W. T. Wang et al., Nature 595, 516–520 (2021)
First free-electron lasing with LWFA
@SIOM
First seeded FEL
M. Labat, et al., Nat. Photon. 17, 150–156. (2023)
M. Labat, et al., PRL. 136, 245001 (2026) (high-gain)
@HZDR, DRACO laser
High Reliability, high-gain FEL
S. K. Barber et al., Phys. Rev. Lett. 135, 055001 (2025).
@LBNL BELLA, HTU
R. Pompili et al., Nature 605, 659 (2022).
First free-electron lasing with PWFA
Galletti, M, et al., Phys. Rev. Lett. 129, 234801. (2022)
@ SPARC_LAB, INFN, Italy
SASE FEL
Seeded FEL
LWFA
PWFA
New results in Japan
Z. Jin et al, Phys. Rev. Res. 8, 013207 (2026)
@SPring-8
There are only ~10 major RF accelerator based FEL facilities worldwide:
LCLS/LCLS-II, European XFEL, SACLA, SwissFEL, PAL-XFEL, Shanghai Soft X-ray FEL, FLASH, FERMI, DCLS, etc.

## Slide 9: Longitudinal phase space f(z, pz)
Free electron lasers using LWFA / PWFA
FELs | FEL wavelength (nm) | Electron energy (MeV) | Electron energy spread
SIOM | 27 | 490 | 0.2-1.2%
HZDR | 270 | 188 | 6.3%
LBNL | 420 | 100 | 2%
Spring-8 | 43 | 400 | 0.7%
INFN | 830 | 94 | 0.3%
Percentage level relative energy spread

## Slide 10: Longitudinal phase space f(z, pz)
Electrons with energy too different from nominal slip off the FEL resonance and do not contribute to lasing
FEL gain reduced substantially when
Slice energy spread for FEL
FEL power VS slice energy spread
Maier et al., PRX 2, 031019 (2012)
: Pierce parameter,
Relativistic electrons,
High-gain FEL,
~0.1%

## Slide 11: Slice energy spread
Longitudinal phase space (PIC simulation)
Chirp
Correlated energy spread
Slice (uncorrelated) energy spread
A typical electron spectrum
A. Hussein et al., Scientific Reports (2019) 9:3249;

## Slide 12: De-chirping
Longitudinal phase-space rotation
Plasma dechirper
Döpp et al., PRL 121, 074802 (2018)
S. Jalas et al., PRL 126, 104801 (2021)
Y. P. Wu, et al., PRL 122, 204804 (2019)
Longitudinal density tailoring
Self-wake of the beam (Linac source)
RF cavity dechirper
P. Winkler, et al., Nature 640, 907 (2025).
LWFA source, magnet chicane stretcher, RF dechirper

## Slide 13: Longitudinal phase space
There is so far no direct measurement of longitudinal phase space in LWFA
C. Lin et al., Phys. Rev. Lett. 108, 094801 (2012)
Indirect slice energy spread measurement using CTR
Density modulation & small slice energy spread —> CTR enhancement
Fitting upper limit: 0.5% slice energy spread

## Slide 14: Temporal characterization
Interaction with varying fields, e.g., RF field, THz, etc.
Temporal to spatial, and energy
Electron bunch

## Slide 15: Temporal characterization
Streak camera
~mm
ps resolution
X-band RF deflector
100s um
~few - 100s fs resolution
~um
Sub-fs resolution
PHz
800 nm laser
Laser deflector
Laser
Electron beam
Interaction with varying fields, e.g., RF field, THz, etc.
GHz
THz

## Slide 16: Laser deflector
Inherent (passive) deflector in LWFA
The LWFA driver is also the deflector
Active deflector in LWFA / PWFA
The wakefield driver can be either a particle beam or a laser pulse;
Independent laser pulse as the deflector
The reconstruction method / algorithm is the same for all cases.
Direct laser-electron interaction in vacuum
Requires the violation of the assumptions of the Lawson-Woodward theorem

## Slide 17: Inherent laser deflector in LWFA
Longitudinal temporal profile:
    pulse duration, beam current
Longitudinal phase space:
    chirp, slice energy spread
Potentially 6D phase space reconstruction in single-shot
Y. Ma et al., Phys. Rev. X15, 031062 (2025)
C.J. Zhang et al., PRAB 19, 062802 (2016)
Temporal profile reconstruction with a laser deflector

## Slide 18: A typical LWFA setup
E: 6.3 ± 0.6J
Pulse duration: 45±4 fs
Spot size: 40(±2) x 50(±2) um
I0 = 4.6(±0.8) x1018 W/cm2
a0 = 1.46 ± 0.12
Gemini TA3 at RAL, CLF (UK)
See also:
M. Streeter et al., PRAB 25, 101302 (2022) ;
A. Hussein et al., Scientific Reports (2019) 9:3249;
B. Kettle et al., PRL 123, 254801 (2019);
R. Spesyvtsev et al.,Proc. SPIE 11036 2019
All we need is an electron spectrometer which is available in all LWFA or PWFA experiments
Y. Ma et al., Phys. Rev. X15, 031062 (2025)

## Slide 19: “Herringbone”
Typical spectra without modulations
Fitted with theoretical model with some guessed parameters which can tell a lot!
Y. Ma et al., Phys. Rev. X15, 031062 (2025)

## Slide 20: Theoretical model
Laser deflector in plasmas: Coupled motion of electrons in plasma wakefields and oscillations in the laser fields
Hamiltonian in wake coordinates
Transverse
Driven oscillator in
laser phase coordinates
Steady state solutions
Laser
Transient solutions
Wakefield
General solutions
Laser
Wakefield
&
Y. Ma et al., Phys. Rev. X15, 031062 (2025)

## Slide 21: Theoretical model
Conservation of Hamiltonian (not explicitly time dependent)
Longitudinal
Longitudinal momentum modulation
(Can be measured in experiments)
Wakefield acceleration
Transverse modulation
Laser deflector in plasmas: Coupled motion of electrons in plasma wakefields and oscillations in the laser fields
Y. Ma et al., Phys. Rev. X15, 031062 (2025)

## Slide 22: Theoretical model
“Herringbone”
Angular energy spectrum
Steady-state trajectory
Y. Ma et al., Phys. Rev. X15, 031062 (2025)

## Slide 23: Spectral reconstruction
transient solutions represented by standard normal distributions N
2. Guessed parameters (all single value):
𝛄p (plasma density), 𝛼 (wake strength), a0 (laser intensity *) 𝞼pxt Transient momentum 𝞼xt Transient real space 𝛀 Phase 𝞼Δpz Slice energy spread
* (eta, Z are not independent parameter)
1. Extracted from measurement
Longitudinal energy distribution (chirp)
Temporal beam charge profile
Transverse momentum envelope (steady state)
Transverse spectral width (transient)
Y. Ma et al., Phys. Rev. X15, 031062 (2025); Physics of Plasmas (under review)

## Slide 24: Multi-parameter optimization
Each iteration:
20 Parents-> select 5 best children as new parents to pass genes
Goal:
experimental spectrum
Genes:
(With extracted longitudinal & transverse momentum and temporal charge profile)
Figure-of-merit:
Difference between “guessed spectrum” and experimental spectrum
Genetic algorithm
All genes converged, except for
Y. Ma et al., Phys. Rev. X15, 031062 (2025)

## Slide 25: Longitudinal phase space
Temporal profile
Transverse momentum
Longitudinal momentum
Experiment
Slice energy spread
Temporal profile
Transverse momentum
Longitudinal phase space
Fitting
Y. Ma et al., Phys. Rev. X15, 031062 (2025)
~10 MeV slice energy spread, ~1% relative energy spread

## Slide 26: PIC simulation
Ionization injection
at t = 110 ps
Y. Ma et al., Phys. Rev. X15, 031062 (2025)

## Slide 27: 6D Phase space
Fitting parameters:
vs
vs
Transverse real space
Transverse momentum space
Transverse phase space
Y. Ma et al., Phys. Rev. X15, 031062 (2025)

## Slide 28: Active Laser deflector
Direct laser-electron interaction in vacuum
Requires the violation of the assumptions of the Lawson-Woodward theorem
Active deflector in LWFA / PWFA
The wakefield driver can be either a particle beam or a laser pulse;
Independent laser pulse as the deflector
Y. Ma et al., Physics of Plasmas (under review)

## Slide 29: Active laser deflector in PWFA
Two-bunch setup
Driver:
  10GeV,
  0.1% energy spread,
  1.3 nC charge
Witness:
  10GeV,
  0.1% energy spread,
  0.1 nC charge
Deflector laser:
  a0 = 0.5 -1.
Two-beam separation: 65 um
  Witness in acceleration phase
  Plasma chirper (inspired by K. Swanson’s talk at AAC24)*
*K. Swanson et al., PRAB 29, 052802 (2026)
Y. Ma et al., Physics of Plasmas (under review)

## Slide 30: Active laser deflector in PWFA
Reconstruction of longitudinal phase space
Y. Ma et al., Physics of Plasmas (under review)

## Slide 31: Active laser deflector in vacuum
Direct laser-electron interaction in vacuum
Requires the violation of the assumptions of the Lawson-Woodward theorem
Net gain due to broken symmetry
Truncating laser pulse with plasma mirror
Y. Ma et al., Physics of Plasmas (under review)

## Slide 32: Active laser deflector in vacuum
Reconstruction of longitudinal phase space
Y. Ma et al., Physics of Plasmas (under review)

## Slide 33: Summary
A laser deflector in LWFA can retrieve electron’s longitudinal phase spaces distribution with ~fs temporal resolution
Measurements confirmed the predicted small slice energy spread, ~1% level, from an LWFA
Active laser deflector can be realized in vacuum and in LWFA/PWFA.
Thank you for your attention
Y. Ma et al., Phys. Rev. X 15, 031062 (2025)
Y. Ma et al., Physics of Plasmas (under review)