## Slide 1: The STAR Project: Status of the Commissioning of the Compton Light-Source Infrastructure in Southern Italy.
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA
Luigi Faillace
On behalf of the INFN-Unical STAR group

## Slide 2
2024
National PI
A. Ghigo
Since April 2025
National PI
Luigi Faillace
Local PI at Milano and LASA Lab
Alberto Bacci
STAR High-Energy Upgrade: Organization Schematics
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 3
TECH TRANSFER: FROM INFN TO UNIVERSITY OF CALABRIA (UNICAL)
PI: Prof. Raffaele Agostino
and local STAR Group
Frascati National Labs and Milano Unit & LASA Lab
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 4
10 m
30 m
STAR: the X-ray source
STAR Accelerator
Bunker
Towards
Experimental
Hutches
Modulator and Racks
area
Laser clean room
Low-Energy Line
(STAR – Phase 1)
High-Energy Line
(STAR HE Upgrade)
C-band RF power stations
IP chambers
S-band RF power
Station
UV photocathode laser
IR high-power laser (Amplitude)
Racks:
Magnet Power supplies
Personnel Safety System, ion pump controllers
LLRF Racks
STAR nominal parameters | HE-linac | LE-linac
Energy range [MeV] | 40-150 | 23-65
Rep. rate [Hz] | 100 | 
Bunch charge range [pC] | 100 – 500 | 
Normalized emittance (x,y) [µm] | 2.0 | 
Bunch energy spread [%] | 0.5 | 
Bunch length – rms [ps] | ≤ 5 | 
Bunch spot dimension at IP [µm] | 50 | 
Max photon energy [keV] | 350 | 70
Photon Flux | 10^9 ph/sec | 
H-switching dipole magnet
e-source
RF waveguide network/vacuum chambers
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 5
Low-Energy Line
(STAR – Phase 1)
High-Energy Line
(STAR HE Upgrade)
RF Gun (2.856 GHz)
pulsed high-brightness
electron beam source
(Radiabeam Technologies)
1x S-band Linac (2.856 GHz), constant gradient RF accelerating structure
(from Research Instruments)
2x C-band Linacs (5.712 GHz)
constant gradient RF accelerating structure
(from INFN-LNF)
RF Linac Layout
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 6
First accelerating block: the RF Gun, September 2016
The RF Gun system developed, delivered and installed by Radiabeam Technologies LLC is now operational.
STAR gun after final brazing
(SLAC, 2015)
STAR, installation September 2016
e-beam
UV laser
Solenoid for emittance compensation
RF tuning
STAR today
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 7
S-band
RF gun
S-band
Linac
C-band
Linacs
Compton
IP chambers
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 8
The Beam Dynamics (BD) group developed two main software tools ad hoc for STAR
The CONTROL ROOM SIMULATOR (operative) – to tune the LINAC behavior VS Simulations IT is a Graphical interface for the typical CS-knobs value as: CURRENTS [A] VS B [T] for SOLENOIDS, STEERINGS, DIPOLES Klystron Power [MW] VS [MV/m] for Gun, Cavities peak field STEPS [#] VS RF° for Phase shifter, Laser arrival time … … … Further: Virtual targets as primary diagnostic system BUT with the helps of BD parameters: energy-gain, beam-envelops, energy-spread and beam emittance.
GIOTTO on the EPICS STAR CS (not still operative; Work in progress) – a Genetic Optimization tool
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 9
The CONTROL ROOM simulator
ASTRA: the core simulator engine (Klaus Floettmann. DESY) with a very physical approach
FLAG-01
FLAG-02
Here Gun and S-band cavity up to 6 m as example We have the whole machine up to the IP
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 10
From the left: Quad A triplet; Steerers A and Dip A
Steerer C
Dip C
Dip B
Quad B triplet
Steerer B
Sol B
Sol A
Magnetic elements
2xDoglegs transport sections: effective filter for unwanted bremsstrahlung produced by dark current in the accelerating structures.
Mag type | Field/Grad | Nominal Current | Cooling* | QTY
Sol A | 3000 G | 144 A | WC | 1
Sol B | 1800 G | 110 A | WC | 1
Dip A | 0.8 T | 87 A | WC | 2
Dip B | 0.87 T | 90 A | WC | 1
Dip C | 0.65 T | 336 A | WC | 2
Quad A | 18 T/m | 47 A | WC | 6
Quad B | 9 T/m | 9 A | AC | 10
Steerer A | 70 G | 1.3 A | AC | 7
Steerer B | 45 G | 30 A | AC | 4
Steerer C | 38 G | 3 A | AC | 9
*WC and AC: water and air cooled respectively
Courtesy of A. Vannozzi
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 11
Beam Diagnostics
Type | LINAC (Star1) | LINAC upgrade (Star-HEL) | LE Line (Star1) | HE line (Star-HEL)
Beam Position Monitor | 2 | 1 | 5 | 4
Beam Current Monitor | 1 | - | 1 | 1
YAG screen | 3 | 2 | 4 | 4
Beam spectrometer |  |  | 1 | 1
Libera BPM processing module (Instrumentation Technology)
The system uses 12 Beam Position Monitors (BPMs) with strip-line geometry
Beam charge is measured with integrating current transformers (ICTs) and fast current transformers (FCTs), plus external readout electronics
Beam size and profile in the linac are measured with Ce:YAG screens (cerium doped yttrium aluminium garnet crystal). The beam is imaged via a 45° in-vacuum mirror to a high-resolution Basler camera.
Two diagnostic chambers are installed downstream the H-shaper dipole in the high and low energy line.
ICT
BPM
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 12
Control room
Before After
May 2025
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 13
STAR Phoebus display for the LLRF subsystem of the three Klystron referred as K1 (S-band), K2 and K3 (C-band).
EPICS (Experimental Physics and Industrial Control System) framework: software infrastructure for building distributed control systems.
Handling all subsystems: LLRF, vacuum, magnets, BPMs, cameras, etc.
Phoebus: operator interface.
Control System
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 14
STAR Phoebus display for the LLRF subsystem of the three Klystron referred as K1 (S-band), K2 and K3 (C-band).
Control System
STAR Phoebus complete display for the LLRF subsystem.
EPICS (Experimental Physics and Industrial Control System) framework: software infrastructure for building distributed control systems.
Handling all subsystems: LLRF, vacuum, magnets, BPMs, cameras, etc.
Phoebus: operator interface.
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 15
First photo-emitted electron beam, imaged on YAG screen after the rf GUN. Laser 10 ps.
e-charge about 80-100pC
RF pulse GUN
First e beam end of July 2025
First e beam
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 16
Cathode QE Measurement
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA
Courtesy of E. Tassi

## Slide 17
S-band
LINAC
e-beam @IP, quads ON
2.5mm
2mm
Sigma < 300 µm
FLAGS
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 18
2.54 cm
Sigma < 300 um
Electron beam at IP
Electron Energy up to 100 MeV
The electron beam spot is adjustable by means of quadrupole magnets!
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 19
Timing and Synchronization
UV laser Pulse and Accelerating RF structure signals are monitored on oscilloscope (RF Gun, C-band linac, etc.)
Synchronization between UV laser pulse and RF Gun is obtained through the LLRF at <ps level.
RF Gun
UV laser
C-band linac
BPM
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 20
Fast IR photodiode
BPM
To oscilloscope
Temporal synchronization at IP
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 21
Temporal Synchronization at IP: traces on oscilloscope
IR laser
UV laser
BPM
20 ns
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 22
Fast IR photodiode
BPM
To oscilloscope
Temporal synchronization at IP: IR laser pulse scanning
e-beam
IR laser
2 ns
Cables are equalized
Times of flight properly evaluated
IR laser pulse scan: <1ps steps!
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 23
Spatial synchronization at IP
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 24
Side view
Top view
e- beam
Beam
dump
X-rays
IP
Interaction Chamber
Interaction Angle 5°
e- beam
Interaction Chamber
(HEL)
Else Nuclear Detector, NaI(Tl).
Energy Resolution: <9% at 662 keV (Cs-137)
CAEN Multichannel Gammastream type S2580
XR-100CR Si-PIN X-Ray Detector (AmpTek)
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 25
Background Radiation Characterization
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA
Accelerator OFF

## Slide 26
Background Radiation Characterization
Electron beam ON
Properly aligned into the beam dump
Ionization chamber monitoring placed on the roof above the dump
Expected X-rays
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA

## Slide 27
Looking for X-rays…
We have created a Great Accelerator Team!
Thank you all for your attention!!!
Luigi Faillace Advanced Accelerator Concepts 2026, Jul 26 – 31 Luskin Conference Center, UCLA
STAR will host the
International Symposium
on Compact X-ray Sources 2028