## Slide 1
Medical applications of Ultrasound from Plasma-accelerated electrons
José Franco Altamirano1, 2Yuchen Yan, C. Hojbota1, P. Franke4,
E. McCary4, 2Liangzhong Xiang, M. Hegelich1 Michael Downer1
1Department of Physics, The University of Texas at Austin, US,
2Department of Radiological Sciences, University of California, Irvine,
3Tau Systems Inc., Austin, US
Laser
1J, 30fs
Gas jet
Electron
beam
Transducer
array
60
40
[MeV]
[MeV]
10
20
30
Time [μs]
Transducer number
10
50
90
Signal collected by the array
-75
25
-25
Pressure [Pa]
1e6
75
-100
110
70
30
30
30
Water
tank

## Slide 2: Material Characterization: Slab
Detectors
5cm
5cm
1.3cm
Electron beam
Resonance condition for a slab:
occurring at , therefore
with
(
1e5
1e5
For symmetrical objects, the acoustic emission can
Be treated analytically [1]
[1] L. V. Wang, Photoacoustic Imaging and Spectroscopy, CRC Press, 2009. Chapter 1.

## Slide 3
Material Characterization: Rods
Pb
Cu
W
Electron beam
Detectors
3mm
Resonance condition for a rod:
occurring at
With
1e5
1e5

## Slide 4: Imaging of complex targets
FIG 3, Irradiation of Pb rods with different thicknesses . a, schematic of Pb mesh target; (b1) 3-dimensional
and (b2) 2-dimensional reconstruction of mesh: (c1) Signal acquired by an individual transducer, and (c2) its Fourier transform of it.
Eigenfrequencies marked in red for 3mm rod, light blue for 2mm rod, yellow for 1.6mm and green for 1mm.
1.6mm
1mm
1.6mm
2mm
3mm
1mm
1.1 cm
2.2 cm
1.1 cm
2mm
3mm
m1
m2
m3
m2
m1
m1
m1
Diameter [mm] | m = 1 [MHz] | m = 2 [MHz] | m = 3 [MHz]
1 | 1.65 | 3.8 | 5.95
1.6 | 1.02 | 2.3 | 3.7
2 | 0.83 | 1.9 | 2.97
3 | 0.55 | 1.27 | 1.98
3mm

## Slide 5: Irradiation of a bovine bone
(a)
(b)
Depth 1.5cm
Slice 1
Slice 30
1e-5
1e5
5cm
5cm

## Slide 6: Elliptical Solutions (?)
Resonance condition
The acoustic emission is governed by:
,
Wave equation
Source
Heating
VHEE dose
In elliptical coordinates:
with:
The pressure outside the bone is:
Where
and
Work of Leslie Zhang*

## Slide 7
Acoustic simulation for Elliptical bone
Detector

## Slide 8: Diagnostic tool for Osteoporosis?
Increased porosity in bones is associated with bone cancer.
Porosity was artificially added to the simulations to study detection feasibility for osteoporotic bone. Preliminary results indicate higher frequency components and a shift of higher amplitudes towards lower frequencies.
Simulations by Bryan Dinh*

## Slide 9: In-situ Dosimetry
(a)
(b1) 3D view
(b2) side view
(b3) top view
(c)
4
2
0
-2
-4
10e5
Signal [V]
25
50
75
100
Time [μs]
50
150
100
250
200
# of shots
(d)
Dosimetry in real time, especially in medical settings, is a challenging problem. Here, we irradiated a fatty tissue (pork belly) (a). Over multiple shots, imaging of complex structures is possible (b1),(b2) and (b3). Also importantly, accumulated signal (c) scales linearly with number of shot (d), meaning this technique has potential for dosimetry in real time.

## Slide 10: Conclusions
LWFA’s are a well suited to perform acoustic computed tomography due to their inherent bunch duration and their energy tunability.
Acoustic computed tomography is a robust imaging technique that also allows retrieval of material properties such as density and speed of sound.
Medically, this modality allows for different type of studies, such like bone health and in-vivo dosimetry.
Not a conclusions but repeating the experiments with x-rays should be straightforward. Samples in this presentation work as for a proof-of-concept. Next experiments should be done with medically graded targets.
This material is based upon work supported by the National Science Foundation under Grant No. PHY-23008921 and by the Department of Energy under Grant No. DE-SC0011617
Acknowledgments

## Slide 11: Thank you!