## Slide 1
High-repetition-rate, all-reflective optical guiding and electron acceleration in helium using an off-axis axicon
Jiří Šišma 1, 2, M. Nevrkla 1, 2, F. Vitha 1, 2, S. Lorenz 1, I. Zymak1,
Špádová 1, 2, A. Kollárová 1, 2, M. Jech 1, 3, A. Jančárek 1, 2,
C. M. Lazzarini 1, L. Goncalves 1, G. M. Grittani 1, S. V. Bulanov 1
7/27/26
Date:
1 ELI Beamlines Facility, The Extreme Light Infrastructure ERIC, Dolní Břežany, Czech Republic
2 Faculty of Nuclear Sciences and Physical Engineering, Czech Technical University in Prague, Czech Republic
3 Faculty of Information Technology, Czech Technical University in Prague, Czech Republic
4 Institute for Research in Electronics and Applied Physics and Department of Physics, University of Maryland, College Park, Maryland, USA
5 Department of Electrical and Computer Engineering, University of Maryland, College Park, Maryland, USA
J. E. Shrock 4, E. Rockafellow 4, B. Miao 4, A. J. Sloss 4,
S. W. Hancock 4, H. M. Milchberg 4, 5

## Slide 2: Outline
Self-waveguided LWFA and waveguide formation mechanism
Experimental area and guiding setup at ELBA in E5 using L3-HAPLS
Laser parameters: simulations and measurements
High power guiding results
Electron acceleration results

## Slide 3: Self-waveguided LWFA
gas jet
mirror
off-axis
axicon
probe
index-structuring beam
ns-pulse
LWFA drive pulse
Three key limitations on energy gain in LWFA
    dephasing
    depletion
    diffraction
Plasma waveguides extend acceleration distance by preventing diffraction of the drive laser
Hydrodynamic expansion of Optical-Field-Ionized plasma channel
Control of plasma channel expansion by delay or energy – adjusting the channel size to given focal spot
Hydrodynamic expansion simulation
B. Miao et al., Phys. Rev. Accel. Beams 27, 08132 (2024)
Electron density
atom/ion/H2 density
Fundamental mode
Electron temperature
C. G. Durfee and H. M. Milchberg, Phys. Rev. Lett. 71, 2409 (1993)
N. Lemos et al., Sci Rep 8, 3165 (2018)
R. J. Shalloo et al., Phys. Rev. E 97, 053203 (2018)

## Slide 4: Optical waveguide formation in plasma
Expanding OFI plasma channel alone may not form a waveguide structure at low density
Waveguide cladding is formed after auxiliary ionization:
2-Bessel beam method
Miao et al., PRL 129, 074801 (2020)
Self-waveguiding method
Feder et al., PRR 2, 043173 (2020)
Measured hydrodynamic plasma channel expansion
L. Feder et al. Phys. Rev. Research 2, 043173 (2020)
neutral shock
Self-waveguiding: Leading wings of an injected high intensity pulse ionize neutral shock driven by expanding OFI plasma column
FBPIC simulation of self-waveguiding
B. Miao et al. Phys. Rev. X 12, 031038 (2022)

## Slide 5: Experimental area & L3 laser parameters
Laser and experimental halls
parameter | current performance
Laser technology | CPA: Ti:sapphire single aperture
Pulse energy | 13 J (8 J @ 3.3 Hz)
Pulse duration | 30.4 fs (measured in E5)
Repetition rate | 0.2 Hz (3.3 Hz)
Peak power | 401.7 TW
Beam format | rectangular superGaussian
Beam size | 214 x 214 mm

## Slide 6: ELBA experimental chamber
L3
AUXILIARY CHAMBER
INTERACTION CHAMBER
ELI-ELBA: all-optical collider at ELI-BL
50:50 wavefront splitting to enable high temporal synchronization of the LWFA beam and the CP laser
currently the beam was split by pick-off mirrors
full counter-propagating setup to be implemented with the L3 laser energy upgrade while maintaining self-waveguiding capability

## Slide 7
M1
M2
M4
OAP
BM2
BM0
PM1
PM0
BM1
PM2
to target
Multiple-beam experiment:
  index-structuring beam (for Bessel focus)
  LWFA drive beam
  probe beam
  ns-pulse beam
Self-waveguiding setup at ELBA

## Slide 8
LWFA drive & Bessel beam parameters
86.2 % energy in LWFA drive beam
8.5 % energy in Bessel beam
L3 full size | 13 J
LWFA drive beam | 11.3 J
Bessel beam | 1.1 J
Probe pick-off beam | 0.6 J
~ 64 % energy measured on target
~ 7.2 J used for guiding and acceleration
Strehl ratio: 0.79

## Slide 9: Self-waveguiding setup at ELBA
to interferometer
BM3
λ/2
BM7
BM4-5
polarization-changing periscope
beam apodization ceramic apertures
BM6
TFP
Bessel delay line 0 – 5.6 ns
probe delay line 0 – 8 ns
polarization-changing periscope
PM4
PM5
PM6
L1
L2
SHG
L5
L3
PM7-8
PM9
ns-pulsed laser, < 200 mJ, for nanoparticles creation
A. Špádová et al., Phys. Plasmas 32, 123104 (2025)
drive beam
Bessel beam
probe beam
ns-pulsed beam
off-axis axicon
20 cm supersonic gas jet
10 μm

## Slide 10: ELBA experimental chamber

## Slide 11: ELBA experimental chamber
Channel-forming and probe beam entrance
Delay line
Drive beam entrance
Permanent magnets
Guiding diagnostic
Interaction area
Output flange

## Slide 12: High power guiding at 0.2 Hz and 3.3 Hz
to cameras
drilled uncoated mirror
uncoated wedge
lens
M
drive beam
High power guiding mode diagnostic for monitoring pointing (entrance to waveguide) and exit mode (single lens imaging)
Demonstrated high power guiding in 20 cm plasma channel at 0.2 Hz at 6 - 10 J in pure helium (dopped gases for electron acceleration)
Neutral density was measured 8 mm above the nozzle orifice using “fluorescence” method – comparison with backfilled chamber

## Slide 13: High power guiding at 3.3 Hz
Demonstrated guiding in 3 cm plasma channel at 3.3 Hz at 6 - 8 J (250 TW)
Backing pressure 6 bar, 2 ms opening time
Corresponding neutral density ~ 9.4 x 1017 cm−3
Limited by pumping system – LWFA ionization injection requires higher pressure (only high-power guiding)
Laser Pointing
Plasma vs. Distance from Center
Plasma vs. Pulse Energy

## Slide 14: Electron energy results
Electromagnet outside the chamber 0.6 T, 50 cm (4 meters away from waveguide exit)
Tungsten slit 1 mm, block length 6 cm
ELI designed slit supersonic nozzle 20 cm working with only one SmartShell valve, backing pressure 20 – 42 bar, 10 ms opening time
Dopant in the full length on the gas jet
Broadband spectra, mean electron energy ~3.5 GeV (15 % uncertainty), high-energy features extending up to 5 GeV (20 % uncertainty)

## Slide 15: Electron energy results
Stable pointing and low divergence, typically 1.2 ± 0.3 mrad (FWHM) for electrons above 0.5 GeV and less than 0.6 mrad for electrons exceeding 3 GeV, shot-to-shot variations in beam pointing ~ 0.35 mrad
Only 7.2 J contained within the 1/e2 focal-spot radius for delays from 1.7 to 2.1 ns between the channel-forming pulse and the LWFA driver
With a0 = 2.55, τFWHM = 30.4 fs, w0 = 32.1 μm, ne = 2.7 x 1017 cm−3 and a corresponding dephasing length ldeph = 15 cm, resulting maximum electron energy is ~ 5.5 GeV (Lu et al., Phys. Rev. ST Accel. Beams 10, 061301)
The maximum energy reached also corresponds to particle-in-cell simulation performed by Ela Rockafellow using FBPIC

## Slide 16: New approaches in an SW-LWFA experiment
Conclusion
Off-Axis Reflective Axicon – all reflective setup
Single – compressor beamline
Helium as a working gas
Energy up to 5 GeV (7.2 J in 1/e2 radius)

## Slide 17: Available and used for user experiments
Stabilized electron beam pointing, high electron energies
  Betatron radiation imaging and measurement by F. Treffert and I. Pagano et al. (LLNL)
  Muon production measurement by S. Bountempo (INFN) et al. and A. Giammanco (CERN) et al.
  Inverse Compton scattering experiment performed by E. Gerstmayr and G. Sarri et al. (QUB)
  VHEE Dosimetry by Cherenkov radiation by A. Pifferi et al. (Politecnico di Milano)
Guided electron beamline available at ELBA available for users
(check next ELI user call at https://up.eli-laser.eu/)
Plenary talk by Gabriele M. Grittani on Thursday morning at 11:15

## Slide 18
Thank you for your attention!