## Slide 1: REactor neutrino LIquid xenon Coherent Scattering experiment (RELICS)
Chang Cai (Tsinghua University)
On behalf of the RELICS collaboration
2025.6.10

## Slide 2: Coherent Elastic Neutrino-Nucleus Scattering: CENS
Opportunities:
Cross section proportional to the square of the number of nucleons
Larger cross section compared with IBD
Smaller neutrino detectors
Challenges:
Energy ROI: [0.3,1]
Higher detection efficiency
Lower background rate especially below 1keV
Notes: The incoming neutrino sees the nucleus as a whole during scattering with a cross-section proportional to the nucleon number squared
As the scattering energy increases, Cross Section drops sharply.

## Slide 3
H 24cm
D 28cm
~25 m
AP1000 Heat power ~ 3GW
flux ~
RELICS Experimental Design
Notes: 加Bulletin

## Slide 4: CENS in LXe-TPC
S1-S2 Pair Signal
CE𝒗NS“S2 Only”Signal
For CE𝒗NS signals：
  Mostly below 1keV_nr
  O(10) Photons, S1 hardly to be detected
  S2 signals composed of discrete electrons
S1 | Energy
S2 | Energy, X-Y Pos, Approx. Z Pos…
S1-S2 | Z pos
S1-S2 ratio | Event type
S1 | Energy
S2 | Energy, X-Y Pos, Approx. Z Pos…
 | Z pos
S1-S2 ratio | Event type
Notes: 表格错误

## Slide 5
Background Sources
  Cosmic Ray Particles
  Detector Material
Cosmic ；
Cosmic neutron；
Others…
Reactor Neutron
Reactor ；
Others…
Material , beta;
Others…
Reactor

## Slide 6
of [0.3,1]
Muon veto efficiency expected to be > 99%
Dominated by cosmic ray neutron
NR Background
Notes: 加数据来源，CRY

## Slide 7
Material radioactive intensity refers to the measurement from XENON100[1]
average of [0,20] before S2 width cut, mostly from detector material
ER Background
S2 Only?
No Z position?
P. SorensenarXiv:1102.2865 [astro-ph.IM].
Mostly from Top PMT bases
S2 Width Cut rejection power of 94% with S2 width threshold of 0.22us, CENs acceptance of 86%
[1] Aprile, E., et al. "Study of the electromagnetic background in the XENON100 experiment." Physical Review D 83.8 (2011): 082001.
Notes: 放射性参考依据

## Slide 8: Delayed Electrons Background
Muon Signal ~10 Hz
Delayed Electrons
  Delayed Electrons:
  Position correlated, power law decay
  Strongly correlated with impurities in LXe, weakly with the extraction field [2]
  Major challenge for RELICS in suppressing background
[2] Phys. Rev. D 106, 022001
Notes: 说明XENON的延迟电子特性来源。

## Slide 9
 | Acceptance | Background remaining
Waveform Cut | ~80% | ~10%
S2 Pattern Cut | ~52% | <5/1e5
Delayed Electrons Background
Notes: 没有方法，分数代替成说明图

## Slide 10: Physical Potential for CENS
CEvNS ROI: [120, 240] PE
 | Events/()
CEvNS | 4639.7
Cosmic Ray Neutron | 339.9
Neutron Induced by Cosmic Muon | 1.7
ER | 21.1
DE Pile-ups | 1325.1
CEvNS | 4639.7
Cosmic Ray Neutron | 339.9
Neutron Induced by Cosmic Muon | 1.7
ER | 21.1
DE Pile-ups | 1325.1
Notes: 强调是projection，预期的结果

## Slide 11: Physical Potential for Axion-like Particles
Production | Signals | Constraints
Primakoff Process ( ) | Inverse Primakoff Process…( ) | 
Compton-like Scattering ( ) | Inverse Compton-like Scattering…( ) | 
De-excitation of nucleus( ) | Inverse Primakoff Process…( ) Inverse Compton-like Scattering…( ) | 

## Slide 12
Physical Potential for Axion-like Particles
Preliminary

## Slide 13: Relics Prototype
Cooling System
Circulation and Getter
Calibration Sources
TPC
DAQ
Slow Control

## Slide 14: Relics Prototype
Active Volume with 0.56 kg LXe
Hamamatsu R8520-406 PMT×14
Run7
~45 PE @5000V
Single PE trigger rate > 90%
Sufficient Single-Electron detection efficiency
Ar-37 2.82 keV and Kr-83m 41.5 keV calibrated
Ar37
2.82 keV
Kr83m 41.5 keV

## Slide 15
Summary
RELICS is designed to detect CENS signals from reactor neutrinos using LXe-TPC detector
Energy ROI will be [0.3,1] keV, which poses a challenge to the detection capability of few-electrons events, especially under the S2-only signal mode
Delayed-electrons pile-up events will be the dominant background, but can be suppressed by waveform and pattern-spacetime cuts.
The prototype has verified the feasibility of each sub-system for the RELICS experiment and the capability to detect single-electron signals and signals from calibration sources in the low-energy region.

## Slide 17: Back Up
~80% of the signal acceptance
~90% of rejection power for DE pile-ups
Selection 1):Waveform Cut

## Slide 18
Higher Pattern Coefficient:
Looks like a point pattern
Higher SC-Coefficient:
Closer to previous muon track
Selection 2): Pattern vs Space-time correlation Cut
Back Up
DE pile-up signal S2 pattern
CEvNS signal S2 pattern

## Slide 19: Back Up
Pattern Coefficient Calculation: