## Slide 1
MOSAIC at ELT: robotic mirror positioner
Maxime Rombach
EPFL – LASTRO – Astrobots
Mechanical engineer
maxime.rombach@epfl.ch
SIAPS 2026
Template presentation from Alondra Sola

## Slide 2: MOSAIC – a brief introduction
What is MOSAIC?
POS modes
POS design
POS prototypes & key specs
Timeline

## Slide 3: MOSAIC – a brief introduction
What is MOSAIC?
POS modes
POS design
POS prototypes & key specs
Timeline

## Slide 4: MOSAIC: the multi-object spectrograph
MOSAIC specs:
Mass:
- 40 tons
Height:
- 8m
Footprint:
- 8m x 11m
MOSAIC
HARMONI
METIS
MICADO
ANDES
Artist’s impression of the ELT instruments (2021) Credit: ESO

## Slide 5: MOSAIC: the multi-object spectrograph
Multi-Object spectrograph
2 channels: VISible (VIS) and Near-InfraRed (NIR)
  Low resolution only for NIR
  Both High and low res for VIS
Wavelength range: 0.39 a 1.8 um
Up to 260 observed objects in parallel
Incoming sky-light

## Slide 6: MOSAIC Focal plane
300 robotic positioners

## Slide 7: MOSAIC – a brief introduction
What is MOSAIC?
Positioner (POS) modes
POS design
POS prototypes & key specs
Timeline

## Slide 8: MOS mode:
NIR or VIS HR / LR Fiber bundle
MOS optical path
Z axis
X axis
FP2.1 / FP2.2 / FP 2.3
Telecentric design : pointing at pupil center 37.8m from FP1
ELT Focus : FP1
ICOS Rotation axis
LGS
NGS
GLAO
GLAO
NGS
LGS
FP2
NIR or VIS HR / LR Fiber bundle
ADC
ADC
Front-End Optical model
Nightime
Last revision v5.6 :
Date:23/01/2025 by D. Chapuis
FP1’
FP1’

## Slide 9: mIFU mode:
FP2.4
FP2.4
mIFU optical path
ORSS – adjust IFU optical path length
Z axis
X axis
IFU – BSM Beam Steering Mirror
IFU - BSM Beam Steering Mirror
ELT Focus : FP1
ICOS Rotation axis
LGS
NGS
GLAO
GLAO
NGS
LGS
ADC
ADC
ORSS – adjust IFU optical path length
Front-End Optical model
Nightime
Last revision v5.6 :
Date:23/01/2025 by D. Chapuis
IFU - Pick-off mirror
FP1’
Telecentric design : pointing at pupil center 37.8m from FP1
mIFU Fiber bundle
mIFU Fiber bundle

## Slide 10: MOSAIC – a brief introduction
What is MOSAIC?
POS modes
POS design
POS prototypes & key specs
Timeline

## Slide 11
MOSAIC positioners
600 mm
Ø94 mm

## Slide 12
MOSAIC positioners: SCARA + ADC
600 mm
57mm
28.5mm
ELT light beam diameter: 15mm

## Slide 13
MOSAIC positioners: SCARA
90 mm hexagonal base
Kinematics:
- Alpha arm length: 28.5 mm
- Beta arm length : 57 mm
3 BLDC motors:
1x 13mm; gear ratio: 1526:1
2x 8mm; gear ratio: 1024:1
Optics:
4x elliptical mirrors

## Slide 14
MOSAIC positioners: SCARA
MOSAIC positioner workspace compensating for ELT’s non telecentricity
Goal: point to the telescope pupil 37m away
Alpha angle = 0.041° / Beta angle = 0.083°
Credit: Markus Thurneysen (HEPIA)

## Slide 15
MOSAIC positioners: ADC
Optics
2x prisms
2x lenses
Motors:
2x 8mm motors; gear ratio: 1024:1

## Slide 16: MOSAIC – a brief introduction
What is MOSAIC?
POS modes
POS design
POS prototypes & key specs
Timeline

## Slide 17
MOSAIC positioners: Prototypes

## Slide 18
MOSAIC positioners: Prototypes

## Slide 19
MOSAIC positioners: summary
Total positioners: 300
Motors:
1x 13mm motor – gear ratio: 1526:1 – hall sensors
4x 8mm motots – gear ratio: 1024:1 – hall sensors
- 5 motors / positioner
Optics:
4x elliptical mirrors
2x lenses (identical)
2x prisms

## Slide 20
MOSAIC positioners: summary
Key specs (TBC):
Total arms accuracy (alpha+beta): 20um
Prisms angular accuracy: ± 0.5°
Pick off mirror accuracy: 30 arcseconds
Max speed: 1RPM
Mirrors angle tolerance: ± 0.01°
Mass: max 1.5kg

## Slide 21: MOSAIC – a brief introduction
What is MOSAIC?
POS modes
POS design
POS prototypes & key specs
Timeline

## Slide 22
MOSAIC positioners: timeline
POS PDR
Jan 2027
MOSAIC PDR
Dec 2027
MOSAIC FDR
August 2031
IRR
March 2033
First light
2035