## Slide 1: Advanced plasma edge measurements with the Thermal Helium Beam diagnostic
ISTP workshop - NEFERTARI
March 26, 2026
M. La Matina, M. Agostini, M. Ugoletti, M. Fincato, E. Girotto, L. Carraro, M. Zuin

## Slide 2: Layout of spectroscopic diagnostics in RFX-mod2
Visible light
UV – x-rays

## Slide 3: THB: Thermal Helium Beam
Thermal helium beam (THB) is a spectroscopic diagnostic based on the line ratio technique (Goto CR model) for estimating the electron density and temperature in the edge and divertor region of fusion plasmas
Helium is puffed in the plasma edge
4 HeI lines are measured:
501, 667, 706, and 728 nm
[M. Agostini, RSI, 2020]

## Slide 4
GPI
THB2
THB3
THB4
THB1
THB5
φ=322° θ=0°
φ=262° θ=0,90,180,270°
4 radial LoS

## Slide 5
BUT
effect of the radiation trapping of ultraviolet resonance lines not considered
Measure a fourth line at 501 nm and evaluating the ratio
To convert the line ratios in ne and Te, collisional radiative models (CRM) are used

## Slide 6
2 RATIOS :
optimized version of ADAS dataset
[H. P. Summers, AIP Conf. Proc. 2011]
3 RATIOS :
Goto CR model [M. Goto and K. Sawada, J. Quant. Spectrosc. Radiat. Transfer , 2011] photoexitation rate due to reabsorption is treated as a fitting parameter along with Te and ne

## Slide 7
Experimental validation of the role of photon re-absorption @TCV

## Slide 8
Spatial resolution 5 mm
Acquisition rate 1 MHz
The newly designed THB with 3 line ratios has been tested for the first time at the TCV tokamak

## Slide 9
I [V]
I [V]
I [V]
I [V]
I [V]
I [V]
I [V]
I [V]
t [s]
t [s]
t [s]
t [s]
These are examples of raw signals from the THB diagnostic.
501 nm
667 nm
706 nm
728 nm
The signals for the four lines are collected for 8 different LoS
This shot is characterized by two gas puffings
The brightest line is the one at 667 nm

## Slide 10
Plasma edge
Scrape-off-layer
Plasma edge
Scrape-off-layer
[M. Ugoletti, RSI, 2024]

## Slide 11
Plasma edge
Scrape-off-layer
Plasma edge
Scrape-off-layer
[M. Ugoletti, RSI, 2024]

## Slide 12
Plasma edge
Scrape-off-layer
Plasma edge
Scrape-off-layer
[M. Ugoletti, RSI, 2024]

## Slide 13
Experimental application:
Analysis of High-confinement mode pulses @TCV

## Slide 14
Inter-ELM profiles
Profiles evolution in the ELM cycle
[M. La Matina, EPS, 2025]
ρ = 0.99
ρ = 0.99
Analysis of High-confinement mode pulses @TCV

## Slide 15
Mode detected only in the inter-ELM phase, with a chirping frequency during the ELM cycle
It has been characterized as a fluctuation mostly in ne
[M. La Matina, PPCF, 2025]
time range of a few μs

## Slide 16
[M. La Matina, PPCF, 2025]
Conditional average on the peaks of the mode in LoS ρ = 0.99
Conditional average on the turbulent structures in LoS ρ = 1.05
[M. La Matina, PPCF, 2025]

## Slide 17
The newly designed THB with 3 line ratios is for the first time tested on experimental data @TCV. All the 4 measured lines are well isolated and free of impurity lines.
Thank you for your attention!
The THB has been used to study High confinement modes at TCV, obtaining a good representation of the ELM cycle, as well as the characterization of inter-ELM modes
Now it is ready to be used @RFX-mod2, with radial profiles and poloidal reconstruction