## Slide 1: I. Casiraghi & J. Scionti
Istituto per la Scienza e Tecnologia dei Plasmi, CNR, 20125 Milano, Italy
NEFERTARI final workshop
Orto Botanico Università di Padova / Area della Ricerca CNR Padova
March 25 – 27, 2026
Helicon Wave Propagation and Plasma-Neutral Modelling for the BiGyM Linear Device

## Slide 2: Outline
BiGyM: the new linear plasma device
    Motivation
    Device upgrade
BiGyM modelling activities
Plasma-neutral modelling using SOLPS−ITER
    Validation against RAID data
    Predictive modelling of BiGyM
Helicon source modelling using COMSOL
    Sensitivity analysis
    Alternative layouts
Conclusions & Future developments
1
WP7
BiGyM: the new linear plasma device
    Motivation
    Device upgrade
BiGyM modelling activities
Plasma-neutral modelling using SOLPS−ITER
    Validation against RAID data
    Predictive modelling of BiGyM
Helicon source modelling using COMSOL
    Sensitivity analysis
    Alternative layouts
Conclusions & Future developments

## Slide 3: Motivation
GyM
BiGyM
For future nuclear fusion reactors, plasma–material interactions (PMIs) are a critical issue.
  PMIs are widely investigated in linear plasma devices (LPDs).
Device upgrades from GyM to BiGyM aim to
          boost performance for divertor–relevant PMI studies
          extend the material and physics research field
2

## Slide 4: Device upgrade
GyM
BiGyM
3
Two new helicon plasma sources (birdcage antennas)
A new axial sample exposure system
A LIBS (Laser–Induced Breakdown Spectroscopy)
A new infrared camera
Upgrade of vacuum system

## Slide 5: Modelling activities in support of BiGyM
The modelling activities include
      Plasma-neutral modelling using SOLPS-ITER
      Helicon antenna modelling using COMSOL
      Laser ablation modelling using COMSOL
      Material erosion modelling with ERO2.0
and support the BiGyM project for
      the machine layout definition
      the choice of suitable experimental setup
      predicting operational conditions
4

## Slide 6: SOLPS−ITER modelling
B2.5
SOLPS−ITER
EIRENE
plasma
background
sources for plasma fluid equations
3D kinetic
Monte Carlo
neutral transport
code
2D multi-fluid
plasma transport
code
S. Wiesen et al (2015) Journal of Nuclear Material 463 480-484
Code package developed for tokamak plasma edge simulations, recently adapted to the LPD geometry.*
Axial symmetry was adopted in these LPD simulations.
*M. Sala et al (2020) Plasma Phys. Control. Fusion 62 055005
5
SOLPS−ITER modelling of RAID plasma
  SOLPS–ITER modelling approach is validated (matched experimental data)
  proper constraints for BiGyM runs
SOLPS−ITER modelling of BiGyM plasma
  Reliable predictions in similar conditions, investigating different
      Gas species
      Gas injection locations
      Magnetic field configurations

## Slide 7: RAID (Resonant Antenna Ion Device) — Case study
6
Modelling
scheme
Puffing
Pressure measurements
Neutral domain
Plasma domain
Thomson Scattering
source
source
Inom = 150A
Helium plasma with
3 mT ≲ B ≲ 20 mT
Ⲅpuff = 58 sccm
Spump ∼ 150 L/s
Power density distribution
Total Pinjected = 3 kW
Axially constant
Radially gaussian
EIRENE grid
B2.5 grid
+
Measured neutral pressure ≈ 0.8 Pa
Thomson
Scattering
[at z=0.79m]
Measured plasma profiles
∼90%
absorbed

## Slide 8: BiGyM plasmas
7
EIRENE grid
B2.5 grid
First plasma in June 2026
Puffing

## Slide 9
8
BiGyM helium plasmas
Ⲅpuff = 32 sccm
Spump ∼ 420 L/s
Power density distribution
Pabsorbed = 3 kW x 0.90
Axially constant
Radially gaussian

## Slide 10: BiGyM helium plasmas: different magnetic configurations
9
MC1: quasi−uniform field along axis
MC2: lower field in the source regions
160 A x 9 coils
220 A x 4 coils + 330 A x 1 coil
16 mT ≲ B ≲ 20 mT
6 mT ≲ B ≲ 23 mT
source
source
MC1
source
source
MC2

## Slide 11: BiGyM helium plasmas: different magnetic configurations
10
Good symmetry left−right
Small effect of B configuration on Te and ne (≲ 15%), at a fixed absorbed power density
Particle flux
MC1
MC2
r = 0 m
r = 0 m
r = 0 m
MC1
MC2
MC1
MC2
MC2
Electron Temperature
MC2
Electron Density
Axial profiles
Radial profiles

## Slide 12: BiGyM argon plasmas
11
Ⲅpuff = 32 sccm
Spump ∼ 290 L/s
Power density distribution
Pabsorbed = 3 kW x 0.90
Axially constant
Radially gaussian

## Slide 13: BiGyM argon plasmas
12
Ⲅpuff = 32 sccm
Spump ∼ 290 L/s
Power density distribution
Pabsorbed = 3 kW x 0.90
Axially constant
Radially gaussian
Pabs
Dependence of plasma profiles on absorbed power was investigated.
By doubling the absorbed power, ne increases by about 70%, while Te increases by approximately 10%.
Relevant impact of absorbed power on plasma profiles, but order of magnitude is not affected.

## Slide 14
13
Neon plasmas (values on axis)
ne ≈ (1.5–2.0) x 101⁹ m−3
Te ≈ 4–5 eV
Particle flux ≲ 3.5 x 1022 m−3
High−density plasma discharges are predicted,
meeting the device upgrade targets.
Argon plasmas (values on axis)
ne ≈ (1.5–2.0) x 1018 m−3
Te ≈ 9 eV
Particle flux ≲ 6 x 1021 m−3
Comparison of plasma parameters predicted by SOLPS−ITER with BiGyM experimental data, once available

## Slide 15: Outline
BiGyM: the new linear plasma device
    Motivation
    Device upgrade
BiGyM modelling activities
Plasma-neutral modelling using SOLPS−ITER
    Validation against RAID data
    Predictive modelling of BiGyM
Helicon source modelling using COMSOL
    Sensitivity analysis
    Alternative layouts
Conclusions & Future developments
14
WP7

## Slide 16: Objective
Study the helicon wave propagation in BiGyM
Assess the new sources performance
Validate the proposed layout
COMSOL
Sample holder
15

## Slide 17: New sources: Radio-frequency antennas
High Q mica capacitors
Open network antenna
 | GyM | BiGyM | 
Frequency | 2.45 · 103 | 13.56 | MHz
Power | -> 4.5 | -> 20 | kW
Ion flux | 1021 | 1023 | m-2s-1
Plasma density | 1017 | 1019 | m-3
Coil magnetic field | 87.5 | ≈20 | mT
Double-walled ceramic tube
Nine copper legs (cooling pipes)
13 cm
15 cm
16
SPC Spin-off
* Ph. Guittienne et al, Resonant Network Antennas for Radio-Frequency Plasma Sources. IOP Series in Plasma Physics. IOP Publishing, 2024
*

## Slide 18: Helicon waves?
1960s  first experimental observations: Bowers. Theory developed by Chen
Low frequency right−handed bounded whistler waves propagating in a magnetized plasma
Dispersion relation
B0
High density plasma
Pasma uniformity
Real input impedance (50 Ω) -> low power dissipation, cable flexibility
Elongated columnar plasma -> reduced plasma "wetting" (side walls)
Large plasma volume coupling
Cyclotron frequencies
17

## Slide 19: Model: theory
Cold plasma Stix tensors
Coil B-field
Plasma frequency
BiGyM axis
Effective collision frequency
Plasma treated as a static user-defined anisotropic medium!
Hydrogen plasma
18
Boundary conditions

## Slide 20: Model validation
Power density that the wave deposits at the sample location
Figure of merit
Line average
RAID
“effective” density:
Dispersion relation:
Constant
19

## Slide 21: Collisions & “free” parameters
Power (each antenna) | 1.5 | kW
Gas (hydrogen) pressure | 0.3 | Pa
Gas temperature | 400 | K
ne (radially gaussian, FWHM = 5 cm) peak value | 1018 | m-3
Te (uniform) | 5 | eV
Magnetic field plateau value | 18 | mT
Simulation parameters
20
Feeding ring
*
* Ph Guittienne et al, Helicon wave plasma generated by a resonant birdcage antenna: Magnetic field measurements and analysis in the raid linear device. Plasma Sources Science and Technology, 30(7):075023, jul 2021
: feeding ring on the left

## Slide 22: Antennas orientation – Coil magnetic field
21
Best orientation

## Slide 23: Antennas orientation – Parameters
In the ranges of expected physical parameters -> (green curve) is the best orientation
22

## Slide 24: Alternative layouts – Magnetic fields
Average Q over a line
23

## Slide 25: Alternative layouts – Power densities
Best layout
(a) is the best layout, however -> Potential thermal load issue!
24
Notes: ù

## Slide 26: Summary and outlooks
Model for studying helicon wave propagation in a static user-define plasma
Investigate antennas orientation impact on density power deposited at the sample
Assess the proposed BiGyM layout
Investigate other plasmas (Ar, He, …)
Relax assumptions (radial density profile, full 3D coil magnetic field, …)
Iterations with plasma evolution modelling codes (SOLPS-ITER)
Benchmark with experimental data
25
Notes: Plsma

## Slide 27: Back−up slides

## Slide 28: RAID experimental data
Thomson
Scattering
[at z=0.79m]

## Slide 29: RAID experimental data vs SOLPS−ITER modelling

## Slide 30: Sensitivity studies for RAID plasma
Pabs ≈ 2.8 kW
1−RECYCT = 0.0037
Dn = 0.5m2/s
Power density gaussian width
FWHM ≈ 4.0 cm
1−REC. = 0.0037
Dn = 0.5m2/s
Absorbed power
Pabs ≈ 2.4 kW
FWHM ≈ 4.0 cm
Dn = 0.5m2/s
Absorption at pump. surface
Pabs ≈ 1.7 kW
FWHM ≈ 4.0 cm
1−REC. = 0.0037
Particle diffusion

## Slide 31: SOLPS-ITER: assessment of plasma parameters at sample-holder location
220 A
220 A
0 A
0 A
330 A
0 A
0 A
220 A
220 A
3e22 m-2s-1
at sample-holder
Radial profiles

## Slide 32
2700W, sig=0.021, REC=0.9985
3000W, sig=0.024, REC=0.9985
2700W, sig=0.024, REC=0.9985

## Slide 33: Gas injection position
Puffing [Option B]
Puffing [Option A]
Varying the gas injection location leads to
differences between left/right side of the device in terms of neutral pressure of
 ∼ 20% for option A
   ∼ 0% for option B
negligible plasma profile variations
Gas injection option B

## Slide 34: Investigated BiGyM B−field configurations

## Slide 35: Good symmetry left−right in BiGyM

## Slide 36: Parameter scans for RAID plasma
Varying the energy transport coefficient χe has a very small effect.
Particle diffusion
Energy transport coefficient