## Slide 1: Improved Method for (, ) Reconstruction for Solenoidal Spectrometer
T. L. Tang (Ryan)
https://arxiv.org/abs/2501.04731v2
Kinematics Calibration and Excitation Energy Reconstruction for Solenoidal Spectrometers

## Slide 2
Solenoidal Spectrometer is very nice…
Lorentz Boost from Lab to CM frame
16O(d,p) @ 10 MeV/u, 2.85T
https://wiki.anl.gov/heliosdaq/File:Kinematics_of_HELIOS.pdf
[MeV]
[m]


## Slide 3
The projection method
Step 2) Scale and offset using known states
Step 1) Projection
Step 3) Sum up all detectors
Step 2
Step 1

## Slide 4
Finite Detector Radius Ruined it.
radius of the helix motion

## Slide 5
Projection method is not very efficient
Detectors that coverage small angle need special care.
  where is small angle?
  bad energy resolution
Every detectors are treated separately
   each detector has different energy gain
   that is not convenience for automation

## Slide 6
A new method

Kinematics calculation, Solenoidal spectrometer is transforming


To do the inverse transform,
need to calibrate the measured energy,
from channel into MeV

## Slide 7
Step 1) raw to energy
A) alpha source ( 5.4 to 8.2 MeV for 224Th source)
B) Matching data to the kinematics lines
Simultaneously fit multiple curves at once
using known states (more is better)
calculate the kinematics curves
random sampling n-data points
  if too far away from any curves, discard
  otherwise, sum to the
minimum the and maximum number of data points

## Slide 8
Step 2) (, ) Reconstruction
Solve this system
is the momentum in CM frame
find it, then we can deduce the
Using these formula

## Slide 9
two solutions
Find  
have the kinematics
extract
is:

## Slide 10
Result
Simultaniously extract and
  gate of
All detectors are treated the same
All are treated the same
Using kinematics calibration has more accurate spectrum

## Slide 11
Conclusion
Discussed the limit of the projection method
  need to treat separately for the bending
  the slope is different
Present another approach to extract the and
  don’t need to treat the bending separately
Also, introduce a method for energy calibration
  multi-curves fitting
Already implemented into the HELISO analysis code.
https://arxiv.org/abs/2501.04731v2
Kinematics Calibration and Excitation Energy Reconstruction for Solenoidal Spectrometers

## Slide 13
Goal, group the term