## Slide 1
Future CCA Magnetometry Flow Chart
MEOP and Magnetometry:
.1 ppm magnetometry in-situ in a cryogenic volume that can simultaneously do CRES and NMR.
“Birdcage” cavity design: we place windows/cuts in a way the system becomes a resonator for both the RF NMR and microwave CRES mode.
A Resonant Cavity-Based CRES Demonstrator on the Path to a More Precise Neutrino Mass Measurement with Project 8
Paul Kolbeck1, Stephen Kuenstner1, Ali Kurmus1, Elise Novitski1 , Yao Yin1 for the Project 8 collaboration
1University of Washington, Seattle, WA, USA
radioactive gas
delivery line
RF waveguide
electron gun
electron trapping coils
scale: 1 m
Electron’s cyclotron radiation couples to TE011 resonant mode of cavity for increased SNR
Project 8: measuring neutrino mass by observing tritium β- decay with Cyclotron Radiation Emission Spectroscopy (CRES)
This work is supported by the US DOE Office of Nuclear Physics, the US NSF, the European Research Council (ERC), the PRISMA+ Cluster of Excellence at the University of Mainz, and internal investments at all collaborating institutions.
Opening to inject electrons from electron gun (can also be closed for use with radioactive gas source)
New cavity-based apparatus will demonstrate many technologies needed to reach sensitivity to effective electron-weighted neutrino mass mβ of 40 meV
  Cavity-based geometry is compatible with orders-of-magnitude increased detector volume.
  Improved signal-to-noise ratio from cavity-enhanced cyclotron emission will enable higher detection efficiency.
  A <0.3-eV-wide electron gun calibration source will enable improved detector response characterization and absolute magnetic field calibration. (See also poster 594.)
  Well-understood signal morphology embeds magnetic field calibration information in the CRES data.
OTHER BOX WAS
Project 8 Phase II set limit of ~152 eV on mb with zero background and demonstrated instrumental resolution of 1.66 eV (See other poster lol)
To achieve sensitivity to 40 meV need orders of magnitude higher statistics and factor of ~5 narrower detector response. This detector response must be characterized to 1%. See other poster.
A cold atomic tritium source is also needed. See other other other poster.
CRES cavity
RF waveguide
cyclotron radiation travels along RF waveguide toward amplifier
New apparatus is located at the University of Washington, Seattle, within a repurposed medical MRI magnet. Construction is ongoing, with running planned for late 2026.
Fourier- transform
Electron undergoes cyclotron motion in magnetic field and emits cyclotron radiation
Cyclotron radiation (1 fW) collected, digitized
Electron produced in beta decay
Cyclotron frequency extracted
count rate
Energy spectrum of electrons emitted from tritium β- decay
Electron kinetic energy assessed
Neutrino mass info extracted from spectrum
Project 8 sensitivity goal
Repeated for many decays
Goal: sensitivity to 40 meV, measuring the mass or excluding the inverted ordering. Simultaneous sensitivity to active and sterile neutrinos.
83mKr N-line spectra
With best previous CRES resolution of 1.66 eV FWHM Predicted with new cavity-based apparatus, with resolution of 0.3 eV FWHM
N2-32 and N3-32 lines, separated by only ~0.67 eV, will be distinguishable
Most precise characterization of shakeup & shakeoff expected
Cavity dimensions
Diameter: 15 mm
Length: 130 mm
1
2
3
4
5
6
7
8
field-shifting solenoid
3H
3He
e-
RF waveguide and amplifier
Trap coils
Gas line
Thermal shield
Thermal anchors
CCA apparatus in MRI magnet
Electrical and vacuum feedthroughs
Cryocooler
Gas handling manifold
CCA apparatus in MRI magnet
Electron gun positioning system
Pretty hardware pictures
BIRDCAGE CAVITY
OPTICAL CELL
A plot of Bird cage cavity TE011 mode amplitude.
Science with this detector
K-, L-, M-, N- conversion electrons from 83mKr will be probed with highest resolution yet.
Combined with absolute magnetic field measurements from electron gun and other magnetometry, this will enable an important systematic check for KATRIN’s neutrino mass measurement
New cavity-based apparatus will demonstrate many technologies needed to reach 40 meV
  Cavity-based geometry is compatible with orders-of-magnitude increased detector volume.
  Improved signal-to-noise ratio from cavity-enhanced cyclotron emission will enable higher detection efficiency.
  A <0.3-eV-wide electron gun calibration source will enable improved detector response characterization and absolute magnetic field calibration.
  Well-understood signal morphology embeds magnetic field calibration information in the CRES data.
Precise electron-by-electron energy reconstruction
0.0 0.4 0.8 1.2 1.6 2.0
Time (ms)
Log(Power) (arb)
Frequency
Electrons that explore different regions of the magnetic trap experience slightly different average magnetic fields
Electron trajectory information is encoded in spacing and power in RF sidebands of CRES signal
Electron magnetic trapping field
2 3 4 5 6
Radial position (mm)
0.2 0.1 0 -0.1 -0.2
ΔLog(Likelihood)
ΔEnergy (eV)
Matched filtering and deep learning algorithms under development can extract this information to reconstruct electron energy
Simulated data from cavity-based apparatus
Note by Ali
I realized bluish green was used for genreal detector response, sky blue for magnetic field related, reddish purple regarding to post processsing (spectrum analysis and PT&ER), and orange was for new things in this iteration. I tried to keep using such color coding.
MEOP and Magnetometry:
.
“Birdcage” cavity design, where we place windows/cuts in a way the system becomes a resonator for both the RF NMR and microwave CRES mode.
NMR with optically polarized Helium-3 in a modified cavity, captures field perturbations from magnetic materials.
Kr conversion electrons can be measured with the same conditions as the NMR.
Background magnetic field measurements done via custom NMR probes outside of CCA.
Standard NMR probes will track field stability of field shifting solenoid (FSS).
Half of the birdcage cavity with visible cuts
Two halves connected to make a full cavity
Magnetometry: MEOP
  Thermal spin polarization is not sufficient for NMR with the birdcage.
  We use Metastability Exchange Optical Pumping (MEOP) to polarize spins to get a strong enough NMR signal with the “Birdcage”
CCA apparatus in MRI magnet
Electrical and vacuum feedthroughs
Cryocooler
Project 8’s path to 40-meV neutrino mass sensitivity
He3 is transferred from storage to MEOP cell where it gets polarized with a laser
Nuclear spin polarized He-3 is transferred to the birdcage cavity.
CCA apparatus in MRI magnet
An RF pulse is sent to the birdcage cavity. The RF pulse tips the spins, which precess to produce the NMR signal.
FID signal from petroleum jelly sample from initial testing.
We infer the background magnetic field strength and homogeneity.
Two calibration techniques to reach the sensitivity goal: electron gun and precision magnetometry
Electron gun: a controlled source of monoenergetic electrons for calibration.
  Capable of creating electrons with continuously variable energy → move electrons into cyclotron resonance. This is not possible with any other calibration method.
  Capable of injecting electrons in different radii to get a full magnetic field map.
  Additionally enables tests of: (1) magnetic field uniformity; (2) frequency response and reconstruction pipeline; (3) energy-frequency conversion accuracy.
  An electron source in which the beam is guided primarily by magnetic fields rather than electrostatic optics is a distinctive feature of the Project 8 electron gun effort.
MEOP cell
Magnetometry: ultra-precise Nuclear Magnetic Resonance (NMR)
  0.1 ppm NMR magnetometry in-situ in the cryogenic CRES volume
  “Birdcage” cavity design: we place windows/cuts in a way the cavity becomes a resonator for both the RF NMR mode and the microwave CRES TE011mode.
  We will use Metastability Exchange Optical Pumping (MEOP) to polarize spins to get a strong enough NMR signal.