## Slide 1: A high quality factor dielectric Fabry-Perot cavity for detecting dark matter axions
Jonathan Gosling
1

## Slide 2
Dark matter landscape
2
E. Killian, et al., AVS Quantum Sci. 6, 030503 (2024)

## Slide 3
Dark matter landscape
Solves the “strong”-CP problem
2
E. Killian, et al., AVS Quantum Sci. 6, 030503 (2024)

## Slide 4
Axion parameter space
Limits from cajohare.github.io/AxionLimits/docs/ap.html
3

## Slide 5
Axion detection with microwave cavities
Cavity placed in an external field:
M. E. Tobar et al., Physics of the Dark Universe 26 (2019)
4

## Slide 6
Detector
Axion detection with microwave cavities
Cavity placed in an external field:
M. E. Tobar et al., Physics of the Dark Universe 26 (2019)
4
Axion DM halo sources new E and B fields, oscillating at the axion Compton frequency

## Slide 7
Rate of photons emitted at optimum cavity coupling is
Detector
Axion detection with microwave cavities
Cavity placed in an external field:
M. E. Tobar et al., Physics of the Dark Universe 26 (2019)
4
Cavity Q-factor
Axion Q-factor
Axion DM halo sources new E and B fields, oscillating at the axion Compton frequency

## Slide 8
Rate of photons emitted at optimum cavity coupling is
Detector
Axion detection with microwave cavities
Cavity placed in an external field:
M. E. Tobar et al., Physics of the Dark Universe 26 (2019)
4
Cavity Q-factor
Axion Q-factor
Axion DM halo sources new E and B fields, oscillating at the axion Compton frequency

## Slide 9
Rate of photons emitted at optimum cavity coupling is
Detector
Axion detection with microwave cavities
Cavity placed in an external field:
M. E. Tobar et al., Physics of the Dark Universe 26 (2019)
4
Cavity Q-factor
Axion Q-factor
Axion DM halo sources new E and B fields, oscillating at the axion Compton frequency

## Slide 10
Rate of photons emitted at optimum cavity coupling is
Detector
Axion detection with microwave cavities
Cavity placed in an external field:
M. E. Tobar et al., Physics of the Dark Universe 26 (2019)
4
Cavity Q-factor
Axion Q-factor
Axion DM halo sources new E and B fields, oscillating at the axion Compton frequency

## Slide 11
Top: limits from cajohare.github.io/AxionLimits/docs/ap.html
Bottom: Theory plot adapted from Javier Redondo’s talk at TAUP 2021, reproduced with permission
Experimental limits on axion masses and from theory
Model predictions
DFSZ
Axion masses consistent with Big Bang cosmology and DM density
Axions formed pre-inflation
Axions formed post-inflation with 1 domain wall
>1 domain wall
Other models
Axion parameter space
Huge range of viable axion masses to be explored
5

## Slide 12
Top: limits from cajohare.github.io/AxionLimits/docs/ap.html
Bottom: Theory plot adapted from Javier Redondo’s talk at TAUP 2021, reproduced with permission
Experimental limits on axion masses and from theory
Model predictions
DFSZ
Axion masses consistent with Big Bang cosmology and DM density
Axions formed pre-inflation
Axions formed post-inflation with 1 domain wall
>1 domain wall
Other models
Axion parameter space
Huge range of viable axion masses to be explored
5

## Slide 13
Axion haloscope
6

## Slide 14
Axion haloscope
6
Problem 1: Decreasing volume
(and Q factor)

## Slide 15
Decreasing volume
A cavity haloscope converts
C. Boutan, et al., Phys. Rev. Lett. 121 (2018)
7

## Slide 16
Decreasing volume
A cavity haloscope converts
7
C. Boutan, et al., Phys. Rev. Lett. 121 (2018)

## Slide 17
Decreasing volume
A cavity haloscope converts
Volume factor scales with frequency
7
C. Boutan, et al., Phys. Rev. Lett. 121 (2018)

## Slide 18
Decreasing volume
A cavity haloscope converts
Volume factor scales with frequency
7
C. Boutan, et al., Phys. Rev. Lett. 121 (2018)
typically, Q (for copper)

## Slide 19
Microwave cavities
ADMX: min frequency ~640 MHz
RADES: min frequency ~8.4 GHz
A. Melcón, et al. J. High Energ. Phys. 2021, 75 (2021)
S. K. Lamoreaux, et al., Phys. Rev. D 88, 035020 (2013)
8
Size
Length m
Diameter m
Length mm
Thickness mm

## Slide 20
Other detection options >30 GHz
Results
Projections
ORGAN
ALPHA
QDM lab (Univ. Western Australia)
Lead by Dr. Michael Tobar
MADMAX
Big effort at DESY, lower ma initially
Frank Wilczek et al.
BRASS
University of Hamburg
BREAD
Cambridge/Fermilab, higher ma
“Magnetized mirrors”…
Plasma haloscope
.. with dielectric boost
TEM00q Fabry-Perot
ORPHEUS
Rybka et al.
Dielectric cavities
https://cajohare.github.io/AxionLimits/docs/ap.html
Many, more new ideas between 5-30 GHz
9

## Slide 21
Other detection options >30 GHz
Results
Projections
ORGAN
ALPHA
QDM lab (Univ. Western Australia)
Lead by Dr. Michael Tobar
MADMAX
Big effort at DESY, lower ma initially
Frank Wilczek et al.
BRASS
University of Hamburg
BREAD
Cambridge/Fermilab, higher ma
“Magnetized mirrors”…
Plasma haloscope
.. with dielectric boost
TEM00q Fabry-Perot
ORPHEUS
Rybka et al.
Dielectric cavities
https://cajohare.github.io/AxionLimits/docs/ap.html
Many, more new ideas between 5-30 GHz
9

## Slide 22
Dielectric Fabry-Perot Cavity
10
Operating with the fundamental mode

## Slide 23
Dielectric Fabry-Perot Cavity
10
Operating with the fundamental mode

## Slide 24
Dielectric Fabry-Perot Cavity
Teflon/
Sapphire
stack
10
Operating with the fundamental mode

## Slide 25
Dielectric Fabry-Perot Cavity
Teflon/
Sapphire
stack
10
Operating with the fundamental mode

## Slide 26
Why a dielectric Fabry-Perot Cavity?
11

## Slide 27
Why a dielectric Fabry-Perot Cavity?
At the optimum design frequency,
B
1) Favourable scaling with
Measurement time to scan
Cylindrical cavity
FP mm
FP mm
FP mm
B=10T, Q=106
11
/2

## Slide 28
Why a dielectric Fabry-Perot Cavity?
At the optimum design frequency,
1) Favourable scaling with
Measurement time to scan
Cylindrical cavity
FP mm
FP mm
FP mm
B=10T, Q=106
S. Kuhr et al., Appl. Phys. Lett. 90, 164101 (2007)
Q=4.2x1010
2) High Q possible in this open geometry
11
B
/2

## Slide 29
Why a dielectric Fabry-Perot Cavity?
At the optimum design frequency,
1) Favourable scaling with
Measurement time to scan
Cylindrical cavity
FP mm
FP mm
FP mm
B=10T, Q=106
S. Kuhr et al., Appl. Phys. Lett. 90, 164101 (2007)
Q=4.2x1010
2) High Q possible in this open geometry
3) High B-field compatible
Dielectric Bragg mirrors
All dielectric design – ultralow loss even in high B field
Large sapphire wafers available: 10-12 inch
Less likely to crack under differential expansion
11
B
/2

## Slide 30
Why a dielectric Fabry-Perot Cavity?
At the optimum design frequency,
1) Favourable scaling with
Measurement time to scan
Cylindrical cavity
FP mm
FP mm
FP mm
B=10T, Q=106
S. Kuhr et al., Appl. Phys. Lett. 90, 164101 (2007)
Q=4.2x1010
2) High Q possible in this open geometry
3) High B-field compatible
Dielectric Bragg mirrors
All dielectric design – ultralow loss even in high B field
Large sapphire wafers available: 10-12 inch
Less likely to crack under differential expansion
Other considerations: Frequency adjustment easy, relatively compact, broad tuning range, easy to model, simulate and measure electric fields.
11
B
/2

## Slide 31
2 inch prototype
12
Initial testing at room temperature and 4K.

## Slide 32
Characterising cavity
13

## Slide 33
Characterising cavity
Simulations
13

## Slide 34
Characterising cavity
Simulations
q=1
q=2
q=3
q=4
q=5
13

## Slide 35
Characterising cavity
Simulations
q=1
q=2
q=3
q=4
q=5
13

## Slide 36
Characterising cavity
Simulations
Measured
q=1
q=2
q=3
q=4
q=5
13

## Slide 37
Measuring Quality factor
14

## Slide 38
Measuring Quality factor
14

## Slide 39
Measuring Quality factor
Measured Q factor in excess of 100,000
14

## Slide 40
Measuring Quality factor
Measured Q factor in excess of 100,000
14
Q factor vs layers in Bragg mirror
Experiment
Simulations

## Slide 41
Cavity Modes
15

## Slide 42
Cavity Modes
GHz
GHz
GHz
15

## Slide 43
Cavity Modes
GHz
GHz
GHz
15

## Slide 44
Axion haloscope
16
Problem 1: Decreasing volume
(and Q factor)

## Slide 45
Axion haloscope
Problem 2: Increasing noise
16
Problem 1: Decreasing volume
(and Q factor)

## Slide 46
Increasing noise
S. K. Lamoreaux, et al., Phys. Rev. D 88, 035020 (2013)
Classical readout: linearly amplify signal and use a signal analyzer
Noise from finite temperature
Zero-point noise from using a normal, Gaussian state of the cavity
Fundamental quantum amplification noise limit
Standard Quantum Limit (SQL)
17

## Slide 47
Increasing noise
S. K. Lamoreaux, et al., Phys. Rev. D 88, 035020 (2013)
Classical readout: linearly amplify signal and use a signal analyzer
Noise from finite temperature
Zero-point noise from using a normal, Gaussian state of the cavity
Fundamental quantum amplification noise limit
Standard Quantum Limit (SQL)
Considering the effect just due to the noise contribution with no decrease in volume
Measurement time to scan
B=10 T, Q =
17
Cylindrical cavity, DFSZ axion

## Slide 48
Photon counting to beat SQL
Standard Quantum Noise Limit
Photon counting
Efficiency
@100 mK
vs.
18
S. K. Lamoreaux, et al., Phys. Rev. D 88, 035020 (2013)
for

## Slide 49
Detecting photons with a single trapped electron
19
S. Peil and G. Gabrielse, Phys. Rev. Lett. 83, 1287 (1999)
D. Hanneke, S. Fogwell Hoogerheide, and G. Gabrielse, PRA 83, 052122 (2011)
A. Cridland, et al., Photonics, 3(4), 59 (2016)
X. Fan, et al., Photonics, Phys. Rev. D 111, 075022 (2025)

## Slide 50
Detecting photons with a single trapped electron
19
S. Peil and G. Gabrielse, Phys. Rev. Lett. 83, 1287 (1999)
D. Hanneke, S. Fogwell Hoogerheide, and G. Gabrielse, PRA 83, 052122 (2011)
A. Cridland, et al., Photonics, 3(4), 59 (2016)
X. Fan, et al., Photonics, Phys. Rev. D 111, 075022 (2025)

## Slide 51
Detecting photons with a single trapped electron
19
Photon counting efficiency
Photon emission rate
Time to scan
S. Peil and G. Gabrielse, Phys. Rev. Lett. 83, 1287 (1999)
D. Hanneke, S. Fogwell Hoogerheide, and G. Gabrielse, PRA 83, 052122 (2011)
A. Cridland, et al., Photonics, 3(4), 59 (2016)
X. Fan, et al., Photonics, Phys. Rev. D 111, 075022 (2025)

## Slide 52
Detecting photons with a single trapped electron
19
Photon counting efficiency
Photon emission rate
Time to scan
S. Peil and G. Gabrielse, Phys. Rev. Lett. 83, 1287 (1999)
D. Hanneke, S. Fogwell Hoogerheide, and G. Gabrielse, PRA 83, 052122 (2011)
A. Cridland, et al., Photonics, 3(4), 59 (2016)
X. Fan, et al., Photonics, Phys. Rev. D 111, 075022 (2025)

## Slide 53
Detecting photons with a single trapped electron
S. Peil and G. Gabrielse, Phys. Rev. Lett. 83, 1287 (1999)
D. Hanneke, S. Fogwell Hoogerheide, and G. Gabrielse, PRA 83, 052122 (2011)
19
Photon counting efficiency
Photon emission rate
Time to scan
A. Cridland, et al., Photonics, 3(4), 59 (2016)
X. Fan, et al., Photonics, Phys. Rev. D 111, 075022 (2025)

## Slide 54
Trapped electrons
20
Cryo infrastructure
Dilution fridge installed October 2024
Base temperature < 50 mK at 2T field
Vibrations at sample space investigated and found to be acceptable
Penning trap
Electron source
Penning trap assembly
Cloud of >1000 electrons

## Slide 55
Next Steps
Test run with 2 inch Fabry-Perot cavity.
Reduce number of electrons trapped to a single electron.
21

## Slide 56
Next Steps
Test run with 2 inch Fabry-Perot cavity.
Reduce number of electrons trapped to a single electron.
Goal: Search
@ DFSZ sensitivity
21

## Slide 57
Thank you for listening
Richard
Thompson
Dr. Kanika
Quantum Enhanced Particle Astrophysics Team
+ Mike Tarbutt
Marios Telemachou & Mingyao Xu
Maddie Fisher
Horacio Septien-Gonzalez
Jiacheng Shi
Marko Wojtkowiak
Shreyak Banhatti
He Zhang
Toren Dofher
JAD
22

## Slide 58
Single photon counters
Solid-state devices
A. Ghirri et al., Sensors 20(14), 4010 (2020)
M. Tada et al., Nuclear Physics B (Proc. Suppl.) 72 164 (1999)
M. Tada et al., Physics Letters A 349 6 488 (2006)
A. V. Dixit, et al., Phys. Rev. Lett. 126 141302 (2021)
Alternative AMO devices
CARRACK I & II Rydberg atoms
Good performance, ultimately effort was not sustained.
Now Rydberg Axions at Yale (RAY) D. Speller, & S. Ghosh