## Slide 1: The electric dipole response of nuclei with Z<50
10th Workshop on Nuclear Level Densities and Gamma Strength – 19 May 2026
TEODORA-MARIA SEBE

## Slide 2
Objectives
1
Determination of the E1 strength
Determination of the dependence of the E1 strength in the transition region from vibrational to rotational nuclei
The low-lying E1 states in the transitional Pd nuclei are expected to be weak and strongly fragmented
Position of the 106Pd nucleus in the nuclear chart (https://www.nndc.bnl.gov/nudat3/)
Potential energy surfaces of the lowest-lying band structures in 106Pd calculated within the tilted-axis cranking model (C.E. He et al., Phys. Rev. C 86, 047302 (2012))

## Slide 3
Investigation method
2
Spectroscopic quantities in NRF experiments:
integrated photonuclear resonance cross sections Is,f
parity quantum numbers π of nuclear levels
γ -ray transition energies Eγ
total level widths Γ
level lifetimes τ
spin quantum numbers J of nuclear levels
decay transition strengths B(Π L; J π → Jf f )
multipole-mixing ratios δ of γ -ray transitions
…

## Slide 4
Experimental Setup
DBS
2
Schematic view of DHIPS (Romig, PhD thesis)
106Pd target
3
130
The NRF experiment has taken place at TU Darmstadt, at DHIPS (Darmstadt High Intensity Photon Setup)
ENDPOINT ENERGY: 8.7 MeV

## Slide 5
106Pd Spectra in the 3.5-7.5 MeV region
4
11B
11B
11B

## Slide 6
106Pd Spectra in the 3.5-7.5 MeV region
4
72 new 106Pd peaks associated to dipole transitions

## Slide 7
NRF Reactions: Number of Target Nuclei
5
Final goal: calculating the integrated cross section
106Pd mass: 0.991(1)g
Number of counts
Fitting
rel

## Slide 8
NRF Reactions: Efficiency calibrations
6
A 56Co source was used for calibrations
GEANT4 simulations were used to determine the efficiency for the rest of the spectra
Number of counts
Fitting
rel
Number of target nuclei
Weighting
Relative efficiency (arb. u)

## Slide 9
NRF Reactions: Photonflux calibrations
Obtained from Schiff's formula
7
Number of counts
Fitting
rel
Number of target nuclei
Weighting
Relative efficiency
GEANT4 Simulations
Photon flux (arb. u)
Energy (MeV)

## Slide 10
NRF Reactions: Angular distribution
8
°
Depends on the spins of the states involved in the cascade
Can be calculated from the theory of electromagnetism and yield for an unpolarized photon beam
3-D plots of the angular distribution of (γ⃗ , γ′ ) NRF intensity about a fully linearly polarized photon beam (Pγ = 1) entering from the left (A. Zilges, , D.L. Balabanski, J. Isaak, N. Pietralla, Progress in Particle and Nuclear Physics 122 (2022) ))
rel

## Slide 11
Single-Escape calibrations
9
Example of width interpretation in case of a 2+ transition and a SE in a peak
+ 2+ transition
Main issue: the first 2+ level is situated at 511.82 keV
Makes it difficult to differentiate between a SE and a transition to the first 2+

## Slide 12
Single-Escape calibrations
10
SE calibration for the detector at 130 degrees
11B
(n,gamma)
SE of the(n,gamma)

## Slide 13
Integrated cross sections
11
The integrated cross section for the excited state – g.s transitions has been calculated, revealing the shape of the PDR.​

## Slide 14
Branching ratios
12
Conditions for a peak to be obtained from a branching transition instead of a ground-state transition:
Branching ratios can be obtained from:
1.The photon emitted after such a branching transitions has the energy Eγ′ ≈ Ei − Ef
2. After looking into the angular distribution, checking if the transition is among the favoured ones

## Slide 15
Branching to other 2+ states - examples
13
5894
1128
511
0
1
2+
2+
0+
4766
7233
1562
1128+1229+1133
511
0
1
2+
2++4++0+
2+
0+
5671
4333
511
0
1
2+
0+
3820

## Slide 16
Branching to other 2+ states - examples
13
5894
1128
511
0
1
2+
2+
0+
4766
7233
1562
1128+1229+1133
511
0
1
2+
2++4++0+
2+
0+
5671
4333
511
0
1
2+
0+
3820
No. transitions to the 1st 2+: 5 (5.37% of the total no. transitions)
No. transitions to the 2nd 2+: 3 (3.22% of the total no. transitions)
No. transitions to the 3rd 2+: 2 (2.15% of the total no. transitions)

## Slide 17
B(E1)
14
The PDR shape can be observed after the final calculations of the reduced dipole transition strength.

## Slide 18
Conclusions and Outlook
15
72 new 106Pd dipole transitions have been uncovered
Preliminary results for the integrated cross section and the reduced transition strength have been calculated
Another experiment at TU Darmstadt will take place this year, at a lower energy, reducing the effects from feeding
In order to determine the parities, another experiment at TUNL Labs is necessary

## Slide 19: Thank you for your attention!

## Slide 20
NRF Reactions: Checkpoint in 11B
9
The angular distributions for the 11B calibration points were calculated and compared to literature values
The results seem to agree