## Slide 1: Optimising Thermal Compensation in Gravitational Wave Detectors
Ruaraidh Dumbreck
Cardiff University

## Slide 2: Test mass Thermal lensing
Thermal lensing produces a distorted wavefront (Wself)
These wavefront distortions will
  Increased asymmetry between the arms
  Higher order spatial mode coupling
  Reduction in stability of cavity control loops
Fig 2: Thermal lensing effect on the wavefront [1]
[1] A. F. Brooks, B. Abbott, M. A. Arain et al “Overview of Advanced LIGO Adaptive Optics,” Applied Optics, vol. 55, p. 8256, Oct. 2016. arXiv:1608.02934
Arm power
Notes: More obvious saggita (edit)

## Slide 3: Thermal compensation System (TCS)
TCS consists of:
  Ring heater
  10 μm CO2 laser system
  Hartmann Wavefront Sensor
Fig 3: Ring heater and the CO2 laser positions and the resulting counteracting wavefront [2]
[2] A. Brooks and A. Heptonstall, “TCS beam shaping: optimum and achievable beam profiles for correcting thermo-refractive lensing (not thermo-elastic surface deformation),”.
Notes: Emphasise that TCS is necessary for detection

## Slide 4: Our research
~ 3 μm laser
  Stabilised intensity
  Noise coupling
  Better power efficiency
COMSOL modelling
Design and build cavity to convert 1550 nm laser light to 3100 nm
Fig 6: Room temperature absorption
spectrum of fused silica [4]
3.1 µm
[4] S. T. Yang, M. J. Matthews, S. Elhadj et al, “Comparing the use of mid-infrared versus far-infrared lasers for mitigating damage growth on fused silica,” Applied Optics, vol. 49, pp. 2606–2616, May 2010. Publisher: Optica Publishing Group.
Notes: Depth vs dn/dt

## Slide 5: Proposed Experiment
3100nm generation cavity
Diagnostic cavity
1550 nm laser light
1550 nm laser light
3100 nm laser light

## Slide 6: Preliminary results
Fig 7a : Laser heating Simulation of Compensating plate using 10 µm laser [5]
Fig 7b : Laser heating Simulation of Compensating plate using 3 µm laser [5]
Surface Temperature (K)
Surface Temperature (K)
Fig 7a : Laser heating Simulation of Compensating plate using 10 µm laser
Fig 7b : Laser heating Simulation of Compensating plate using 3 µm laser