## Slide 1: Measurement of Po electron affinity Proposal by Miranda Nichols and Dag Hanstorp IS728
Carlos M. Fajardo-Zambrano
Jessica Warbinek
CRIS collaboration meeting, February 2026.

## Slide 2: Motivation
Measurements of negative ion’s electron affinity (EA) allows the direct study of electron-electron correlations  benchmark atomic theoretical models beyond the independent particle model.
EA measurements of heavy elements, where relativistic effect are of great importance, is scarce.
Study of Po chemical properties  relevant for Gen IV nuclear reactors and uranium mining
Po- can’t be produce in a conventional LaB6 negative surface ion source  use of double exchange at CRIS
[1] Nichols, M., et al (2023). Measuring the electron affinity of polonium (No. CERN-INTC-2023-011).

## Slide 3: Production of negative ions at CRIS
Produced by double charge exchange with an alkali vapor,
Two-step double charge exchange:
One-step charge exchange:
K
Po+
Po
K
Po+
Po-
Standard CRIS technique
Production of negative ions:
Dependent on ΔE2 = IP – EA
High temperature/density needed
Not so clear ion to negative ion alignment procedure

## Slide 4: Study of negative ions at CRIS
Figures courtesy of Jessica Warbinek
Po-
Po
laser

## Slide 5: Production of negative ions during Po 2025
Heating Up on UO-
Cooling down on UO-
Strange spikes and drops were seen across the run (both heating up and down).
Could be related to the different problems present during the run (ISOLDE vacuum leaks, hanging cable in CB0, …)
Limited number of curves as they require a large time to record, but they all exhibit similar behavior

## Slide 6: Laser photo detachment of Po-
Prediction by theory using relativistic CCSD(T) + Breit +QED corrections
EA = 1.469 eV or 11848 cm-1
Different laser systems implemented:
OPO
Z-cavity
JyvIS
FWHM ~ 100GHz
FWHM ~ 9GHz
FWHM ~ 20MHz
Bare fiber from the laser lab

## Slide 7: EA measurements with the OPO
Given the large linewidth of the OPO two spectrometers were implemented and recorded (5 scans)
Resolution: 0.002nm
Accuracy: 0.1 nm
Range: 450-950 nm
Resolution: 0.5 nm
Accuracy: 0.2 nm
Range: 750-1030 nm
Qmini
Waveye

## Slide 8: Z-cavity EA measurement
Each data point of as an individual scan of ~ 60sec
“Reference” normalization scan were taken every five scans (Po- beam intensity).
Normalized in power, time and incoming beam (interpolation between reference scans)
Special thanks to Dr. Pierre Lassegues
Preliminary

## Slide 9: JyvIS EA measurement
Continuous scan of the EA threshold (normalized in power)
Last scan before complete lost in ISCOOL transmission (17pA before and 1.4 after ISCOOL)  effective premature end of the beamtime
Likely to be dominated by systematic error bars
Special thanks to Dr. Anjali Ajayakumar
Preliminary

## Slide 10: EA measurements
Comparison of measured EA using the different laser systems.
Agreement between theory and experiment of 99.5%.
Laser | EA
OPO | 11905.675(846)
Z-cavity | 11905.743(140)
JyvIS | 11905.631(9)
Preliminary
Results form three different laser systems agree with each other
(Preliminary)

## Slide 11: Systematic errors
Have not been included yet, but some of them are:
ISCOOL voltage offset and variation.
Wavemeter accuracy (Reference diode not recorded - AC trip during the run).
Laser/ion overlapping angle (incoming and exiting laser position were saved ).
Energy shift due to double charge exchange process

## Slide 12: Conclusions and outlook
Electron affinity (EA) of Po- have been successfully measured using three different laser systems with good agreement between them.
No clear production curve of Po- was obtained due to beam instabilities and ISOLDE disturbances.
Isotope shift measurements in negative ions  higher sensitivity to the specific mass shift (due to electron correlations).
Study of other proposed negative ions, e.g., Fr.

## Slide 13: Acknowledgments

## Slide 14: Thanks for your attention

## Slide 15: Beam fluctuations at the end of the beamtime
Fluctuations in the target voltage induced a 20% beam variation in the total beam faraday cup  produced a change of 100% the beam before ISCOOL every ~2 min
Total beam
Beam before ISCOL
Could only be solved after fully re-booting the target heating (cooling the target down and heating up)

## Slide 16: Electron affinity of UO
One quick scan of UO- electron affinity before going for Po-
Considerably discrepancy with literature 9200(6) cm-1
[2] Czekner, J., Lopez, G. V., & Wang, L. S. (2014). High resolution photoelectron imaging of UO− and UO2− and the low-lying electronic states and vibrational frequencies of UO and UO2. The Journal of Chemical Physics, 141(24).

## Slide 17: Counts per 100 sec JyvIS scan
No clear drop in counts during the scan despite zero transmission through ISCOOL in the following hour. Thus, all the data has been included for the fitting.