## Slide 1: Potential LS3 offline campaign Proposal by CRIS local team
Carlos M. Fajardo-Zambrano
Osama Ahmad
Jessica Warbinek
CRIS collaboration meeting, February 2026.

## Slide 2: Motivation
Measurements at CRIS rely on the use of lasers to excite the electron from a lower state to an upper state  limited by transition strength / selection rules
Stimulated de-excitation have already been implemented before [1,2].
Allow the access to electronic state that couldn't be reach before  relevant for nuclear structure (state sensitivity) and beyond the standard model studies
133Cs as a good test case for a potential experiment in Fr (see Pierre’s talk on Fr!).
[1] Day, J. O., Brekke, E., & Walker, T. G. (2008). Dynamics of low-density ultracold Rydberg gases. Physical Review A—Atomic, Molecular, and Optical Physics, 77(5), 052712.
[2] Comparat, D., & Malbrunot, C. (2019). Laser-stimulated deexcitation of Rydberg antihydrogen atoms. Physical Review A, 99(1), 013418.

## Slide 3: First possible scheme
6 2S1/2
IP
361.2497 nm
1064
b)
Double Z-cavity
6 2S1/2
IP
361.2497 nm
1064 nm
9 2P3/2
a)
31408.4677 cm-1
27681.6782 cm-1
14499.2568 cm-1
2P_3/2
5 2D3/2
758.5860 nm (OPO ~ 100GHz)
A = 1.4e5
Ground state
The “Lambda scheme”
[3] Figure courtesy of Pierre Lassegues for Francium
[3]
First signal scheme
133Cs
133Cs

## Slide 4: 5 2D state spectroscopy using first step
7 2S1/2
IP
361.2497 nm
532 nm/OPO
c)
Double Z-cavity
14499.2568 cm-1
9 2P3/2
5 2D3/2
758.5860 nm
Grating
Ground state
133Cs

## Slide 5: Second possible scheme
6 2S1/2
IP
387.7245 nm
1064
b)
Double Z-cavity
6 2S1/2
IP
387.7245 nm
1064 nm
8 2P3/2
a)
31408.4677 cm-1
25791.508 cm-1
14499.2568 cm-1
8 2P3/2
5 2D3/2
885.563 nm (OPO ~ 100GHz)
A = 3.9e5
Ground state
First signal scheme
The “Lambda scheme”
133Cs
133Cs

## Slide 6: Summary
Two possible first steps 361 or 387 nm (similar strength)
Second step can end in either 5 2D3/2 or 5 2D5/2 (all shown are 5 2D3/2)
Last step is either 1064 nm or 532nm/OPO
6 2S1/2
IP
361.2497 nm
1064
Double Z-cavity
14499.2568 cm-1
9 2P3/2
5 2D3/2
758.5860 nm
6 2S1/2
IP
387.7245 nm
1064
Double Z-cavity
14499.2568 cm-1
5 2D3/2
885.563 nm
8 2P3/2
133Cs
133Cs

## Slide 7: Considerations
Schemes have been chose based on available lasers and their power
Laser paths are ready-ish and laser (if lasing) are close in wavelength.
We will need help from experience users to take shifts (7am-3pm, 3pm-11pm)
We could also do a comparison of FIU vs three-step scheme, and background estimation based on source abundances 1 part Cs, 4 parts Rb and 20 parts K.

## Slide 8: Thanks for your attention

## Slide 9: D state using second step
6 2S1/2
IP
387.7245 nm
532 nm/OPO
c)
Grating
Double Z-cavity
14499.2568 cm-1
8 2P3/2
5 2D3/2
885.563 nm
Ground state