## Slide 1: CadTool - a end-to-end x-ray/gamma-ray solid state detector simulation framework
J.F. Sousa1, A. Meuris2, D. Baudin3, H. Allaire2, 4, O. Limousin2, R. Le Breton3
1 Université Paris-Saclay, CEA IRFU, AIM
2 Université Paris-Saclay, Université Paris Cité, CEA, CNRS, AIM
3 CEA IRFU, Université Paris Saclay
4 Kavli IPMU (WPI), UTIAS, The University of Tokyo

## Slide 2
2
Context
The need of a Simulation Tool
SPARK
Solar Physics
~150 keV
CdTe 1 mm
250 µm x 250 µm
Present
2026
Future
2030’s
Solar Orbiter / STIX
PADRE Nanosat
PHEMTO
High-Energy Astrophysics
~600 keV
Thick CZT (10 mm)
<300 μm Δxy (Laue Lenses imaging)
1) Understanding detector effects
2) Evaluating detector configuration (pixel pattern)
3) Design new readout techniques
4) Modeling detector response (science)
Simulation Tool helps with
M8 Proposals
26/03/2026

## Slide 3
3
Context
The need of a Simulation Tool
SPARK
Solar Physics
~150 keV
CdTe 1 mm
250 µm x 250 µm
Present
2026
Future
2030’s
Solar Orbiter / STIX
PADRE Nanosat
PHEMTO
High-Energy Astrophysics
~600 keV
Thick CZT (10 mm)
<300 μm Δxy (Laue Lenses imaging)
1) Understanding detector effects
2) Evaluating detector configuration (pixel pattern)
3) Design new readout techniques
4) Modeling detector response (science)
Simulation Tool helps with
M8 Proposals
26/03/2026
PhD

## Slide 4
4
26/03/2026
1. Simulation Tool Requirements
Inputs
Physics
Outputs
2. Detector Physics
Geometry and Fields
Charge cloud dynamics
Electrode induced charge
3. Events List Generator
Monte-Carlo events
Detector Spectra
4. Tool Validation
Low Energy
High Energy
5. Examples
3D
Transient signals
Outline

## Slide 5
5
Electric Field and Potential
Weighting Potential
Charge Drift
- Trapping
- Diffusion
- Repulsion
Detector Parameters
Material, Pixel/Strip, Bias, Mobility, Lifetime, Fano
Enviroment Geometry
Box, Passive material, collimator, etc
Source Configuration
Geometry, Energy, Intensity
Photon-matter interaction
Electrode charge induced
Electronics
ENC, ADC range, Threshold
Front-end & Back-end electronics
Data analysis
- images
- spectrum
- lightcurve
- response matrix
Transient Signals
- Charge profile
- Current profile
Inputs
Detector Physics
Event list generation
Outputs
26/03/2026
Context
Simulation Tool Requirements

## Slide 6
6
Electric Field and Potential
Weighting Potential
Charge Drift
- Trapping
- Diffusion
- Repulsion
Detector Parameters
Material, Pixel/Strip, Bias, Mobility, Lifetime, Fano
Enviroment Geometry
Box, Passive material, collimator, etc
Source Configuration
Geometry, Energy, Intensity
Photon-matter interaction
Electrode charge induced
Electronics
ENC, ADC range, Threshold
Front-end & Back-end electronics
Data analysis
- images
- spectrum
- lightcurve
- response matrix
Transient Signals
- Charge profile
- Current profile
Inputs
Detector Physics
Event list generation
Outputs
26/03/2026
Context
Simulation Tool Requirements

## Slide 7
7
Electric Field and Potential
Weighting Potential
Charge Drift
- Trapping
- Diffusion
- Repulsion
Detector Parameters
Material, Pixel/Strip, Bias, Mobility, Lifetime, Fano
Enviroment Geometry
Box, Passive material, collimator, etc
Source Configuration
Geometry, Energy, Intensity
Photon-matter interaction
Electrode charge induced
Electronics
ENC, ADC range, Threshold
Front-end & Back-end electronics
Data analysis
- images
- spectrum
- lightcurve
- response matrix
Transient Signals
- Charge profile
- Current profile
Inputs
Detector Physics
Event list generation
Outputs
26/03/2026
Context
Simulation Tool Requirements

## Slide 8
solidstatedetectors.jl library
Geometry definition: planar, pixel, strip
8
Cadtool
Geometry and Fields
Caliste-O
2mm CdTe pixel 800µm
26/03/2026

## Slide 9
9
solidstatedetectors.jl library
Geometry definition: planar, pixel, strip
Electric field (Poisson FEM)
Input for charge dynamics
Caliste-O
2mm CdTe pixel 800µm
Cadtool
Geometry and Fields
26/03/2026

## Slide 10
10
solidstatedetectors.jl library
Geometry definition: planar, pixel, strip
Electric field (Poisson FEM)
Caliste-O
2mm CdTe pixel 800µm
Input for charge dynamics
Cadtool
Geometry and Fields
26/03/2026

## Slide 11
11
solidstatedetectors.jl library
Geometry definition: planar, pixel, strip
Electric field (Poisson FEM)
Weighting Potential
Caliste-O
Shockley-Ramo Theorem
Charge at electrode
Moving charge
Electrode Weighting Potentiel
Cadtool
Geometry and Fields
26/03/2026
2mm CdTe pixel 800µm
Z(mm)
Y(mm)

## Slide 12
12
solidstatedetectors.jl library
Geometry definition: planar, pixel, strip
Electric field (Poisson FEM)
Weighting field
Caliste-O
Cadtool
Geometry and Fields
26/03/2026
2mm CdTe pixel 800µm
Shockley-Ramo Theorem
Charge at electrode
Moving charge
Electrode Weighting field

## Slide 13
12b
Cadtool
Charge Cloud Dynamics
Charge Drift Model:
  [Benoit & Hamel, 2009] diffusion and repulsion spherical model
Caliste-O
2mm CdTe pixel 800µm
Induced charge on electrodes
122 keV
e-
h+

## Slide 14
Cadtool
Charge Cloud Dynamics
Charge Drift Model:
  [Benoit & Hamel, 2009] diffusion and repulsion spherical model
Caliste-O
2mm CdTe pixel 800µm
Induced charge on electrodes
e-
h+
14

## Slide 15
15
Cadtool
Charge Cloud Dynamics
Charge Drift Model:
  [Benoit & Hamel, 2009] diffusion and repulsion spherical model
  Initial Radius:
  GATE photoelectron path simulation
Caliste-O
26/03/2026
2mm CdTe pixel 800µm
700 keV
Y(mm)
X(mm)
Z(mm)
Z(mm)
X(mm)
X(mm)

## Slide 16
16
Cadtool
Charge Cloud Dynamics
Charge Drift Model:
  [Benoit & Hamel, 2009] diffusion and repulsion spherical model
  Initial Radius:
  GATE photoelectron path simulation
Caliste-O
26/03/2026
2mm CdTe pixel 800µm
x
y
z

## Slide 17
17
Cadtool
Charge Cloud Dynamics
Charge Drift Model:
  [Benoit & Hamel, 2009] diffusion and repulsion spherical model
  Initial Radius:
  GATE photoelectron path simulation
  Trapping:
  0-1 random probability by time-step
Caliste-O
2mm CdTe pixel 800µm

## Slide 18
18
Cadtool
Charge Cloud Dynamics
Charge Drift Model:
  [Benoit & Hamel, 2009] diffusion and repulsion spherical model
  Initial Radius:
  GATE photoelectron path simulation
  Trapping:
  0-1 random probability by time-step
Sanity Check : Hecht relations
Caliste-O
2mm CdTe pixel 800µm

## Slide 19
19
Cadtool
Simulation Tool
Electric Field and Potential
Weighting Potential
Charge Drift
- Trapping
- Diffusion
- Repulsion
Detector Parameters
Material, Pixel/Strip, Bias, Mobility, Lifetime, Fano
Enviroment Geometry
Box, Passive material, collimator, etc
Source Configuration
Geometry, Energy, Intensity
Photon-matter interaction
Electrode charge induced
Electronics
ENC, ADC range, Threshold
Front-end & Back-end electronics
Data analysis
- images
- spectrum
- lightcurve
- response matrix
Transient Signals
- Charge profile
- Current profile
Inputs
Detector Physics
Event list generation
Outputs
26/03/2026

## Slide 20
20
Cadtool
Charge Induced Efficiency
Charge Induced Efficiency (CIE):
  Create 3D mesh of section of detector
  Drift charges for each point
Main pixel
Main pixel
Main pixel
Caliste-O
Event location
2mm CdTe pixel 800µm

## Slide 21
21
Cadtool
Charge Induced Efficiency
Charge Induced Efficiency (CIE):
  Create 3D mesh of section of detector
  Drift charges for each point
Main pixel
Main pixel
Main pixel
Caliste-O
2mm CdTe pixel 800μm
pixel

## Slide 22
22
Cadtool
Simulation Tool Requirements
Electric Field and Potential
Weighting Potential
Charge Drift
- Trapping
- Diffusion
- Repulsion
Detector Parameters
Material, Pixel/Strip, Bias, Mobility, Lifetime, Fano
Enviroment Geometry
Box, Passive material, collimator, etc
Source Configuration
Geometry, Energy, Intensity
Photon-matter interaction
Electrode charge induced
Electronics
ENC, ADC range, Threshold
Front-end & Back-end electronics
Data analysis
- images
- spectrum
- lightcurve
- response matrix
Transient Signals
- Charge profile
- Current profile
Inputs
Detector Physics
Event list generation
Outputs
26/03/2026
✅

## Slide 23
23
Cadtool
Simulation Tool Requirements
Electric Field and Potential
Weighting Potential
Charge Drift
- Trapping
- Diffusion
- Repulsion
Detector Parameters
Material, Pixel/Strip, Bias, Mobility, Lifetime, Fano
Enviroment Geometry
Box, Passive material, collimator, etc
Source Configuration
Geometry, Energy, Intensity
Photon-matter interaction
Electrode charge induced
Electronics
ENC, ADC range, Threshold
Front-end & Back-end electronics
Data analysis
- images
- spectrum
- lightcurve
- response matrix
Transient Signals
- Charge profile
- Current profile
Inputs
Detector Physics
Event list generation
Outputs
26/03/2026

## Slide 24
24
Cadtool
Event List Generation
Main pixel
Main pixel
Main pixel
Symmetric CIEs
241Am
241Am + CIE
4 Multiplicity limit
Source Configuration
26/03/2026

## Slide 25
25
Cadtool
Event List Generation
Main pixel
Main pixel
241Am + CIE
241Am, readout list
Electronic readout
Output a readout list
Time
List of electrode index
List of PHA (in ADU)
Front-end characteristics:
ADC, Threshold, filter
ENC, timing, deadtime
Back-end characteristics:
File format
*Modular Configuration*
Our use case
26/03/2026

## Slide 26
26
Cadtool
Simulation Tool Requirements
Electric Field and Potential
Weighting Potential
Charge Drift
- Trapping
- Diffusion
- Repulsion
Detector Parameters
Material, Pixel/Strip, Bias, Mobility, Lifetime, Fano
Enviroment Geometry
Box, Passive material, collimator, etc
Source Configuration
Geometry, Energy, Intensity
Photon-matter interaction
Electrode charge induced
Electronics
ENC, ADC range, Threshold
Front-end & Back-end electronics
Data analysis
- images
- spectrum
- lightcurve
- response matrix
Transient Signals
- Charge profile
- Current profile
Inputs
Detector Physics
Event list generation
Outputs
26/03/2026
✅

## Slide 27
27
Cadtool
Low Energy Validation
Main pixel
Main pixel
Mini-CdTe on Chip (MC2)-1K
32 x 32 pixels,
8 x 8 mm2 sensitive area
1 mm-thick
Schottky-diode type CdTe
250 μm pixel pitch
241Am Single Events Spectra
< 100 keV
26/03/2026
HV: -400 V, Temperature: + 4°C, Peaking time: 3.6 μs
FWHM @ 60 keV: 910 ± 15 eV

## Slide 28
28
Cadtool
Low Energy Validation
Main pixel
Main pixel
241Am Single Events Spectra
4 Multiplicity limit
241Am Single Events Spectra
< 100 keV
CIE limit
26/03/2026
HV: -400 V, Temperature: + 4°C, Peaking time: 3.6 μs
FWHM @ 60 keV: 910 ± 15 eV
Mini-CdTe on Chip (MC2)-1K
32 x 32 pixels,
8 x 8 mm2 sensitive area
1 mm-thick
Schottky-diode type CdTe
250 μm pixel pitch

## Slide 29
29
Cadtool
High Energy Validation
Main pixel
Charge loss tail looks good
ENC badly modeled / Bad calibration
(user problem)
< 1 MeV
Caliste-O
Didn't put Cs daughter fluorescence on Simulation source
133Ba
2mm CdTe pixel 800µm

## Slide 30
30
Cadtool
High Energy Validation
Main pixel
Main pixel
*Work in progress*
Real Caliste-O data
Simulated Caliste-O data
Caliste-O
26/03/2026
137Cs
137Cs
2mm CdTe pixel 800µm

## Slide 31
31
Cadtool
Simulation Tool Requirements
Electric Field and Potential
Weighting Potential
Charge Drift
- Trapping
- Diffusion
- Repulsion
Detector Parameters
Material, Pixel/Strip, Bias, Mobility, Lifetime, Fano
Enviroment Geometry
Box, Passive material, collimator, etc
Source Configuration
Geometry, Energy, Intensity
Photon-matter interaction
Electrode charge induced
Electronics
ENC, ADC range, Threshold
Front-end & Back-end electronics
Data analysis
- images
- spectrum
- lightcurve
- response matrix
Transient Signals
- Charge profile
- Current profile
Inputs
Detector Physics
Event list generation
Examples
Outputs
26/03/2026

## Slide 32
26/03/2026
32
Cadtool
Possible use case, 3D compensation
Main pixel
Main pixel
*Specially when there is small pixel effect*
Caliste-O
2mm CdTe pixel 800µm

## Slide 33
28/10/2022
33
Cadtool
Possible use case, 3D compensation
Main pixel
Main pixel
Pre-Correction
After Correction
Caliste-O
26/03/2026
137Cs
662 keV
2mm CdTe pixel 800µm
Simulation data
Simulation data
137Cs
662 keV
*Specially when there is small pixel effect*

## Slide 34
34
Cadtool
Possible use case, 3D compensation
Main pixel
Main pixel
133Ba
137Cs
Caliste-O
26/03/2026
How much can we improve spectral response with cathode readout?
Simulation data
~66% improvement
2mm CdTe pixel 800µm
Simulation data
*Specially when there is small pixel effect*

## Slide 35
35
Cadtool
Transient Curves
Main pixel
Main pixel
Main Pixel Charge Curve
Side Neighbour Curve
Can we use side neighbor Max/Min for 3D?
Caliste-O
26/03/2026
Input for electronics simulator
Cadence, SPICE
2mm CdTe pixel 800µm
Simulation data
Simulation data

## Slide 36
36
Cadtool
Transient Curves
Main pixel
Main pixel
Main Pixel Charge Curve
Side Neighbour Curve
Can we use side neighbour Max/Min for 3D?
Caliste-O
26/03/2026
Input for electronics simulator
Cadence, SPICE
Which gives best performance, cathode or side neighbour?
2mm CdTe pixel 800µm
Simulation data
Simulation data

## Slide 37
37
Future Work
Main pixel
Main pixel
Development
Validation
Larger CIE area
Implement Elipsoidal Charge Cloud
High Energy multiplicity with Caliste-O CdTe
(ongoing)
Cathode side spectra with readout on Caliste-O (ongoing)
Validate charge cloud model ESRF (LIP Coimbra - Timepix3) and SPRING8 data (IPMU Tokyo - Strip)
Transient curves with real 5mm CZT integrated with TIA – anode and cathode
26/03/2026

## Slide 38
38
Future Work
Main pixel
Main pixel
Development
Validation
Larger CIE area
Implement Elipsoidal Charge Cloud
High Energy multiplicity with Caliste-O CdTe
(ongoing)
Cathode side spectra with readout on Caliste-O (ongoing)
Validate charge cloud model ESRF (LIP Coimbra - Timepix3) and SPRING8 data (IPMU Tokyo - Strip)
Transient curves with real 5mm CZT integrated with TIA – anode and cathode
26/03/2026
4 Multiplicity limit

## Slide 39
39
Future Work
Main pixel
Main pixel
Development
Validation
Larger CIE area
Implement Elipsoidal Charge Cloud
High Energy multiplicity with Caliste-O CdTe
(ongoing)
Cathode side spectra with readout on Caliste-O (ongoing)
Validate charge cloud model ESRF (LIP Coimbra - Timepix3) and SPRING8 data (IPMU Tokyo - Strip)
Transient curves with real 5mm CZT integrated with TIA – anode and cathode
26/03/2026

## Slide 40
40
Future Work
Main pixel
Main pixel
Development
Validation
Larger CIE area
Implement Elipsoidal Charge Cloud
High Energy multiplicity with Caliste-O CdTe
(ongoing)
Cathode side spectra with readout on Caliste-O (ongoing)
Validate charge cloud model ESRF (LIP Coimbra - Timepix3) and SPRING8 data (IPMU Tokyo - Strip)
Transient curves with real 5mm CZT integrated with TIA – anode and cathode
26/03/2026
Real Caliste-O data
Simulated Caliste-O data

## Slide 41
41
Future Work
Main pixel
Main pixel
Development
Validation
Larger CIE area
Implement Elipsoidal Charge Cloud
26/03/2026
133Ba
High Energy multiplicity with Caliste-O CdTe
(ongoing)
Cathode side spectra with readout on Caliste-O (ongoing)
Validate charge cloud model ESRF (LIP Coimbra
- Timepix3) and SPRING8 data (IPMU Tokyo -
Strip)
Transient curves with real 5mm CZT integrated with TIA – anode and cathode

## Slide 42
42
Future Work
Main pixel
Main pixel
Development
Validation
Larger CIE area
Implement Elipsoidal Charge Cloud
High Energy multiplicity with Caliste-O CdTe
(ongoing)
Cathode side spectra with readout on Caliste-O (ongoing)
Validate charge cloud model ESRF (LIP Coimbra - Timepix3) and SPRING8 data (IPMU Tokyo - Strip)
Transient curves with real 5mm CZT integrated with TIA – anode and cathode
26/03/2026
ESRF Beam
(scan)

## Slide 43
43
Future Work
Main pixel
Main pixel
Development
Validation
Larger CIE area
Implement Elipsoidal Charge Cloud
High Energy multiplicity with Caliste-O CdTe
(ongoing)
Cathode side spectra with readout on Caliste-O (ongoing)
Validate charge cloud model ESRF (LIP Coimbra - Timepix3) and SPRING8 data (IPMU Tokyo - Strip)
Transient curves with real 5mm CZT integrated with TIA – anode and cathode
26/03/2026
CZT 5/10mm

## Slide 44
44
Future use of CadTool
Main pixel
Main pixel
26/03/2026
My PhD
Thick CZT (10mm)
Cathode readout
3D sensing
Subpixel with transient signals
Detector Community
Public Release
3Q 2026
https://github.com/hallaire/CadTool

## Slide 45: CadTool - a end-to-end x-ray/gamma-ray solid state detector simulation framework
J.F. Sousa1, A. Meuris2, D. Baudin3, H. Allaire2, 4, O. Limousin2, R. Le Breton3
1 Université Paris-Saclay, CEA IRFU, AIM
2 Université Paris-Saclay, Université Paris Cité, CEA, CNRS, AIM
3 CEA IRFU, Université Paris Saclay
4 Kavli IPMU (WPI), UTIAS, The University of Tokyo

## Slide 46
46
references
26/03/2026
Benoit, M., & Hamel, L. A. (2009). Simulation of charge collection processes in semiconductor CdZnTe γ-ray detectors. Nuclear Instruments & Methods in Physics Research. Section A, Accelerators, Spectrometers, Detectors and Associated Equipment, 606(3), 508–516. doi:10.1016/j.nima.2009.04.019
I. Abt et al., ‘Simulation of semiconductor detectors in 3D with SolidStateDetectors.jl’, J. Instrum., vol. 16, no. 08, p. P08007, Aug. 2021.
H. Allaire, PhD thesis, Université de Paris, 2023