## Slide 1: GRASIAN: Progress Toward Observing Gravitational Quantum States of Atoms
75th Annual Meeting of the Austrian Physical Society
Victoria Kletzl-Teuffenbach on behalf of the GRASIAN collaboration

## Slide 2: The GRASIAN Collaboration
Using variety of simple neutral systems
  (Anti)-Hydrogen
  Neutrons
  Positronium
  Muonium
To test:
  new short-range forces
  violations of the weak equivalence principle
  Lorentz invariance
  CPT symmetry
  gravitational constant
  search for the electric charge of the neutron

## Slide 3: Gravitational Quantum States
GQS: Particles are held in potential well:
  Perfectly reflecting surface (“Mirror”)
  Gravitational Potential:
For hydrogen:
  macroscopic spatial heights
  Eigenenergies
Killian, C. et al. 2023.

## Slide 4: GQS Measurement principle
Add Scatter above the mirror → state selection depending on distance
Variation of slit width for state selection
Measure the number of atoms as a function of → stepwise increase

## Slide 5: Quantum Reflections
Purely quantum mechanical phenomenon
Reflection from attractive Casimir-Polder potential at
Potential can be modelled with
Probability given by:
Reflection Probability depends on:
  Atom properties
  Surface properties
Crépin, P.-P. et al. 2023.

## Slide 6: Quantum Reflections
Observed for H atoms over liquid He-surface
Observed for heavier atoms above solid surfaces
H above silicon (Si) surface:
    Never measured before!
    Higher QR probabilities expected than for heavier atoms!
    QR probability > 90 % for < 7 cm/s above Si surface
Quantum reflection probability R (calculated from model potential) as a function of the incident velocity for hydrogen above different surfaces (top) and different atoms above silicon (bottom).

## Slide 7: Hydrogen Beam Experimental Setup
Coldhead 1 → 6-30K
Hydrogen Plasma
chopper
slits
pipe apertures
GQS spectrometer
Coldhead 2 → 9K
MCP
H-beam
UV Laser Beam

## Slide 8: Hydrogen Beam Experimental Setup
Coldhead 1 → 6-30K
Hydrogen Plasma
chopper
Slits (not used)
pipe apertures
GQS chamber
Coldhead 2 → 9K
MCP
H-beam
UV Laser Beam

## Slide 9: Installation of GQS Spectrometer – July 2025
Silicon Mirror + Absorber separated by 200 µm spacers were inserted
Mirror
Scatterer

## Slide 10: First Measurements with Spectrometer
Recorded vertical profiles for different ToF (horizontal velocity )
Double peak structure appeared for low
Preliminary
Preliminary
Preliminary

## Slide 11: First Observation of QR!
Preliminary
Scatterer
Mirror

## Slide 12: Measurement of the Reflection Coefficient
Goal: Measure at different perpendicular velocities
Vary the delay between chopper opening and laser pulse (longitudinal velocities)
Vary the angle of incidence (perpendicular velocities)
Use measurement matrix to extract !

## Slide 13: Quantum refection of and
  Hydrogen
  Deuterium
PRELIMINARY
PRELIMINARY

## Slide 14: Isotope Shift of
PRELIMINARY

## Slide 15: Summary & Outlook
Quantum reflection of and off Si surface for the first time
Reflection coefficients smaller than predicted by theory
First ever isotope comparison for
  Agreement with theory
For future GQS measurements
  Increased statistics
  Understand reduced QR
  Reduce vertical velocity

## Slide 16: Backup

## Slide 17: QR Analysis
Based on classical trajectory simulations given by
Trajectories hitting apertures are discarded
Atoms hitting the mirror surface:
Nozzle + Heatshield
Pipe aperture (PA) 1
Pipe aperture (PA) 2
Pipe aperture (PA) 3
Chopper
Slit 1
Slit 2
Heatshields
CH2
GQS spectrometer

## Slide 18: QR Analysis: Initial Beam Properties
Initialize an atomic ensemble with MB distributions for , a Gaussian distribution for , and
The vertical distribution is defined as a Gaussian profile
  (nozzle opening)

## Slide 19: QR Analysis: Trajectories
Velocity distribution is defined by chopper delay
  , m/s
Velocity distribution is defined by Gaussian distribution
  m/s, m/s
Starting height is defined by the slit size
  mm, mm

## Slide 20: QR Analysis: Parameters
Geometrical parameters:
  Vertical offset of chopper from beam axis
  Vertical offset of GQS spectrometer compared to beam axis
  Exact horizontal position of GQS spectrometer along the beamline
  Angles of the different angle settings
  Pivot point of mirror rotation
  Tilts along third (“y”) axis
Other parameters
  Mapping constant
  Laser beam waist
  Vertical velocity spread
Fit parameters
  Scaling of the curves
  QR probability
VARIED BY PARAMETER SCAN
VARIED BY PARAMETER SCAN

## Slide 21: QR Analysis: Global Fit
Reflected Peak
Direct Peak
Combine all measurements performed for or
Every trajectory simulation is fitted to the respective dataset with 2 parameters:
  Overall scaling A : only applied to direct peak
  Reflection probability R: only applied to reflected peak
Variation of all parameters: Repeating the trajectory simulation for all parameter combinations, fitting A and R after every iteration Optimum at min
Post processing: using exported parameter scans results to find parameter-uncertainty-dependent uncertainty of R

## Slide 22: QR Analysis: Parameters
Geometrical parameters:
  Vertical offset of chopper from beam axis
  Vertical offset of GQS spectrometer compared to beam axis
  Exact horizontal position of GQS spectrometer along the beamline
  Angles of the different angle settings
  Pivot point of mirror rotation
  Tilts along third (“y”) axis
Other parameters
  Mapping constant
  Laser beam waist
  Vertical velocity spread
Fit parameters
  Scaling of the curves
  QR probability