## Slide 1: TPCs: Past, Present, and Futures
Lior Arazi
Ben-Gurion University
SARAF TPC Day Workshop, Feb 19, 2026

## Slide 2: Majorana neutrinos?
Neutrino oscillation experiments tell us that neutrinos have a tiny but non-zero mass.
This opens the possibility that neutrinos are Majorana fermions, i.e., “their own antiparticles”.
Majorana neutrinos, together with CP violation in the neutrino sector, are key ingredients necessary for leptogenesis as an elegant explanation of the matter-antimatter asymmetry in the Universe.
Neutrinoless double beta decay () can occur only if neutrinos are Majorana fermions.
Searches for are the most promising way to prove the Majorana nature of neutrinos.

## Slide 3: Normal double beta decay
: two neutrons simultaneously convert into two protons with the emission of two electrons and two antineutrinos
Allowed by the Standard Model
, can be Dirac or Majorana
Observed in 11 even-even isotopes
Half lives of ~1018-1021 y
Q-value shared among 4 particles
e-
e-
ne
_
ne
_

## Slide 4: Neutrinoless double beta decay
: two neutrons simultaneously convert into two protons with the emission of two electrons and no antineutrinos
BSM process
, must be Majorana (“its own antiparticle”)
Not observed
Half lives of >3.8·1026 y
Electrons kinetic energy = Q-value
e-
e-
ne
_
ne
_

## Slide 5: vs.
counts
Total electron kinetic energy
can only occur in nuclei with , with relative rate
Q-value shared among 4 particles
Q-value shared among 2 e-

## Slide 6: The challenge of next generation experiments
Lifetime ~1027-1028 years. For 136Xe: 0.3-3 events/tonne/yr
Next generation:

## Slide 7: It’s all about mass
and backgrounds

## Slide 8: Backgrounds
  Sources of background:
  Natural radioactivity
  Cosmogenic activation of detector materials
  leakage into the ROI
Background suppression requires:
  Running underground
  Shielding against external radiation
  Radiopure detector materials
  Excellent energy resolution
  Additional tricks

## Slide 10: NEXT: Neutrino Experiment with a Xenon TPC
Search for in 136Xe in a high-pressure xenon gas time projection chamber (TPC)
Working in gas rather than liquid allows:
    Excellent energy resolution with electroluminescence (demonstrated 1% FWHM at Qββ=2.458 MeV, aiming at 0.5%)
    Track topology: events span ~10 cm (vs. point-like in liquid) allowing signal/background discrimination based on track shape
High pressure required to assemble enough mass in a reasonable volume
Past TPC: NEXT-White (~5 kg of 90% enriched Xe at 10 bar in active volume); Aims: demonstrate the technology on a large scale and measure
Present: NEXT-100 (~60 kg enriched Xe at 10 bar in active volume), commissioned, running at 4 bar.

## Slide 11: Canfranc underground laboratory (LSC)

## Slide 12: NEXT-White outside view
Detector vessel
Lead castle (shield)
Gas system
Data acquisition system

## Slide 13: NEXT principle of operation (demonstrated in NEXT-White)
Horizontal asymmetric TPC
Full of high-purity xenon gas at 10 bar, contained in a high-pressure vessel
Three conductive grids + field cage define two uniform field regions:
  The cathode and gate grids (1.3 m apart) define the drift field
  The gate and anode grids (10 mm apart) define the electroluminescence (EL) field
TPC diameter: 1 m
60 PMTs behind the cathode form the “Energy Plane”.
3,584 SiPMs behind the anode define the “Tracking Plane”
-50kV
-15kV
G
Field cage
Xe gas

## Slide 14: NEXT principle of operation (demonstrated in NEXT-White)
Particle interaction inside Xe releases a fast electron
It excites and ionizes Xe atoms along its track
De-excitation of excited states gives a prompt flash of UV light (“S1”)
S1 is recorded by the PMTs to give the start time of the event
The free ionization electrons drift to the EL gap
When they cross it, they produce a long pulse of EL light (“S2”)
The PMTs use S2 to find the energy of the event
The SiPMs record the light pattern in 2D slices giving the shape (“topology”) of the event
-50kV
-15kV
Primary scintillation (S1)
e-
EL (S2)
G
Field cage
Xe gas

## Slide 15: S1 and S2
The SiPMs are blind to VUV light (which is also strongly attenuated by the PMT protective windows)
Therefore, all inner surfaces of the TPC are coated with tetraphenyl butadiene (TPB) which absorbs UV light and re-emits it as blue light (centered at 430 nm)
S1 has a fast decay component of ~4 ns and a long one of ~100 ns ( integrated over ~300 ns).
S2 lasts from a few µs to ~100 µs. It has a complicated shape, which reflects the time structure of the track

## Slide 16: NEXT-White inner structure
2018 JINST 13 P12010

## Slide 17: NEXT-White in the lab

## Slide 18: NEXT-100
Pressure vessel: St-St, rated for 15 bar
TPC: 97 kg Xe in total, 130 cm drift length
Energy plane: 60 radio-pure PMTs, 30% coverage
Inner shield: 12 cm Cu
Outer shield: lead castle with Rn-free air
Tracking plane: 3584 SiPMs at 1.5 cm pitch
Main goal: demonstrate the technology at the 100 kg scale, expected sensitivity ~1026 y
Background rate: 1 count/ROI/yr. Commissioned, running for now at low pressure (4 bar)

## Slide 19: NEXT-100
Field Cage
Inner Cu shielding
Tracking Plane
Energy Plane
JINST 19 (2024) 02, P02007
EL Grid
Cathode
PMT Window
Gas System
Eur. Phys. J. C 86, 114 (2026)

## Slide 20: NEXT-100
Pressure Vessel
Assembly of energy plate
Field Cage installation
NEXT-100, HV, and cabling
2024-2025: commissioning
2025: calibration/background @ 4 bar
2026-2029: search @ 10 bar

## Slide 21: 3D mapping of the detector response
Precise calibration of the detector requires mapping its S2 response in 3D to point-like events throughout its volume. This is done using 83mKr.
A 83Rb source continuously emits 83mKr into the gas line (83Rb decays to 83mKr by electron capture). 83mKr atoms mix with Xe and fill the TPC.
83mKr decays by isomeric transition to its ground state with a half-life of 1.8 h, emitting 41.6 keV by the emission of x-rays, gamma-rays and Auger electrons.
It allows mapping the xy S2 detector response and electron lifetime.
It also allows extracting the point-spread function (PSF) of the tracking plane.
S2 response
e- lifetime

## Slide 22: Determining the energy resolution by calibration sources
Energy resolution determined using gammas from an external 228Th calibration source
208Tl (DEP)
208Tl (PP)
208Tl
208Tl
208Tl
212Bi
<1% FWHM @

## Slide 23: Topological background suppression
Background events more likely to have multiple tracks  require a single track
Remaining background events have a single electron, with one Bragg peak at the end
ββ events have two Bragg peaks
 Signal/background discrimination by comparing the energy in spherical “blobs” at track ends

## Slide 24: Topological background suppression (ideal MC)
Signal: both blobs have similar energy
Background: one blob has low energy
JHEP 1605 (2016) 159

## Slide 25: Recent progress in track reconstruction
Real e-e+ events recorded and processed by RL deconvolution in NEXT-White
Image deblurring using Richardson-Lucy deconvolution with 83mKr PSF leads to refined 3D track images
JHEP 146 (2021)

## Slide 26: Recent progress in track reconstruction
Real Compton electrons recorded and processed by RL deconvolution in NEXT-White

## Slide 27: NEXT-HD (high definition/density) – baseline concept
1 tonne enriched Xe, 2.6 m ×2.6 m.
Bi-directional symmetric TPC (central cathode)
Tracking + energy by 105 SiPMs read out by in-vessel electronics (no PMTs)
S1 + additional energy measurement using wavelength shifting fibers along the TPC barrel, read out by ~500 cooled SiPMs
Possibly low-diffusion gas mixture (e.g., Xe/He 85/15) to further improve topology.
Baseline option – room temperature operation (except fiber SiPMs). Also considering immersion in a cryogenic fluid to run col (~230 K).
Well-understood background model (radiogenic + cosmogenic activation of Cu and 136Xe)
Expected sensitivity at 10 tonne-yr:
JHEP 2021 164 (2021)
cathode
gate + anode
gate + anode
SiPMs
SiPMs

## Slide 28: NEXT-HD
Baseline design:
Pitch: 10 mm
8x8 SiPM “dice boards”
788 DBs
50,432 SiPMs (each plane)
Readout electronics immediately behind SiPMs.
Integration time ~1 μs.
Data multiplexed and sent out on optical fibers.

## Slide 29: NEXT-HD
Base design: Fibers
Ø1mm TPB-coated WLS fibers (VUV  blue  trapped as green)
Fibers 1.3 m long, arranged on 36 panels.
Each panel: 14 groups of 30 fibers
Total num. of fibers: 15,120
Total fiber length: 19.4 km.
One 6x6 mm2 SiPM for each 30-fiber group
504 SiPMs in total, mounted on a cooled Cu ring (to suppress dark counts).
Fast readout (integration time ~25 ns) for S1, realistic for 500 channels.

## Slide 30: The aggressive approach: NEXT-BOLD
Tagging the barium daughter in a candidate event can lead to a background-free experiment

## Slide 31: Barium tagging with molecular indicators in NEXT
Coat cathode plane with molecules that selectively catch barium ions (not Xe)
Once capturing barium, a molecule changes its fluorescent response to laser excitation
Following a trigger on the event energy, scan expected barium “landing site” on cathode with a laser. A single molecule holding Ba2+ appears as a bright spot`
Bicolor molecule developed at DIPC/EHU by the F. Cossio group
Nature 583 (2020) 48

## Slide 32: Fluorescent Bicolor Indicators (FBI)
Signaling unit
Rotating unit
Additional recognition point
Main signaling unit
Ba++ receptor unit

## Slide 33: Fluorescent Bicolor Indicators (FBI)
Signaling unit
Rotating unit
Additional recognition point
Main signaling unit
Ba++ receptor unit

## Slide 34: Fluorescent Bicolor Indicators (FBI)

## Slide 35: NEXT-BOLD (Barium atOn Light Detector)
The cathode consists of transparent tiles coated with molecular barium sensors.
The anode side consists of an EL gap and tracking plane
Energy is read out with barrel fibers
The system triggers on the energy of a candidate event
The barycenter of the event (in xyz) is sent to the barium tagging detector
An electrostatic gate opens, allowing the ions to reach one or more ion sensor tiles
Candidate tiles are moved mechanically to the laser scanning system
Electrostatic gate

## Slide 36: Projected sensitivities
NEXT sensitivity estimates for a tonne-scale detector
Background in ROI:
  NEXT-HD: 1 counts/yr
  BOLD: 0.1 counts/yr

## Slide 37: Summary and outlook
NEXT concept demonstrated on a large scale, with <1% FWHM energy resolution at and highly effective topological background suppression
NEXT-HD is a reasonable extrapolation from an established technology, would be sensitive to half-lives of 1027 years. Funding for NEXT-HD is feasible (~10s M$).
Barium tagging is a central effort but very challenging.
Barium tagging on the tonne-scale (NEXT-BOLD) can enable reaching a sensitivity of 1028 y

## Slide 38
G. Larson, “The Far Side” (1983)
Thank you!

## Slide 39: Backup slides

## Slide 40: Double beta decay in even-even isotopes

## Slide 41: From half-life to effective Majorana mass
General form of the half-life:
Two-body phase space factor (known at few %)
Nuclear physics:
Nuclear Matrix Element (NME)
Particle physics:
Underlying BSM mechanism
If the underlying particle physics mechanism is the exchange of light Majorana neutrino:

## Slide 42: Phase space factor
can be calculated with few % accuracy, scales with
only nuclei with MeV are considered experimentally
48Ca 76Ge 82Se 96Zr 100Mo 110Pd 116Cd 124Sn 130Te 136Xe 150Nd
(yr-1 eV2)
10-26
10-25
10-24

## Slide 43: Nuclear matrix elements
The NMEs can be calculated by several models with considerable spread
The leading uncertainty is on the value of the axial coupling constant relevant for
Since this can have a major effect
Nightmare scenario - will reduce the sensitivity to by a factor of 5
Evaluated with

## Slide 44: Largest source of uncertainty: the size of axial coupling
for weak interaction and decays of nucleons
Quenching effects inside the nucleus may considerably reduce
Conservatively one should consider several options:
The degree of quenching is unknown. The expression for is based on half-lives and may be different for

## Slide 45: Effect of uncertainty in
For 136Xe taking pushes up the limit on by a factor of
KamLand-Zen + EXO-200 2015 data

## Slide 46: LEGEND
A merger of two collaborations: GERDA and MAJORANA
Technology: high-purity germanium diodes enriched to >85% 76Ge
Key feature: best energy resolution in the market (0.13% FWHM at )
Detectors immersed in liquid argon serving as a coolant and active veto
GERDA and MAJORANA completed (~30 kg each), set a limit at y
LEGEND-200: 200 kg 76Ge, under commissioning at LNGS, sensitivity 1027 y at ~10 y
LEGEND-1000: 1 ton 76Ge, guaranteed for funding (>USD 400 M)

## Slide 47: Background suppression in 76Ge detectors
Event topology + anti-coincidence between HPGe detectors + pulse shape discrimination + liquid argon veto
Event topology
Differentiate point-like ββ topology from:
Detector
anti-coincidence
multi-detector interactions
Pulse shape discrimination
multi-site / surface interactions
Detector-LAr anti coincidence
interactions with coincident energy deposition in LAr

## Slide 48: GERDA
Bare crystals

## Slide 49: GERDA

## Slide 50: LEGEND-200
200 kg HPGe in existing (upgraded) infrastructure at LNGS
Ge detectors from Majorana and GERDA + new inverted coaxial detectors (larger mass)
Background reduction: factor 5 compared to GERDA (reduce 42K, 214Bi, 208Tl)
Discovery sensitivity (10 y):
(inside the IO band)
arXiv:1709.01980

## Slide 51: LEGEND-1000
Discovery sensitivity (10 y):- cover IO band
LEGEND-1t baseline design
4 LEGEND-200 payloads
challenging

## Slide 52: nEXO
Builds on experience gained in EXO-200 (110 kg LXe active mass, )
Single-phase LXe TPC: 1.16 m inner diameter, 1.25 m drift height (single drift direction)
5.1 t LXe (90% 136Xe) in total (4.0 in the TPC)
Charge readout by induced current on charge collection tiles (top)
Light readout by SiPM tiles (4.5 m2 total) on barrel behind the field cage
Cost > USD 400M
EXO-200 mounted in cryostat
e- drift direction
arXiv:1710.05075, 1805.11142

## Slide 53: nEXO: projected sensitivity

## Slide 54: CUPID: CUORE Upgrade with Particle IDentification
Successor of CUORE, which used 988 natTeO2 (34% 130Te) bolometer crystals @ 10-15 mK at LNGS
CUORE’s bolometers were sensitive only to heat signals and suffered from a high background of alpha events on their surface.
CUPID will reuse CUORE’s cryostat with a new generation of scintillating bolometers, sensitive to both heat and light.
CUORE: “The coldest cubic meter in the universe”

## Slide 55: CUPID
CUPID will rely on Li2100MoO4 scintillating bolometer crystals
100Mo: – above all natural gamma lines
The combined readout of light and heat allows eliminating surface alpha events
Excellent energy resolution: 0.17% FWHM at , high radiopurity
 210Po
 /
/() separation ~15
Preliminary

## Slide 56: CUPID
First phase: 1534 Li2100MoO4 crystals in the existing CUORE cryostat (250 kg 100Mo, >95% enrichment)
Expected sensitivity after 10 years: (– enough to cover the IO band)
Modest cost (first phase): few tens M USD
Future: “CUPID-1T”, after 10 years, requires a new cryostat and 20-fold improvement in background
arXiv:1907.09376

## Slide 57: Barium tagging with molecular indicators in NEXT
Coat cathode plane with molecules that selectively catch barium ions (not Xe)
Once capturing barium, a molecule changes its fluorescent response to laser excitation
Following a trigger on the event energy, scan expected barium “landing site” on cathode with a laser. A single molecule holding Ba2+ appears as a bright spot`
Bicolor molecule developed at DIPC/EHU by the F. Cossio group
Nature 583 (2020) 48

## Slide 58: Fluorescent Bicolor Indicators (FBI)
Signaling unit
Rotating unit
Additional recognition point
Main signaling unit
Ba++ receptor unit

## Slide 59: Fluorescent Bicolor Indicators (FBI)
Signaling unit
Rotating unit
Additional recognition point
Main signaling unit
Ba++ receptor unit

## Slide 60: Fluorescent Bicolor Indicators (FBI)

## Slide 61: Bicolor enhance fluorescence
Development at DIPC based on Fluorescent Bicolor Indicators (FBI)
Enhanced fluorescence and spectral separation
Overall separation factor of between chelated and unchelated states
So far demonstrated on a macroscopic scale
Scaled by x300
Excitation laser at 250 nm
Readout band

## Slide 62: FBI tests at BGU
BGU group builds a Ba2+ ion beam for testing and measuring the chelation efficiency of FBI molecules
The few-keV beam will be slowed down in low-pressure helium to “feed” the molecules with thermal Ba2+ ions
Chelated molecules will be interrogated by a tabletop optical system separating between the excitation and emission light

## Slide 63: NEXT-BOLD (Barium atOn Light Detector)
The cathode consists of transparent tiles coated with FBI monolayers
The anode side consists of an EL gap and tracking plane
Energy is read out with barrel fibers
The system triggers on the energy of a candidate event
The barycenter of the event (in xyz) is sent to the barium tagging detector
An electrostatic gate opens, allowing the ions to reach one or more FBI tiles
Candidate tiles are moved mechanically to the laser scanning system
9.3 M€ ERC grant awarded to build a BOLD demonstrator
Electrostatic gate

## Slide 64: Projected sensitivities
NEXT sensitivity estimates for a tonne-scale detector
Background in ROI:
  NEXT-HD: 1 counts/yr
  BOLD: 0.1 counts/yr