## Slide 1: opmd Oxford physics microstructure detector laboratory
Notes: .

## Slide 2: ATLAS ITk
Building over 500 pixel modules for ATLAS ITk

## Slide 3: ATLAS ITk
Loading modules on end caps half-rings

## Slide 4: Mu3e Tracker
Sensors:
  MuPix11 thinned to 50-70µm
  6/ladder (Vertex: L1 & L2)
  17-18/ladder (Tracker L3/L4)
Aluminium/polymide film low-mass flex (HDI) produced by LTU (Kharkiv, UKR), 75µm thin
Ultra-thin Carbo-fiber mechanical support for long ladder
Ladder weighs 2 grams and is 36.7cm long
Building 156 ladders for the Mu3e pixel tracker

## Slide 5: Composites & Low Mass Structures
Ultra thin composite structures
  25 um thick Carbon Fibre
  12 um thick Kevlar
  CF/Kevlar Metamaterial
  8 μm kapton co-cured underneath
Mu3e Tracker
Monolithic detectors 70 thin
Aluminum Kapton flex

## Slide 6: Timepix4 applications
4DSTEM (4- dimensional scanning transmission electron microscopy)
Higher-resolution electron microscopy (PP, RFI, Materials)
Raw data
Processed data
Time of Flight Mass Spectrometry
Time resolution: 25 ns → 200 ps (Chemistry)
Radiological Sample imaging system
Tissue and/or sample analysis (Archaeology, Oncology)
Quantum Detectors Merlin T4 system TEM detector system

## Slide 7: R&D on new devices
PIN
LGAD
i-LGAD
Buried gain
AC-LGAD
TPA-TCT
Fabrication with Micron