## Slide 1: Electro-Optic Spectral Interferometry as a longitudinal bunch profile monitor
Samuel Norman1,2, Collette Pakuza3, Thibaut Lefevre3, Michele Bergamaschi3, David Walsh2,4, Morgan Hibberd1,2
1The University of Manchester
2Cockcroft Institute
3CERN
4STFC Accelerator Science and Technology Centre

## Slide 2: Desirable Profiler Qualities
100-200 fs resolution
Compact
Low “facility footprint”
Non-destructive
Single Shot
High measurement rate (e.g. FELs operate at MHz)
Transverse Deflecting Cavity
Wall Current Monitor
Samuel Norman
Slide 2
PAB 2026

## Slide 3: Electro-Optic Mechanism
Samuel Norman
Slide 3
PAB 2026
[001]
[-110]
Chirped Laser Pulse
EO Crystal
Electron Bunch
Bunch Coulomb Field Profile

## Slide 4: Electro-Optic Mechanism
Samuel Norman
Slide 4
PAB 2026
[001]
[-110]
(+ phase shift)
S. P. Jamison et al. “Temporally resolved electro-optic effect”, Optics Letters, 2006

## Slide 5: Electro-Optic Mechanism
Samuel Norman
Slide 5
PAB 2026

## Slide 6: Electro-Optic Mechanism
Samuel Norman
Slide 6
PAB 2026

## Slide 7: Layout
Samuel Norman
Slide 7
PAB 2026
Chirped Laser Pulse
Electron Bunch
EO Crystal
QWP
α-BBO
Polariser
Spectrometer

## Slide 8: Layout
Samuel Norman
Slide 8
PAB 2026

## Slide 9: EOSI – The Process
Samuel Norman
Slide 9
PAB 2026

## Slide 10: EOSI – The Process
Samuel Norman
Slide 10
PAB 2026

## Slide 11: EOSI – The Process
Samuel Norman
Slide 11
PAB 2026

## Slide 12: EOSI – The Process
Samuel Norman
Slide 12
PAB 2026

## Slide 13: EOSI – The Process
Samuel Norman
Slide 13
PAB 2026

## Slide 14: EOSI – CLEAR Results
Bunch: 1.3 ps RMS (3 ps FWHM), 70 pC, 160 MeV
S. N. O. Norman et al. “Fibre-Coupled Oscillator-Driven Electro-Optic Spectral Interferometry as a Longitudinal Bunch Profile Monitor”, IBIC’25, WEPCO40
Samuel Norman
Slide 14
PAB 2026

## Slide 15: EOSI – CLARA Results
Demonstration of an Electro-Optic Spectral Interferometry Longitudinal Profile Monitor at Clara – D. Walsh et al., IPAC 2023, THPL171
Samuel Norman
Slide 15
PAB 2026
Notes: Add note that this was at CLARA
Bunch variation was due to thermal instability and associated RF phase/power drift

## Slide 16: The Future - Implementation
e-
Laser
40 cm
7 cm
20 cm
10 cm
AWAKE – CERN
  Measure and monitor the 200 fs witness bunch prior to injection
CLARA – Daresbury
  Use EOSI as experimental diagnostic to observe reduction in timing jitter as well as bunch profile
Samuel Norman
Slide 16
PAB 2026

## Slide 17: Desirable Profiler Qualities
100-200 fs resolution
Compact
Low “facility footprint”
Non-destructive
Single Shot
High measurement rate (e.g. FELs operate at MHz)
Samuel Norman
Slide 17
PAB 2026

## Slide 18: Summary – EOSI Capabilities
100-200 fs resolution – 195 fs measured on CLARA
Single Shot – Each profile measured independently
Compact – Just a few centimetres of beamline
Non-destructive – electrons are not intercepted
High measurement rate – Trivial computer calculations allow for live monitoring at 10+ Hz
Low facility footprint – small laser pulses used
Laser Synchronisation – Arrival times provided relative to a laser
Samuel Norman
Slide18
PAB 2026

## Slide 19: Any Questions?
Our Publications:
D. Walsh et al. “Demonstration of an Electro-Optic Spectral Interferometry Longitudinal Profile Monitor at Clara”, IPAC 2023, THPL171
S. N. O. Norman et al. “Fibre-Coupled Oscillator-Driven Electro-Optic Spectral Interferometry as a Longitudinal Bunch Profile Monitor”, IBIC’25, WEPCO40