## Slide 1
Barium Tagging
Enakshi Dey
University of Manchester & University of Texas at Arlington
Second workshop on Neutrinoless double beta decay search in Xe next generation experiment
enakshi.dey@postgrad.manchester.ac.uk

## Slide 2
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Barium Tagging
Ba ion is produced in a true decay event, not in other natural radioactive decays
Detecting Ba ion in coincidence with the two electrons energy would result in a background-free experiment
Is it possible to detect one Ba ion or atom in a ton of xenon?

## Slide 3
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Understanding Ba charge state in Xenon
Inside the detector Ba is born in a high charge state as emerging beta electrons disrupt the atom
It captures electrons from xenon to reach the Ba2+ state
In gas electron-ion recombination to Ba+/Ba is suppressed, so it essentially stops at Ba2+
Xe like core
++
e-
e-
Ba atom
Two outer electrons
Xe like core
++
e-
Ba+ ion
One outer electrons
Xe like core
++
Ba2+ ion
Noble-like electron shell
Liquid
Gas

## Slide 4
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Moe’s Original Proposal
First proposed by Moe in 1991 the possibility of detecting 136Ba in a xenon detector using laser spectroscopy
Since then identification of Ba has been demonstrated in Ba atom, Ba+, and Ba2+
Moe’s idea was demonstrated by EXO group in 2007 by trapping 1,2,3,4 ions in a linear paul trap and detecting them by laser fluorescence
nima.2007.05.123
B. Flatt et al.

## Slide 5
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Localize
Find the decay site
Identify
Confirm it’s Ba
Extract
Two parallel routes
Cryoprobe
Capillary
Barium Tagging in Liquid Xenon
Separate
Remove the background Xe
Ba
Xe

## Slide 6
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Extracting Single Ba Ion from Liquid Xenon Using Capillary
1. Extraction of detector volume around the location of the decay to gas phase using a capillary tube
2. RF carpet for efficient transfer of ion from capillary to RF funnel
3. Getting rid of the xenon gas accompanying Ba ion
4. Linear Paul trap for Ba ion detection through laser fluorescence spectroscopy
5. Multiple Reflection TOF Spectrometer for determining ion mass
Atoms12120071 Ray et al.

## Slide 7
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Ion Capture and Transport
The capillary tip pulls in any ion that comes near it — its "capture zone”
The drift field distorts near its metal surface, pushing ions to the wall, so it's switched off while collecting
Xenon boils to gas mid capillary — flow stays laminar, so the ion isn't lost to the wall

## Slide 8
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Ion Source for Testing Ba Ion Extraction
Need a controlled, known ion source to validate extraction
139Cs beam stopped in LXe, daughter 139Ba collected electrostatically, identified via HPGe -spectroscopy (166 keV line)
At TRIUMF’s ISAC-II Hall
G C Ball et al 2016 Phys. Scr. 91 093002

## Slide 9
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Ion Transport and Identification Steps

## Slide 10
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Separating Ba+ from Xe Gas Using RF Funnel
Downstream instruments need vacuum, but the ion arrives at 10 bar normal pressure-reduction methods lose most of the ions
RF funnel lets gas escape radially through gaps between electrodes, dropping pressure from 10 bar to 1 mbar
Ion stays confined to the axis by the RF field and can't escape sideways with the gas, gas flow alone carries the ion forward
Ion extraction up to 10 bar
International Journal of Mass Spectrometry 379 (2015) 110–120
T. Brunner et al.

## Slide 11
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Trapping and Identifying Ba Ion : LPT
After the RF funnel, the ion arrives too energetic to trap, it first needs a Quadrupole Mass Filter (QMF) to reject unwanted masses, then two cooling stages to bring it down to sub-eV energy using helium buffer gas
Cooled ions are collisionally trapped in a buncher (Linear paul trap) confining ions radially with RF and axially with a DC potential well
Trapped Ba+ ion is identified by laser induced fluorescence
Single Ba ion detection has been demonstrated at Carleton University
Lan, Y. A Linear Paul Trap for Barium Tagging of Neutrinoless Double Beta Decay in nEXO. Ph.D. Thesis,

## Slide 12
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Ions with different mass to charge can be resolved
MRTOF - bouncing the ion between two mirrors - hundreds of reflections in ~1 m
Simulated with real LPT ions: resolving power >100,000 — enough to separate Ba from Xe
Tested with copper ions : 400 reflections → ⁶³Cu⁺/⁶⁵Cu⁺ cleanly separated, resolving power = 20,000
Is it really 136Ba+, or is 136Xe⁺ riding along?
Fully assembled MRTOF
Confirming Ba+ Mass : MRTOF
Murray, K. Design and Commissioning of a Multi-Reflection Time-of-Flight Mass-Spectrometer for Barium Tagging with nEXO. Ph.D. Thesis

## Slide 13
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Ba Tagging in Solid Xenon
Cold probe inserted into LXe TPC at candidate 0nbb decay site, freezes thin SXe layer, capturing Ba⁺/Ba in the ice
Trapped atom excited via fiber-coupled laser; fluorescence collected and imaged on CCD
Concept :

## Slide 14
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Ba Tagging in Solid Xenon
Two Ba sources — thermal getter and pulsed Ba⁺ ion beam — deposit onto cold sapphire window
Faraday cups + induction plates calibrate ion number and beam alignment
Laser excites the deposit; fluorescence is filtered and imaged onto a EMCCD camera
Phys. Rev. A 91, 022505
B. MONG et al.

## Slide 15
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Single Barium Atom/Ion Detection in Solid Xenon Matrix
Signal (blue) drops sharply to background (red) after ~30 s
The sharp cutoff is the single-atom signature
Absence of signal with an Ar⁺ ion beam rules out ion-damage color centers
Nature volume 569, pages203–207 (2019)
Single Ba atom peak

## Slide 16
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Detecting Ba2+ Ion in Xenon Gas
Ba2+ doesn’t have any outer shell electrons
It’s not easy to do atomic fluorescence

## Slide 17
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Steps to Detect Ba2+ Ion
1. Designing and synthesizing the desired molecule
4. Transporting the ion to the sensor
2. Unambiguous optical detection of the molecule attached to the barium ion
3. Growing a Self assembled monolayer

## Slide 18
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Single Molecule Fluorescence Imaging
A non-fluorescent molecule becomes fluorescent (or vice versa) upon chelation with an incident ion
Not fluorescent
Fluorescent
Since calcium and barium belong to the same chemical family, dyes designed to detect calcium often respond to barium as well
But fluorescein dye doesn’t shine without solvent, deprotonation of the carboxylic acids to accept the ion depends on it
Credit : David Nygren
J.Phys.Conf.Ser. 650 (2015) no.1, 012002

## Slide 19
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Exploring Molecules
Turn on Fluorescence Indicator
ACS Sensors 6, 1, 192-20 (2021)

## Slide 20
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Exploring Molecules
Turn on Fluorescence Indicator
Time Resolved Fluorescence Bi-color Indicator
chemrxiv-2024-t81cl

## Slide 21
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Exploring Molecules
Turn on Fluorescence Indicator
Time Resolved Fluorescence Bi-color Indicator
Fluorescence B-color Indicators
[1]. JINST 11 P12011 (2016)
[2]. Phys. Rev. Lett. 120, 132504 (2018)
[3]. Sci Rep 9: 15097 (2019)
[4]. Nature 583, 48 (2020)
[5]. ACS Sensors 6, 1, 192-20 (2021)
[6]. 10.26434/chemrxiv-2023-wxpbh (2023)
[7]. 10.26434/chemrxiv-2024-t81cl (2024)
Nature 583, 48 (2020)

## Slide 22
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Single Ion Resolution Microscope
Ba2+
A novel fluorescence microscope was developed with wide-field scanning and operational in high-pressure (10 bar) xenon gas.
Nature Communications, 14(10595)

## Slide 23
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Surface Functionalization
We ideally want:
Receptors close together, but not to close
Receptors away from the surface for Ba to bind
High efficiency, low background
Can be achieved only by growing Self Assembled Monolayer (SAM)
Ba receptor
Fluorophore
Spacer
Linker
Surface
Non-fluorescent grass molecules to keep the receptors away from each other

## Slide 24
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Orientation of Molecule on Surface
Fluorescent molecules emit light in dipole radiation pattern.
In-focus molecules appear as simple dots in the image.
Defocused (~500 nm) images show unique ring patterns that encode the 3D orientation of each molecule's dipole.
Real Image
Reconstructed Image
J. Opt. Soc. Am. A 43, 50-58 (2026)

## Slide 25
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Photobleaching Time Study of Functionalized Molecule
PET ACTIVE
In solution
PET BLOCKED
Dry, on surface (air)
Surface immobilization of functionalized molecule almost completely suppresses PET
Plot credit Mikel Elorza
Paper under collaboration review

## Slide 26
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Ion Transport to Sensor
N-phased RF voltages create a traveling wave pattern
Time-averaged force from electrodes keeps ions levitated above the surface
RF Carpet
Array of RF several carpets, each concentrating ions to one single molecule fluorescent imaging ion sensor
nima.2022.167000
Jones et al

## Slide 27
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Radiofrequency Carpet for Ba Ion Transport
Cs⁺ used as mass-proxy for Ba²⁺
4-phase mode confirms transport is driven by the traveling wave: signal peaks at 90°, vanishes at 0°/180°
To go higher in pressure you need lower pitch RF carpet
Preliminary result BIT working at 500 mbar
It works in 1bar pressure
BIT

## Slide 28
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
SMFI on BIT
νBIT: a photonic chip-based sensor combining optical microscopy with microfabricated RF carpets, for full-detector coverage.
SMFI has been demonstrated directly on νBIT.

## Slide 29
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Summary
Barium tagging, if realized, can dramatically increase the sensitivity of a search.
Barium tagging has been explored in liquid, solid, and gas xenon.
Liquid Xe: single Ba⁺ ion trapped and identified by laser fluorescence.
Each approach has some milestones achieved and some still open — continuous work is ongoing in all three sectors to demonstrate the full end-to-end technology.
Solid Xe: single Ba atom/ion detected via cold-probe capture and CCD imaging.
Gas Xe: single Ba²⁺ ion imaged using fluorescent sensor molecules.

## Slide 30
Enakshi Dey
enakshi.dey@postgrad.manchester.ac.uk
Thank You