## Slide 1: Current Capabilities and Future Advancement for Astrophysical Mass Measurements with LEBIT at FRIB
Hannah Erington
on behalf of the LEBIT group
erington@frib.msu.edu

## Slide 2: Status of Precise Mass Measurements
rp-process
r-process
N
Z
Data from AME2020: Huang et al., Chin. Phys. C 45 (2021)
Adapted from: M. Famiano, Int. Journal Mod. Phys. E 28 (2019)
Ideal Precision for Nuclear Astrophysics

## Slide 3: Outline
Performing Mass Measurements at FRIB
Recent Experimental Efforts
Advancements to Expand the Reach of LEBIT

## Slide 4: Rare Isotopes Must Be Stopped Before Measurement
FRIB produces beams at high energies
  Necessary for production
  Not ideal for ion trapping techniques
Advanced Rare
Isotope Separator (ARIS)
N4 Vault: Gas Stopping
Low Energy Beam and Ion Trap (LEBIT)
ARIS Separator: M. Hausmann, et al. NIM B 317, 349-353 (2013)
200 MeV/u
~eV
ANL Gas Stopper
ACGS Gas Stopper
ANL Gas Stopper: C. Sumithrarachchi, et al. NIM B 463, 305 (2020)
ACGS Gas Stopper: K. Lund, et al. NIM B 463, 378-381 (2020)

## Slide 5: Beam Stopping at FRIB
Fast Beam from ARIS
Fast Beam from ARIS
Stopped Beam to LEBIT
30 kV potential
*ANL Linear Gas Stopper
Reliably in use since 2011
Filled with ~100 mbar He
Ions lose energy in collisions
DC + RF electric fields and gas flow used to transport ions
*Advanced Cryogenic Gas Stopper
Novel geometry for >10x higher beam rate
Cryogenic (40 K) for higher beam purity
Ion surfing technique for fast extraction
ANL Gas Stopper: C. Sumithrarachchi, et al. NIM B 463, 305 (2020)
ACGS Gas Stopper: K. Lund, et al. NIM B 463, 378-381 (2020)
degraders
RFQ
Gas Cell*
Dipole mass separator
wedge
A/q separation

## Slide 6: The Low Energy Beam and Ion Trap (LEBIT) Facility
Laser Ablation: C. Izzo et al., NIM B 376, 60 (2016)
Cooler/Buncher: Schwarz et al., NIM A 816, 131-141 (2016)
Beam
Off-line Ion Sources
RFQ Cooler
Buncher
Switchyard
TOF-ICR
PI-ICR
9.4 T Magnet
Plasma Source
Laser Ablation
30 kV potential
7 T magnet
FT-ICR
9.4 T Magnet: R. Ringle et al., Int. J. Mass Spec 349-350 (2013)
SIPT: A. Hamaker et al., Hyperfine Interact. 240, 34 (2019)

## Slide 7: LEBIT Performs Measurements Near the Proton Dripline
22Al
23Si
101Sn
103Sn
51Co
52Ni
83Nb
82Nb
80Zr
79Zr
79Y
78Y
77Y
in preparation
in preparation
Published 2024
Published 2025
Published 2025
Published 2026
Phys. Rev. Lett. 132 (2024) 152501
Phys. Rev. C 112 (2025) 014329
Phys. Rev. C 113 (2026) L021302
Phys. Rev. C 111 (2025) 014314
Some isotopes of interest with
All isotopes measured to
Notes: 22Al – proton halo
23Si – isospin symmetry breaking/isobaric mass multiplet eq (IMME)

## Slide 8: Masses of 51Co and 52Ni Could Impact rp-process
Demonstration of two measurement techniques
  51Co measured via Time-of-Flight Ion Cyclotron Resonance (TOF-ICR)[1]
  52Ni measured via Phase-Imaging Ion Cyclotron Resonance (PI-ICR)[2]
51Co and 52Ni masses impact reaction rates in the rp-process[3,4]
[1] G. Bollen et al., Journal Appl. Phys. 89, 4355-4374 (1990)
[2] S. Eliseev et al., Phys. Rev. Lett. 110, 82501 (2013)
[3] L. Zhang et al., Chin. Phys. C 40 125101 (2016)
[4] D.A. Nesterenko et al., J. Phys. G 44 065103 (2017)
rp-process
52Ni2+
PRELIMINARY
51Co2+
PRELIMINARY

## Slide 9: First Isomeric Measurement with PI-ICR at LEBIT
PRELIMINARY
80Y2+
78Y ex. s
78Y g. s
80Y g. s
80Y ex. s
PRELIMINARY
PRELIMINARY
Under certain temperature conditions an isomeric state can act as a distinct species – “astromer”
Zr, Y, Nb run – measured two isomers in PI-ICR
  80Y: (g.s); (isomer)
  78Y: (g.s); (isomer)
First demonstration of isomers for LEBIT
  78Y, 78mY: new measurement of ground state
  80Y, 80mY: in agreement with Atomic Mass Evaluation + gamma spec[1]
[1] J. Döring et al., Phys. Rev. C 57, 1159 (1998)

## Slide 10: Contamination from Gas Stopping is a Challenge
Fast Beam from ARIS
degraders
RFQ
Gas Cell
Dipole mass separator
Every stopped rare isotope generates ~106 He+/e- pairs
  Large current of stable beams (~nA) from charge exchange
  Different charge states (1+, 2+)
  Formation of radioactive molecules
    Rare isotopes spread to other mass values
Resolving power needed to remove contaminants is not always achievable
  Dipole mass separator: ~ 1500 for cooled beams
30 kV potential
29P activity on the left
Radioactive and stable masses at A=29 (e.g.. CHO+)
wedge
Stopped Beam to LEBIT
A/q separation

## Slide 11: High-Resolution Mass Separator (HRMS) Increases
Fast Beam from ARIS
degraders
RFQ
Gas Cell
30 kV potential
wedge
Increase resolving power to ~ 10k for isobarically pure beams
  Step towards unambiguous beam delivery
  Faster beam tuning and beam identification
  Higher reaccelerated beam rates
  Magnets acquired and ready for installation
HRMS
60o dipole from IRIS2 on-line mass separator
Stopped Beam to LEBIT

## Slide 12: MR-TOF-MS for Mass Separation and Science
Fast Beam from ARIS
degraders
RFQ
Gas Cell
30 kV potential
wedge
MR-TOF
Stopped Beam to LEBIT
HRMS
For more detail, please talk to Christian and Franziska!
Multi-Reflection Time-of-Flight Mass Spectrometry (MR-TOF-MS)
  Alternate approach to providing (isomerically) purified beams
  Allow for mass measurements of shortest-lived isotopes
Development of a high-voltage MR-TOF for FRIB
  Advances the design of MIRACLS high-voltage MR-TOF[1,2]
  High ion flux, high mass resolving power, short processing time[3,4]
[1] F.M. Maier et al, NIMA 1056 168545 (2023)
[2] F.M. Maier et al, NIMA 1075 170365 (2025)
[3] F.M. Maier et al, NIMA 1084 171220 (2026)
[4] C.M Ireland et al, NIMA 1087 171426 (2026)

## Slide 13: PI-ICR Upgrade to Improve Isomeric Beam Purification
LEBIT can act as a mass separator ()
FRIB PAC2: 70Cu with SuN++ ran in 2024[1]
  Low-lying isomers in 70Cu: 3- at 101 keV, 1+ at 242 keV
  Separated via TOF-ICR
9.4 T solenoid
LEBIT detector
chamber
SuN++[1]
New detection system for PI-ICR
PI-ICR for isomeric beam delivery
  Adjustable slit system
  Allow delivery of lowest-lying isomers
Funded through recently awarded DOE SSAA grant
[1] E.K. Ronning et al., NIMA 170930 (2025)
Penning Trap
Downstream Experiments

## Slide 14: Future Science Program Requires Ultimate Sensitivity
100Sn
78Ni
Rate @ LEBIT~1/hr
Rate @ LEBIT~1/hr
Many isotopes of interest still inaccessible
  PI-ICR pushing sensitivity limits
  High-impact isotopes may be ~1 ion/day
    100Sn, 78Ni, etc.
  Limited by available beam time
Need a high-precision technique capable of a measurement with these rates!

## Slide 15: SIPT Provides Access to the Most Exotic Nuclei
Single Ion Penning Trap (SIPT)
  Fourier Transform Ion Cyclotron Resonance (FT-ICR)
  Ultimate sensitivity: pickup of the ion image charge
  Cryogenic (~5 K) to minimize background
Signal Amp [arb. units]
Relative Freq. [Hz]
[1] A. Hamaker et al., Hyperfine Interactions 240, 1-16 (2019)
[2] S. Campbell et al., Atoms 11, 10 (2023)
85Rb+
Goal: complete mass measurement from a single ion
  Offline demonstration complete[1]
  Validation of single-ion-sensitivity[2]
  Final development push underway

## Slide 16: Conclusions and Outlook
FRIB science program is underway
  Significantly improved access to rp- and r-process regions
Improvements to the stopped beam program will provide (isomerically) purified beams
Technical developments significantly improve experimental reach and precision
  New/improved detection techniques (PI-ICR, FT-ICR)
  MR-TOF for beam purification and mass measurements
LEBIT is well prepared to make optimal use of FRIB beams
  Nuclear astrophysics, nuclear structure, and fundamental interactions
Program Advisory Committee 4 (PAC 4) begins soon!
  Open to ideas and collaboration!
  https://frib.msu.edu/user-facilities/frib/calculator
  Look for “Stopped beam rate”

## Slide 17: Thank You!
LEBIT Group
  G. Bollen, S. Campbell, H. Erington, C. Ireland, F. M. Maier, R. Ringle
  http://groups.nscl.msu.edu/lebit/
Financial Support
PHY-1565546
PHY-1913554
PHY-1430152
NSF 2004601
DE-SC0013365
DE-SC0018083
DE-NA0004252

## Slide 18
Backup

## Slide 19: LEBIT Uses Penning Trap Mass Spectrometry
(radial confinement)
“cyclotron frequency”
(axial confinement)
(3D confinement)
B
Uniform Magnetic Field
+ Quadrupolar Electrostatic Field
= Penning Trap
axial ()
magnetron ()
reduced cyclotron ()
G. Gabrielse, Phys. Rev. Lett. 102 127501 (2009)
Requirements for mass measurement:
Known charge state, q
Magnetic field (B) calibrated with measurement of well-known mass
Measure or measure and

## Slide 20: TOF-ICR is a Well-Established and Reliable Method
Time-of-Flight Ion Cyclotron Resonance (TOF-ICR)
  Measurement of
  Scan of quadrupolar radiofrequency (RF) excitation
G. Bollen et al., Journal Appl. Phys. 89, 4355-4374 (1990)

## Slide 21: PI-ICR is More Precise and Requires Fewer Ions
Phase-Imaging Ion Cyclotron Resonance (PI-ICR)
  Measure and independently
  Allow each motion to accumulate phase (rotate) for set time,
PS-MCP
detector
=
reduced cyclotron spot
magnetron
spot
“start”
S. Eliseev et al., Phys. Rev. Lett. 110, 82501 (2013)

## Slide 22: FT-ICR Enables Precision Measurements with a Single Ion
Fourier-Transform Ion Cyclotron Resonance
  Measure and/or
  Ions produce image current that is amplified and FFT performed to produce
5 K
Ions produce image current in Penning Trap
RLC Circuit Resonator
tuned to
Amplifier
Time Domain
FFT
Frequency Domain
N : number of ions in the trap
q : ion charge state
Q : quality factor of resonator, >1000 T : temperature, ~5 K
C : capacitance of the resonator
Signal to Noise Ratio (SNR) Optimization
Current is picked up on the 8 segments of the SIPT ring electrode
H. Erington, MS-PMLE March 2025
, Slide 8