## Slide 1: Probing Explosive Stellar Nucleosynthesis through (α,n) and (p,n) Reactions Using SECAR
Pelagia Tsintari Postdoctoral Research Associate
34th Annual Symposium of the Hellenic Nuclear Physics Society

## Slide 2: SECAR (SEparator for CApture Reactions)
Final Cleanup
Recoil Separation
Charge State selection
Target Chamber
Recoil Detection
Beam
Q3
Q4
Q5
Q6
Q7
Q14
Q15
Q12
Q13
Q8
Q9
Q10
Q11
Q1
Q2
B1
B2
B3
B4
B5
B6
B7
B8
H1
H2
H3
O1
WF1
WF2
Primarily designed for the study of (p,γ) and (α,γ) reactions in inverse kinematics and for masses up to A=65
ReA3 can deliver at SECAR radioactive and stable isotope beams at energies of
300 keV/u – 6 MeV/u
Completed commissioning in 2021

## Slide 3: vp – process Nucleosynthesis
S. Wanajo et al., The Astr. Journ. 729(1):46 (2011)
P. Gastis CMU Dissertation (2020)
Early after core bounce of CCSN, in the proton rich neutrino-driven wind (Yₑ > 0.5)
Temperatures of T ≈ 1.5 - 3 GK
creates small excess of free neutrons
Measurements of reverse (p,n) reactions with available radioactive beams can constrain the (n,p) bottlenecks

## Slide 4: 58Fe(p,n) Reaction Measurement with SECAR
Final Cleanup
Recoil Separation
Charge State selection
Target Chamber
Recoil Detection
Beam
Q3
Q4
Q5
Q6
Q7
Q14
Q15
Q12
Q13
Q8
Q9
Q10
Q11
Q1
Q2
B1
B2
B3
B4
B5
B6
B7
B8
H1
H2
H3
O1
WF1
WF2
Neutron Detection
4 Liquid Scintillators
EJ301
Taking advantage of the SECAR dipoles and operate the setup as a spectrometer we separate the ions based on their p/q
58Co
58Fe
n
58Fe
p
3.5 MeV/u
3.79 MeV/u
3.3 – 3.5 MeV/u

## Slide 5: Beam Optics Development with Machine Learning
FP1
FP2
FP3
FP4
Beam Direction
Standard optics
Large angular and energy acceptance
Mass separation
Beam rejection from separator 10-13 - 10-14
Achromatic focus FP2 and zero dispersion focus FP3
G. P. A. Berg., et al., NIMA 877, 87–103 (2018)

## Slide 6: Beam Optics Development with Machine Learning
58Co
CH2
New optics for (p,n)
using machine learning*
Maximization of the physical separation of recoil and unreacted beam at the original locations of FP2 and FP3
Minimization of the beam width at each ion-optical element and at the final focal plane detectors
58Fe22+ beam – blue
58Co22+ recoils - red
Beam rejection from separator 10-3
*K. Hermansen et al. (In preparation)
Standard optics
Large angular and energy acceptance
Mass separation
Beam rejection from separator 10-13 - 10-14
Achromatic focus FP2 and zero dispersion focus FP3
FP1
FP2
FP3
FP4
Beam Direction
Slits
Slits
Slits
Slits
Slits
Slits

## Slide 7: Particle Identification and Detection
P. Tsintari et al. PRR (2025)
ΔE - E
Recoil Detection
58Fe(p,n)58Co

## Slide 8: Particle Identification and Detection
58Fe
58Ni
Fusion Evaporation
P. Tsintari et al. PRR (2025)
Gated on neutron detection
58Fe(p,n)58Co
n
γ

## Slide 9: Recoil Identification and Detection
P. Tsintari et al. PRR (2025)
Neutron – 58Co ToF
58Co
58Co
58Fe(p,n)58Co
Neutron Detection
Recoil Detection

## Slide 10: 58Fe(p,n)58Co – Measurement Result
P. Tsintari et al. PRR (2025)
First Science Publication of SECAR

## Slide 11: Weak r-process Nucleosynthesis
Occurs in neutron-rich outflows (Yₑ < 0.5)
Temperatures of T ≈ 2.0 – 3.5 GK
(α,n) reactions become faster than (n,α) below ~3.5 GK
Bliss, Arcones, Montes & Pereira, J. Phys. G (2017)
Kiss, Arcones, Montes et al. ApJ (2025)
The case of 86Kr(a,n)
Notes: The weak r-process occurs in neutron-rich outflows at temperatures around 2 to 3.5 GK. In this temperature range, neutron captures remain very efficient, but importantly the (α,n) reactions become faster than the reverse (n,α) reactions. As a result, the reaction flow can move both horizontally through neutron captures and vertically through alpha-induced reactions on the chart of nuclides. These (α,n) reactions effectively bridge isotopic chains and help drive the synthesis of nuclei beyond the iron peak before β decays shift the material back toward stability.

## Slide 12: 86Kr(α,xn) Reaction Measurement with SECAR
Final Cleanup
Recoil Separation
Charge State selection
Target Chamber
Recoil Detection
Beam
Q3
Q4
Q5
Q6
Q7
Q14
Q15
Q12
Q13
Q8
Q9
Q10
Q11
Q1
Q2
B1
B2
B3
B4
B5
B6
B7
B8
H1
H2
H3
O1
WF1
WF2
Neutron Detection
4 Liquid Scintillators
EJ301
Helium target:
JENSA gas jet target
86Kr beam at three incident energies:
2.50, 2.75 and 3.00 MeV/u
At these energies (a,n) and (a,2n) reactions are open and competing channels

## Slide 13: Preliminary Results for 86Kr(α,n)89Sr Reaction
86Kr(α,n)89Sr - 88Sr
Deposited Energy (MeV)
Time Difference (ns)
89Sr recoils
Deposited Energy (MeV)
Energy Loss ΔΕ (MeV)
89Sr recoils

## Slide 14: Preliminary Results for 86Kr(α,2n)88Sr Reaction
86Kr(α,2n)88Sr - 89Sr
Deposited Energy (MeV)
Energy Loss ΔΕ (MeV)
Deposited Energy (MeV)
Energy Loss ΔΕ (MeV)
Deposited Energy (MeV)
Time Difference (ns)
88Sr recoils

## Slide 15: In Conclusion
Demonstrated remarkable adaptability of the SECAR recoil separator
  Performed the 86Kr(a,xn)89Sr,88Sr measurement using jet helium target and neutron tagging. (Publication of final results coming soon!)
  Developed a novel experimental technique for direct (p,n) reaction measurements with a separator, and validate it with a new measurement of 58Fe(p,n)58Co reaction cross section
SECAR is ready for receiving radioactive beams starting with the first direct measurement of the 56Co(p,n)56Ni reaction a key reaction for vp-process in Fall 2026 (PIs: Perdikakis, Tsintari & Montes)
Performed successfully first (p,γ) measurement using the windowless extended gas target with SECAR

## Slide 16: Acknowledgements
Thank you!
P. Tsintari
H. Schatz
F. Montes
L. Wagner
K. Setoodehnia
J. Pereira
R. Zegers
A. Villari
K. Smith
C. Tinson
C. Frantzis
J. Huffman
L. Balliet
K. Hermansen
S. Miskovich
R. Garg
G. Perdikakis
N. Dimitrakopoulos
H. Arora
C. Brune
Z. Meisel
C. Marshall
M. Couder
G. P. Berg
U. Greife
K. Chipps M. S. Smith
J. Blackmon
C. Deibel