## Slide 1: Position Sensitive Detectors in Astrophysics
Juan Estrada
PSD13 - Oxford
05 Sep. 2023
Tools for dark energy and dark matter

## Slide 2: Race towards the development of instruments with more pixels, higher efficiency, faster readout, and lower noise.

## Slide 3: Outlook
Sensors in imaging surveys : DES,LSST,…
    Sensors with good QE in VIS-NIR
Applications for direct dark matter
The skipper-CCD (zero noise)
      SENSEI, DAMIC-M
      Oscura
New Technologies/Ideas with low noise.
Super exciting, but not included here:
  All the superconducting technologies TES, MKID in CMB instruments.
  Intensity mapping ideas (for cosmology).

## Slide 4: Science Driver
Chart: 
| Dark Energy | Dark Matter | Lum. Matter
Region 1 | 68 | 27 | 5

## Slide 5: Methods : Cosmic Surveys
We try to answer these dark energy and dark matter question by performing precise mapping of visible objects (structure and geometry).
Weak lensing map Y3

## Slide 6: Imaging surveys in ~2010s ( Dark Energy Survey)
DES surveyed a 5000 square degree area of the southern sky (roughly 1/8 of the total sky) over 525 nights.
recorded over 300 million galaxies, most so faint that their light is around 1 million times fainter than the dimmest star that can be seen with the naked eye.
DES also discovered and measured the brightness of thousands of supernovae by repeatedly targeting ten regions of the sky every six nights.
4m Telescope (Blanco)
~500M pix imaging (CCDs)
Dark Energy Camera

## Slide 7: Imaging surveys in ~2020s ( LSST)
8m Telescope (Rubin)
~3,200M pix imaging (CCDs)
15-second exposure every 20 seconds
37 billions stars and galaxies
Larger camera ever constructed!
Moving to Chile soon.
See also EUCLID discussion from yesterday…

## Slide 8: 1um detection with silicon, means thick detectors.
DECam used 250 um thick sensors (designed by S. Holland LBNL)
LSST uses 100 um (ITL + E2V)
30um
250 um
Key enabling technology
Journal of Applied Physics 122, 055301 (2017)
Holland, S., Groom, D., Palaio, N., Stover, R., & Wei, M. (2003), IEEE Transactions on Electron Devices, 50(1), 225-238.
Also extensive effort to improve optical entrance window, for the blue QE.

## Slide 9: …new thicker sensors present new opportunities.

## Slide 10: The dark matter problem
85% Dark Matter

## Slide 11: The dark matter problem with CCDs
“Massive” sensors with low noise are good tool for a direct dark matter search…

## Slide 12
Charge-Coupled Device (CCD)
Janesick
Charge coupling makes the detectors ideal for low noise measurements, typical noise for scientific CCDs is 2e- RMS (7.2eV).

## Slide 13
DAMIC 2016 sensors
16 Mpix — 6g
4 amplifiers
2e- noise
low background package

## Slide 14
Go Deep : 2000 mts underground
And shield
Sensors at ~140K

## Slide 15
muons, electrons and diffusion limited hits.
Particle identification in a CCD image

## Slide 17: DAMIC 2020 results summary : 11 kg-day
Phys. Rev. Lett. 125, 241803 (2020).

## Slide 18
Around 2019… we started to look elsewhere for dark matter.

## Slide 19
biding energy (~1 eV)
typical recoil energy:
for outer shell e-
the “classic” search for wimps looks for nuclear recoil, but when looking at lower mass particles the e-recoil channel could be more competitive.

## Slide 20: skipper-CCD a “new” tool to push for lower threshold in DM searches.

## Slide 21
The skipper-CCD is a modification of the output stage of a CCD (Janesik et al -1990). It allows for multiple non-destructive readout of the charge in a pixel.

## Slide 22: skipper-CCD

## Slide 23
DAMIC 2016
skipper CCD
Designed ~30 years ago, but technology first demonstrated summer 2017 by Javier Tiffenberg et al allows reduction of the threshold by another factor of 10.
Phys. Rev. Lett. 119, 131802 (2017)
𝛔 = 0.06 e

## Slide 25
impressive ability to count electrons!

## Slide 26
55Fe X-ray line 5.9 keV

## Slide 27
55Fe X-ray line 5.9 keV

## Slide 28: dark sector searches

## Slide 29
Once you can count electrons, you can search for electron recoils produced by very low mass dark matter (dark sector searches). As done with skipper-CCD in the SENSEI experiment.

## Slide 30
SENSEI 2020 results
arXiv:2004.11378

## Slide 31: Skipper-CCD enabling technology
Skipper-CCD is an electron counting silicon detector device.
e-recoil DM spectrum
SENSEI-2g

## Slide 32: Update from DAMIC-M (@Modane)
85 g-day 10 dru
Improvement over SENSEI 2020.
arXiv:2302.02372
Phys. Rev. Lett. 130, 171003 – Published 28 April 2023

## Slide 33: Update from SENSEI-2023 (@SNOLAB)
Data: 45 unblinded commissioning images, 37 blinded images, 2-10 e- channels
Exposure ~70 g-days per electron channel
Three limits: blinded dataset, commissioning dataset, and combined commissioning + blinded exposure
Paper in preparation to present full results
2023 April APS meeting
Improvement over DAMIC-M

## Slide 34: Skipper-CCD DM program : technology roadmap
Oscura is an ambitious program that brings together the DAMIC, SENSEI and DAMIC-M teams for the development of ultimate DM experiment with skipper-CCDs.

## Slide 35: From sensor performance to science
goal
requirement
prototypes
arXiv:2304.0440

## Slide 36: Completed R&D : electronics/packaging Multi Chip Module
MCM concept 2021
6” ceramic MCM 2022
Circuit layout
Functional test cold
Low background solution (Silicon)
6” Si MCM 2022 : fabs and ANL + FNAL
After a few iterations on the design of the Si-MCM we have now tested it, and are confident we can achieve the Oscura specs.
Mechanical prototype of the Oscura Supermodule with 130g of CCDs (16 MCMs)

## Slide 37: Completed R&D : electronics
Designed, Fabricated and Tested the MIDNA ASIC. Cold front end electronics for skipper-CCD. 4-channel.
Back end : Designed and tested a multiplexer solution for the back end. Operated 160 CCDs with single readout channel.
Sensors 2022, 22(11), 4308
Cold front end:
https://arxiv.org/abs/2304.13088

## Slide 38: Next : Faster Non-destructive readout.

## Slide 39: mas-CCD
arXiv:2308.09822

## Slide 40: Others sensors in the works
No paper with electron counting yet… but soon.

## Slide 41: Double-sided CCD (no fab yet)
arXiv:2307.13723
Suppresses surface dark current, also provides timing.
Reading sides in opposite directions.

## Slide 42: Now skipper-CCDs for cosmic surveys
First test of skipper-CCD in a telescope coming soon (SIFS at SOAR 4m, Alex Drlica-Wagner et al). These sensors could also play an important role in photon counting for future large space telescopes (working with NASA/GSFC)
It has now become evident that non-destructive readout (skippers) allow adaptive noise on the readout of spectroscopic data. This could have a huge impact in the noise limited cosmic spectroscopic surveys of the future. See arXiv:2103.07527 arXiv:2210.03665).

## Slide 43: Conclusion
Future looks exciting for silicon detectors with non destructive readout NDR (skipper-CCDs and more).
Originally developed for astronomy, NDR has found extensive use in dark matter (and low threshold experiments, Quantum imaging).
Recently commercial companies are starting to fabricate skipper-CCDs (STA).
Now, with faster readout architectures, NDR is coming back to the telescopes in the ground and in space.

## Slide 44: DAMIC : excess over expected background
Phys. Rev. D 105, 062003 (2022)
Phys. Rev. Lett. 125, 241803 (2020)

## Slide 45: Design: outer shield and installation inside SNOLAB
In the SNOLAB drift
Outer shield assembly
Detail of helium lines

## Slide 46
tremendous progress over 30 years
Snowmass report (2013)
Xenon1T