## Slide 1: Cryogenic ODMR Chiral Microscope
Hadware Meeting
01/04/2026

## Slide 2: Microscope
Wide Field
Confocal
CPL Analysis

## Slide 3: Chiral Molecule Analysis
Helical molecule can act as a spin filter
Electron moving through a chiral molecular bridge, the helical geometry couples the electron’s motion to its spin
One spin orientation is transmitted more efficiently than the other
Helicene

## Slide 4: Chiral Microscope Setup
L1
L2
L3
L4
L5
L6
LP
DM
F
EMCCD
BS
BS
LP
LP
QWP
QWP
Aligning Camera
XY
Z
L7
L8
https://www.nature.com/articles/s41467-022-28220-z
Fluorescence is collected using confocal microscopy
QWP converts RCP/LCP to two orthogonal linear polarized states

## Slide 5: Cryostat Modification
Sample holder connected hermetically to the cold head
Sample holder
Radiation shield
To do single emitter imaging we need an objective with minimum NA 0.8 which has a WD ~ 1mm

## Slide 6: Cryostat Modification
Cold head
XYZ stages
Sample holder mount
Sample holder

## Slide 7: Cryostat Extension
LN In
LN Out
Radiation Shield