## Slide 1: The IceCube Upgrade
and the Sweden Camera

## Slide 2
In Austral Summer 2025/2026
Notes: Last winter, IceCube received a major upgrade.
5 new strings, XXX new sensors
Original icecube has 5160 sensors over a cubic kilometer.
The horizontal spacing is 125m and vertically 17m.
There is denser instrumentation in its center, called DeepCore.
Now, in the center of DeepCore an even denser infill array was constructed.
5 new strings and just 2.5m spacing between the sensors.
referring to TechBoard mail from July 1st, the module count for the Upgrade is
505 optical sensors across 5 strings
64 special/calibration devices

## Slide 3: Motivation
Neutrino oscillation
neutrino oscillation property measurements best around a few GeV
current IceCube starts sensitivity around 5 GeV
infill array can use standard IceCube as veto
Light propagation
without detailed knowledge of the optical properties of ice, reconstructions are inaccurate
GeV astrophysics
(Super) Novae
low energy astrophysical sources
Notes: Peak of energy distribution shifts down
from about 10 GeV to about 5 GeV
• 3 to 5 times more neutrino events at the
analysis level than with IceCube DeepCore
• More events for all energies from 3 GeV to
300 GeV

## Slide 4
Notes: after several seasons of intense preparations, the Upgrade was built in just one season Nov - Jan
The equipment which was used to construct IceCube was re-used to build a stational drill camp.

## Slide 5
Notes: after several seasons of intense preparations, the Upgrade was built in just one season Nov - Jan
The equipment which was used to construct IceCube was re-used to build a stational drill camp.

## Slide 6
Notes: Personnal from Gen1 was mixed with new engineers and drillers in order to expand the knowledge base. The drilling of one hole with hot water takes about 2-3 days

## Slide 7
Notes: After a month of preparations, testing, and receiving final equipment, the first hole was drilled to XX depth.
On Christmas 2025 the first new string of sensors could be lowered into the hole. Per hole 100 sensors were chained over XX m, which takes about 24h. After that the chain of sensors is lowered into the hole.

## Slide 8
450 mDOM
one of the 2 baseline designs
Ellipsoid glass with thin diameter with 2 PMT
New sensor generation
large, isotropic sensitivity
directional information / noise suppression
integrated calibration systems
30 GeV Muon
3x more photo-sensor area
Notes: The new main sensors will start data taking later this year. Currently, we are running a calibration campaign in which ao the Sweden Cameras take the data needed to understand the ice better.
New modules:
isotropic sensitivity
larger sensitive area
directional information / noise suppression
integrated calibration systems

## Slide 9
450 mDOM
one of the 2 baseline designs
Ellipsoid glass with thin diameter with 2 PMT
10 WOM
exploratory design
6 Sweden Cameras
calibration devices
Notes: The new main sensors will start data taking later this year. Currently, we are running a calibration campaign in which ao the Sweden Cameras take the data needed to understand the ice better.
New modules:
isotropic sensitivity
larger sensitive area
directional information / noise suppression
integrated calibration systems

## Slide 10: Drop operation
measure stratigraphy

## Slide 11: Freeze-in observation
Camera 92H

## Slide 12
92H downwards, Day 2, Turbulence
Notes: Unlike other days, on the second day there was a lot of turbulence in the water.
As if something dramatic had happened shortly before we turned the camera on.
Ice crystals were floating up, yellow crud was swirling around, and other large bulk motions of ice were observed.

## Slide 13
alpha
beta
90°
0°
-00°
180°
-60°
0°
60°
upper hemisphere
lower hemisphere
bubble column
270°
Camera 92H - Day 9
bubble column?
Re-frozen ice’s bubble column measurement

## Slide 14
Ongoing: geometry measurement
Camera 90L watching string 88
blue LED of ~10 mW in 20 m distance
Camera 92H watching string 90L
white light of ~ 5 W in 40 m distance

## Slide 16
Summary
successful low-energy extension of IceCube in winter 2025/2026
first extension of IceCube after 15 years of stable operation
significant extension of the scope of IceCube
a lot of new data incoming from the IceCube Upgrade
    right now: calibration
    end of year: science
work on IceCube-Gen2 to push the frontiers of neutrino astrophysics and particle physics
Notes: Erin: Have identified the first sources of high energy neutrinos and gained new astrophysical insights from the diffuse flux

## Slide 17
Backup

## Slide 18
Backup

## Slide 19: Ice
Ⓒ Anna Eimer
The Antarctic ice is our detector medium!

## Slide 20
30 GeV Muon
3x more photo-sensor area

## Slide 21: Ice
Light propagation
without detailed knowledge of the optical properties of ice, reconstructions are inaccurate
there is still room for improvement
Notes: fvM: fisher von Mises distribution: probability distribution on a spherical surface (3d version of a 2d gaußian) Kullback-Leibler-Divergenz – ein Standardmaß dafür, wie stark sich zwei Wahrscheinlichkeitsverteilungen unterscheiden
D_KL = 0 → die Approximation ist identisch mit der Wahrheit.
Je größer der Wert, desto mehr Information geht durch die Vereinfachung verloren (in der Praxis: desto irreführender ist die angegebene „Unsicherheit“).
Der "statistical floor" ist die Fehleruntergrenze, die man selbst mit einem perfekten Eismodell nicht unterschreiten könnte – weil ein Teil des gemessenen "model error" gar nicht vom Modell kommt, sondern schlicht von statistischem Rauschen in den Photonenzähldaten.

## Slide 22: Upgrade Baseline Modules
290 D-Egg
450 mDOM
24 PMT with angular sensitivity in every direction
Ellipsoid glass with thin diameter with 2 PMT

## Slide 23
Optical array: increasing from 1km3 to ~8km3
Gen2 sensor
best solutions from Upgrade
12 prototypes in the Upgrade
preparing final design esp. calibration add-ons like muon-tagger
preparing start of production of ~ 10k modules
anna.obertacke@fysik.su.se
IceCube-Gen2 Technical Design Report
Steady sources
Transient sources
Notes: Left: Comparison of the effective local density and luminosity density of extragalactic neutrino source populations to the discovery potential of IceCube and IceCube-Gen2. We indicate several candidate populations by the required neutrino luminosity density to account for the full diffuse flux [68] (see also [151]). The orange band indicates the luminosity / density range that is compatible with the total observed diffuse neutrino flux. The lower (upper) edge of the band assumes rapid (no) redshift evolution. The lines indicate the parameter space (above the lines) for which IceCube and IceCube-Gen2 are able to discover one or more sources of the population (E2φνμ+ν ̄μ ≃ 10−12 TeV cm2 s−1 in the Northern Hemisphere [152]).
Right: The same comparison for transient neutrino sources parametrized by their local rate density [153]. The discovery potential for the closest source is based on 10 years of livetime (E2Fνμ+ν ̄μ ≃ 0.1 GeV cm−2 in the Northern Hemisphere [154]). Only the IceCube- Gen2 optical array has been considered for this figure.

## Slide 24
92H sideways, Day 2, Turbulence

## Slide 25
Sweden
Camera
in AMANDA
1998
(P.O. Hulth,
L. Thollander)
https://www.youtube.com/watch?v=hiJVajBA9TQ&t=548s

## Slide 26: IceCube Present & Future
Completed: 2011
Built: 2025-26
Build: after Upgrade
IceCube-Gen2
Neutrino Astronomy from TeV to EeV
IceCube Upgrade