## Slide 1: DAPHNE configuration update
Benan Ünal

## Slide 2
Calibration of AFE 0
Conversion fit:
So far only AFE 0 voltages are measured,
corresponding calibration for other chips will be done in the future.

## Slide 3
SQL Database
Created an SQL-DB to store and access the analyzed data and their respective parameters.

## Slide 4
Extracting breakdown voltage
Using the SiPM gain and Vbias entries from the SQL-DB breakdown voltage of CH5 was extracted
  Mean breakdown voltage = 1101.9 DAC = 41.98 V
  Median breakdown voltage = 1099.9 DAC = 41.9 V
For other channels not all x–intercepts coincide  New peak finding or peak spacing computation algorithm needed

## Slide 5
Mean peak spacing = 1121.8

## Slide 6
Mean peak spacing = 213.2

## Slide 7
TUNE runs
CH2
CH1
CH3
CH0

## Slide 8
CH5
CH4
CH9
CH8

## Slide 9
CH11
CH13
CH10
CH12

## Slide 10
LED runs
CH2
CH0
CH1

## Slide 11
CH3
CH5
CH4