## Slide 1: Sketches for AION
Chris Foot, 21 Jan 2019

## Slide 2
Heights (approx.)
5 floors slabs: 5x0.6 = 3m
2 labs: 2x2.5 = 5m
3 interstitial spaces: 3x2.0 = 6m
Void to ground = 14m
[ 6 stair flights: 11.4/6 = 1.9m each]
Services B1
Keel slabs
Services B2
Labs B1
Labs B2
Optical table
2 m
2 m
2 m
2.5 m
2.5 m
2.1m
10 m
14 m
14 m
Ground Level
11.4 m
Stairwell in Beecroft (ultralow vibration building): side view
Ground Level
Void
Floor of stairwell
stairs
stairs
ultralow vibration floor
Scale: 1:100 in PowerPoint

## Slide 3
Heights (approx.)
5 floors slabs: 5x0.6 = 3m
2 labs: 2x2.5 = 5m
3 interstitial spaces: 3x2.0 = 6m
Void to ground = 14m
[ 6 stair flights: 11.4/6 = 1.9m each]
Services B1
Keel slabs
Services B2
Labs B1
Labs B2
Optical table
2 m
2 m
2 m
2.5 m
2.5 m
2.1m
10 m
14 m
11.4 m
Stairwell in Beecroft (ultralow vibration building): side view
Ground Level
stairs
stairs
Scale: 1:100 in PowerPoint
Optical table
2.1m

## Slide 4
Heights (approx.)
5 floors slabs: 5x0.6 = 3m
2 labs: 2x2.5 = 5m
3 interstitial spaces: 3x2.0 = 6m
Void to ground = 14m
[ 6 stair flights: 11.4/6 = 1.9m each]
Services B1
Optical table
2 m
10 m
14 m
11.4 m
Stairwell in Beecroft (ultralow vibration building): side view
Ground Level
stairs
stairs
Scale: 1:100 in PowerPoint
Optical table
2.1m

## Slide 5
5.4 m
5.4 m
Scale: 1:100 in PowerPoint
Beecroft: upper basement labs. Plan view of AION apparatus
Key:
Beam pipe +
magnetic shield
Enclosure
(reasonable value?)
Vacuum tube from
laser lab. – spatial filtering of the laser beam by propagation over 5 m.
2 m
2 m
0.3m

## Slide 6
5.4 m
5.4 m
Scale: 1:100 in PowerPoint
Beecroft: upper basement labs. Plan view of AION apparatus
Key:
Beam pipe +
magnetic shield
Enclosure
(reasonable value?)
Vacuum tube from
laser lab. – spatial filtering of the laser beam by propagation over 5 m.
2 m
2 m
0.3m

## Slide 7
14 m
Ground Level
11.4 m
Keel slab
Keel slab
Ultralow vibration
All plant isolated
Thick concrete walls
filled with polystyrene?
Void

## Slide 8
4 m
4 m
Determine scale of the Stanford poster:
Free-fall time = 0.9 s
Fountain height = 4 m
10 m

## Slide 9
Heights (estimated)
5 floors slabs: 5x0.6= 3m
2 labs: 2x2.5= 5m
3 spaces: 3x2.0= 6m
Void to ground = 14m
6 stair flights: 11.4/6=1.9m each
Services B1
Keel slabs
Services B2
Labs B1
Labs B2
Optical table
2 m
2 m
2 m
2.5 m
2.5 m
2.1m
14 m
14 m
Ground Level
11.4 m
Stairwell in Beecroft (ultralow vibration building)
Ground Level
Void
Floor of stairwell
7.4 m

## Slide 10
7.765 m
5.4 m
5.4 m
Beecroft:
lower
basement
labs.