## Slide 1: MAGIS-WP Cambridge, Liverpool, Oxford
Jon Coleman

## Slide 2: Current Budget Estimate
Split with AION-10
  Majority of work towards MAGIS will also contribute to AION-10
Total Budget Estimate: ~ 4RA, 3 engineers 50/50 split between MAGIS and AION
Includes:
  Contribution to Interferometry Laser System
  Atom source development & ruggedization
  Data Acquisition, Control and Timing
  Integration, commissioning & data analysis
People
  4RA (3 years @ 100K each) + Engineering (3 years @ 50K)
  Split 50/50
Development of low noise, high spatial resolution camera’s for 1 km scale has been removed
  Allows to accommodate development work for AION-10

## Slide 3: Synergies
Timing and Synchronization (Cambridge)
  Oringinally appeared in AION-100
  Will need to be done earlier
  Is this still there?
High Power Lasers
Camera development (Oxford)
  EMCCDs
    sCMOS (assuming non multiplying version) has
      higher noise
      worse linearity
      harsher requirements on calibration of individual pixels (i.e. "photo-response non-uniformity")
Source Development with MAGIS
  Work with AION-10 to deliver early demonstrator

## Slide 4: Camera development
Phase shear readout
  Extract interferometer phase by looking at spatial fringes across atom cloud
Are there better data analysis methods to extract the phase from images of the cloud?
Are there detection hardware improvements that could lower the imaging noise?

## Slide 5: Phase Shear Readout
Tilt retro-reflection mirror for final pulse to put horizontal fringes on interferometer output ports
Scans a fringe in one shot: single shot phase readout
  A. Sugarbaker et al., PRL 2013
  H. Müntinga et al., PRL 2013

## Slide 6: Phase Extraction
Fit fringes for phase extraction (have also tried Fourier transform methods with similar performance)
  A difficulty is fully separating out fringes from cloud envelope effects

## Slide 7: Improving Detection Signal to Noise
Compromise between imaging duration and contrast
  Signal to noise improved for longer imaging time, but fringes start to get blurred out
  Electronic noise of CCD cameras is a limit
Fermilab have a multi-million camera/CCD development plan, funded via the DoE
  Design low-noise, high contrast
  ultra-low readout noise of 0.068 e- rms/pix
  allows the precise counting of the number of electrons in each pixel, ranging from pixels with 0 electrons to more than 1500 electrons
Fermilab is already working to develop for specific needs of MAGIS-1000
Have asked if the UK can help