## Slide 1: Compton Imaging
Dan Judson
judson@liverpool.ac.uk
University of Manchester
22/11/19

## Slide 2: Outline
Compton camera principles
Detector configurations
What makes a good Compton camera?
  Detector materials
  Energy resolution
  Position-of-interaction resolution
  Doppler broadening
Reconstruction techniques
Compton images
Example Compton cameras

## Slide 3
Need (at least) one scattering interaction and one absorption
As we cannot track the scattered electron, scattering is only constrained in θ and not 𝜀
Create cone of possible source locations projected along axis
  Compton camera - Principles
Compton scattering formula relates scattering angle to deposited energies

## Slide 4
  Compton camera - Principles
Need to know exact positions of interactions and energy deposited at each point + timing of each
Create cone of possible source locations – axis projected along vector between interactions
Overlap of many cones gives source location - in 3D

## Slide 5
  Compton camera - Principles
Need to know exact positions of interactions and energy deposited at each point + timing of each
Create cone of possible source locations – axis projected along vector between interactions
Overlap of many cones gives source location - in 3D

## Slide 6
  Compton camera - Principles
FWHM = 20.74 mm
Slice taken in x and/or y axis through point of maximum overlap
Image resolution is calculated as the FWHM of the peak from a point source

## Slide 7
Detector configurations

## Slide 8
Sensitivity of a Compton camera is a factor of:
  Detector materials: Compton scattering cross-section in front detector and Photoelectric absorption cross-section in back detector
  Detector thicknesses
  Configuration geometry
  Low energy noise thresholds
Image resolution of a Compton camera is a factor of :
  Energy resolution
  Detector position resolution
  Doppler broadening
What makes a good Compton camera?

## Slide 9
Scattering cross sections depends on gamma energy and Z of material
Lower Z => higher cross section for scattering
Higher Z => better stopping power
Compton Imaging - Materials

## Slide 10
Performance factors – Energy resolution
Energy resolution of scattering detector is more important than that of absorber

## Slide 11
Performance factors – Position resolution
Position resolution can be improved by
  Increased detector granularity / segmentation
    + Better rate capabilities, - more electronic complexity
  Pulse shape analysis techniques
    + Less electronics channels, - more computationally intensive

## Slide 12
Performance factors - Doppler broadening
Compton scattering formula assumes electron is free and at rest
In reality e- is in motion and bound to scattering material
Introduces additional uncertainty in angle 𝜃 - Doppler broadening
Scales with Z of scattering material

## Slide 13
Performance factors – Detector effects
“Perfect” +Doppler Broadened +Pos Res 1mm +Energy Res 2keV
2 mm
6 mm
10 mm
15 mm
Y: 22 mm
Y: 21 mm
Y: 17 mm
Y: 6 mm
Simple Back Projection reconstruction

## Slide 14
  Reconstruction techniques
Simple Back Projection algorithms – fast (real time) but ‘noisy’
Iterative (OSEM/MLEM/stochastic etc.) imaging – better resolution but computationally more intensive (not real time) + loss of quantitative information
  7°
  13.4 mm
  3°
  5.8 mm
  3°
  5.8 mm
  Backprojection
  MLEM – 10 iterations
  SOE – 1000 iterations

## Slide 15
Image quality
0 2 4 6 8 10 12 14 16
4 point sources (0,0)(0,15)(15,0)(15,15), Z = 125mm
OSEM reconstruction
Simple back projection images can be improved with post processing filters

## Slide 16
Image quality
Compton camera using Si(Li) scatterer + HPGe absorber
99mTc (green) and 123I (purple) vials: 10, 11, 12.4 and 16.4mm
MLEM Iterative Reconstruction algorithm

## Slide 17
Image quality
3D reconstruction (OSEM)
Gamma-ray source located in (x,y,z)

## Slide 18
Image quality
Tracking moving source over time
Liquid 137Cs diffusing through sand column

## Slide 19
Multiple interactions within a detector
  Need to be able to accurately determine order of interactions to be able to correctly reconstruct Compton kinematics
Very high count rates + high background
  Need to be able to accurately identify true coincidences and maintain good energy resolution (avoid coincidence summing/pile up…)
High gamma-ray energies
  Need to know total initial energy of gamma ray. Fully absorbing several MeV gamma ray requires large/multiple detectors
Low energy noise performance
Potential difficulties

## Slide 20
GRI+ is a mobile Compton camera consisting of three electronically cooled semiconductor detectors
Si(Li) DSSD planar detector
Ge DSSD planar detector
Coaxial HPGe detector
Compton cameras at Liverpool

## Slide 21
Si(Li) planar detector:
13 AC and 13 DC strips
5.5 mm strip pitch
8 mm thick – 71.5 mm diameter
Compton cameras at Liverpool

## Slide 22
Ge planar detector:
12 AC and 12 DC strips
5 mm strip pitch
60 x 60 x 20 mm3
Compton cameras at Liverpool

## Slide 23
HPGe coaxial detector:
Model GC4018
Relative efficiency > 40 %
50 mm thick, 66.5 mm diameter
Compton cameras at Liverpool

## Slide 24
HPGe scattering + absorbing detectors
60 x 60 x 5 mm Scattering detector
60 x 60 x 20 mm Absorbing detector
12 + 12 Orthogonal strips on each detector face giving 144 voxels
Compton cameras at Liverpool

## Slide 25
CZT or Si scattering + stack of CZT absorbing detectors
10x10 pixels, 2 mm2, 2 mm or 5 mm thick
ASIC readout
Portable
Compton cameras at Liverpool

## Slide 26
Si scattering + HPGe absorbing detectors in single custom cryostat
Si(Li) 60 x 60 x 9 mm, 16 + 16 strips each 4 mm wide
HPGe 60 x 60 x 20, 12 + 12 strips each 5 mm wide
Prototype system for use with medical
radionuclides
Compton cameras at Liverpool

## Slide 27
Single crystal HPGe
Segmented germanium detectors
Around 90 mm length, 70 mm diameter
20-40 segments each several cm3
Pulse Shape Analysis + gamma tracking
Compton cameras at Liverpool

## Slide 28
Acknowledgements
Boston. A, Boston. H, Harkness-Brennan. L, Creswell. J, Nolan. P, Caffrey. A, Rintoul. E, Alshamiri. H, Kantalan. S, Platt. J, Dormand. D, Patel. A, Woodroof. T, Unsworth. C, Holliway. F

## Slide 29
Typical energies deposited in the scattering interaction are low
High energy gammas are highly forward focused when scattered
Need low threshold, low noise electronics
Compton Imaging – Noise threshold