## Slide 1: Low Gain Avalanche Photodiode Detectors at Diamond Light Source
Nicola Tartoni
LGAD workshop at Diamond

## Slide 2: Potentially two major uses of LGADs
Detection of tender energy X-ray photons
Detection of X-ray photons in time resolved experiments

## Slide 3: I23 – Long-wavelength macromolecular crystallography
First in-vacuum MX beamline
Access to wavelengths far beyond any other MX beamline (λ < 5.9 Å, E > 2.1 keV)
Largest area detector for MX
At the forefront of synchrotron technology
Many aspects pioneered at I23
  In-vacuum Pilatus for low energies
  Sample cooling in vacuum
  Cryogenic sample transfer
  Collision prevention system

## Slide 4: I23 – New opportunities for structural biology
Unique scientific opportunities exploiting anomalous diffraction from lighter atoms.
I23 provides access to absorption edges of elements of biological importance such as Ca, K, Cl, S and P
Langan et al. Nat. Commun. (2018) 9:4540.
.
Rozov et al. Nat. Commun. (2019) 10:2519.
.
Rudolph et al. Nat. Chem. Biol. 15 (2019) 975.
.
Phasing
Ion identification
Ion occupancies
S
P
Cl
K
Ca

## Slide 5: Other use cases of tender X-ray photons
Medipix3 photon counting detector for I20 spectrometer (wish to go down to 2 keV)
Medipix3 photon counting detector for I16 polarimeter (down to 2.5 keV)

## Slide 6: Photons attenuation length in Si

## Slide 7
p
p
n
n++
n++
n++
n++
n++
Entrance window
Charge multiplication
Charge collection
Some naive ideas…

## Slide 8: Timepix3 for Time Resolved Experiments

## Slide 9: DXT- Diffracted X-ray Tracking
User experiment performed in B16 @ DLS – previously performed only at SPring-8 on a dedicated beamline
Detector positioned with sensitive area just outside the direct beam
One-shot dynamic experiment
White beam
Many thanks to Prof Yuji Sasaki (University of Tokyo) and Dr Hiroshi Sekiguchi (SPring-8)

## Slide 10: DXT- Diffracted X-ray Tracking
Most of time spent to limit the background
Part of the detector sensitive area shielded
Several protein sample tested
Continuous exposures with different duration (between 1 and 10 seconds)
RESULT:
3 s exposure
Frame duration is not fixed: possibility to change frame duration using event timing without need to perform another exposure
60 frames of 50 ms
1200 frames of 2.5 ms
MASKED
ASIC
FOR BACKGROUND
SUPPRESSION

## Slide 11: Time-Resolved Crystallography
User experiment performed in I19 @ DLS
Detector positioned with sensitive area in direct beam path using beamstop
Pump-and-probe experiment using pulsed laser (femtosecond)
Monochromatic beam
Sample: AgCu Complex
Many thanks to Dr Mark Warren and all I19’s team

## Slide 12: Time-Resolved Crystallography
1000 s continuous exposure with laser pump at 10 kHz: continuous probe, periodic pump
Pump signal (trigger) timestamped by detector on same time base of events to realign data in processing
Data driven readout → no downtime!
ADVANTAGES:
µs regime easily accessible
Data collection is 50x faster than the current imaging detector
Samples are less exposed hence less subjected to radiation damage

## Slide 13: Timepix3 Main Characteristics
Pixel arrangement | 256 x 256
Pixel size | 55 x 55 µm2
Chip active area | 1.98 cm2
Total chip area | 2.29 cm2
Dead time per pixel | 475 ns
Measurable time interval | 409.6 µs
Timing resolution | 1.56 ns
Minimum detectable charge | 500 e-
Readout Type | Frame Based Zero Suppressed Data Driven Zero Suppressed

## Slide 14
p
p
n
n++
n++
n++
n++
n++
Signal latency depends on interaction depth
Electron saturation velocity in Si:
~ 10^7 cm/s
Latency spread in 500 um thick sensor:
At least 5 ns

## Slide 15: A long way but… let’s start! Thank you!