## Slide 1
GC-MS to GC-NOMS: A step towards portable analysis
A.Venkatasubramanian, S.K.Roy, V.T.K.Sauer, W.K.Hiebert
National Institute of Nanotechnology, 11421 Saskatchewan Drive, Edmonton, AB, Canada
Motivation
The objective of this research is to develop portable metabolomic devices for companion diagnostics and personalized medicine.
The motivation was to identify new sensing mechanism that can potentially replace the Mass spectrometer (MS) from the Gas chromatography (GC) – Mass spectrometer (MS) system to improve its portability
2 mm
vibration
Dl
vibration
lprobe
modulation
DT
SOI platform; Foundry photonic fabrication; NOMS finishing in-house
released waveguide
10 mm
1 mm
grating coupler
LETI or IMEC
via CMC
Lateral coupling geometry with
maskless release step (V Sauer)
Substrate coupling geometry with
lithographically defined release step
Sauer, Diao, Freeman, Hiebert,
Applied Physics Letters 100, 261102 (2012)
New method for getting light onto chip
NOMS device fabrication
  Some target applications:
  biosensing
  gas sensing
  breath analysis
  gas chromatography
Free space confocal optical setup
1550 nm
NA~0.1
Spot~16mm
Comparing photonic to free-space transduction
NOMS super-sensitivity
800
400
0
0
1
2
3
Free-space signal (mV) Photonic signal (mV)
Optical Racetrack NOMS Devices
Ƒ~1
Ƒ~100
633 nm
NA~0.6
Spot~ 1mm
Photonic is roughly finesse (Ƒ) times better
Optomechanical
coupling (gom, Lmech)
NOMS Responsivity:
optical transmission equation
Optical cavity
Properties (To, Ƒ)
Thermomechanical Noise Signal Normalized By
dT/df: Gap and Length dependence
First NOMS Sensing of GC Peaks
ACKNOWLEDGEMENTS
Response to toluene and xylene
Conclusions
To the best knowledge of the authors, this is the first demonstration of Nano-optomechanical system (NOMS) integrated with Gas chromatography.
Initial results of analyte adsorption is encouraging with accurate synchronization of analyte peaks. Clear indication of analyte adsorption is when SNR ratio above 2.5.
SNR ~ 3
SNR > 5