## Slide 1: Extraction of optical parameters in SNO+ with an in-situ optical calibration system
Dr. Kalpana Singh
On behalf of the SNO+ Collaboration
CAP Congress 2015

## Slide 2: Light Injection System
Timing Calibration
  96 PMMA fibres
  504 nm LEDs
Scattering Measurement
  12 collimated sources (gr. of 3)
  4 injection points, 3 directions
  Multiple wavelengths
Absorption length Monitoring
  4 injection points (group of 2)
  385 nm and 500 nm
  2 injection directions

## Slide 3: Spatial and temporal distribution of Light Components
Fibre Position
Direct Light

## Slide 4: Spatial and temporal distribution of Light Components
Fibre Position
Near AV Reflected Light

## Slide 5: Spatial and temporal distribution of Light Components
Fibre Position
Far AV Reflection
Late Light

## Slide 6: Spatial and temporal distribution of Light Components
Fibre Position
PSUP Reflection
Late Light

## Slide 7: Spatial and temporal distribution of Light Components
Fibre Position
PSUP and AV
Scattering

## Slide 8: Monte Carlo tuning of fibre positions and pointing directions
Data Fibre237
MC Fibre237
Direct Light
Near AV Reflection
Far AV Reflection

## Slide 9: Sorting pmts based on angle
PMT
Fibre
D

Direct Light
on the other side of detector :
cos ~= 1
AV or PSUP reflections
on fibre side:
cos ~= 0

## Slide 10: Sorting pmts based on angle

## Slide 11
Direct Light

## Slide 12
Near AV Reflection

## Slide 13
Far AV Reflection

## Slide 14
Far PSUP Reflection

## Slide 15
AV and PSUP Scattering

## Slide 16
Direct Light
Near AV Reflection
Far AV and PSUP Reflection

## Slide 17
Before Time Calibration
After Time Calibration

## Slide 19: Fibre data and Rope position

## Slide 20: Monte Carlo Tracks of photons – Fibre is in front of Hold down rope

## Slide 21: Rope Shadows and MC tuning
Data
MC

## Slide 22: Tuning of rope coordinates and radius
where vertical has coordinates (0,0,1) and
R has coordinates at equator (z=0) of nearest rope to the fibre

## Slide 23: MC tuning for rope radius and coordinates
Blue – Data, Red – MC
Nhit

## Slide 24: MC tuning for rope radius and coordinates
Nhit
Nhit
Nhit
Radius = 19 mm
Radius = 15 mm
Radius = 12 mm

## Slide 25: Outlook
Commissioning data of fibres have been very useful in MC tuning
  position and radius of ropes at different tensions.
Fibres are meant to be used for time calibration and scattering measurement, data from empty detector is useful to extract optical parameters
An algorithm is under development to quantify the scattered fraction of light
  Angular distribution of PSUP surface scattering and reflections and its normalization
  Angular distribution of AV surface scattering and reflection and its normalization