## Slide 1: Interdisciplinary Applications of Optical Spectroscopy on a Laser-Induced Plasma
Steven J. Rehse
Department of Physics, University of Windsor, Windsor, ON

## Slide 2: Laser-Induced Plasmas
What is a “laser-induced plasma?”
Incident Laser Pulse
Laser-induced plasma
Rare-earth metal target
Can be done with ns, ps, or fs lasers
Threshold irradiance:

## Slide 3
LIP
5,000-50,000 K
1017 – 1020 cm-3
Adapted from Wikipedia

## Slide 4: Laser-Induced Plasmas
What is a “laser-induced plasma?”
Incident Laser Pulse
Laser-induced plasma
Rare-earth metal target
Can be done with ns, ps, or fs lasers
Threshold irradiance:
We can do spectroscopy on that!

## Slide 5: What It looks Like

## Slide 6
When we do a time-resolved spectroscopy of the plasma, we call it:
“Laser-induced breakdown spectroscopy”
or
LIBS

## Slide 7: The Goal of LIBS Plasma Creation
to create an optically thin plasma which is in thermodynamic equilibrium (or LTE) and whose elemental composition is the same as that of the target/sample
  if achieved, atomic emission spectral line intensities can be related to relative concentrations of elements (sometimes absolute concentrations)
  typically these conditions are only met approximately.
steel LIBS spectrum

## Slide 8: History
1960
Maiman: first ruby laser
1962
Brech, Cross: Birth of LIBS: detection of spectrum from ruby laser induced plasma
1964
Runger et al. First direct spectro-chemical analysis by LIBS
1965
Zel’dovich, Raizer: First theoretical model for laser breakdown of a gas

## Slide 9: History
1962-64: First spectrochemical analysis of laser-induced plasma
LIBS coined at LANL
>2000 peer-reviewed papers have been published according to the Web of Science
Why the interest?
“laser-induced breakdown” and/or “laser-induced plasma spectroscopy” @ Web of Science (Thomson Reuters)

## Slide 10: Applications of LIBS
No matter what your application is, you will be doing one of two things:
Attempting to quantify the amount/concentration of some element by analyzing peak intensities
Attempting to identify a target based on its unique elemental composition by analyzing the presence intensity of all/many lines

## Slide 11: Keeping Track of the Elemental Inventory (underlined elements reported in literature)
1 H |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2 He
3 Li | 4 Be |  |  |  |  |  |  |  |  |  |  | 5 B | 6 C | 7 N | 8 O | 9 F | 10 Ne
11 Na | 12 Mg |  |  |  |  |  |  |  |  |  |  | 13 Al | 14 Si | 15 P | 16 S | 17 Cl | 18 Ar
19 K | 20 Ca | 21 Sc | 22 Ti | 23 V | 24 Cr | 25 Mn | 26 Fe | 27 Co | 28 Ni | 29 Cu | 30 Zn | 31 Ga | 32 Ge | 33 As | 34 Se | 35 Br | 36 Kr
37 Rb | 38 Sr | 39 Y | 40 Zr | 41 Nb | 42 Mo | 43 Tc | 44 Ru | 45 Rh | 46 Pd | 47 Ag | 48 Cd | 49 In | 50 Sn | 51 Sb | 52 Te | 53 I | 54 Xe
55 Cs | 56 Ba | 57 La | 72 Hf | 73 Ta | 74 W | 75 Re | 76 Os | 77 Ir | 78 Pt | 79 Au | 80 Hg | 81 Tl | 82 Pb | 83 Bi | 84 Po | 85 At | 86 Rn
87 Fr | 88 Ra | 89 Ac | 104 Rf | 105 Db | 106 Sg | 107 Bh | 108 Hs | 109 Mt | 110 Uun | 111 Uuu | 112 Uub |  | 114 Uuq |  | 116 Uuh |  | 
 |  |  | 58 Ce | 59 Pr | 60 Nd | 61 Pm | 62 Sm | 63 Eu | 64 Gd | 65 Tb | 66 Dy | 67 Ho | 68 Er | 69 Tm | 70 Yb | 71 Lu | 
 |  |  | 90 Th | 91 Pa | 92 U | 93 Np | 94 Pu | 95 Am | 96 Cm | 97 Bk | 98 Cf | 99 Es | 100 Fm | 101 Md | 102 No | 103 Lr | 
(■ Solids ■ Liquids ■ Gases ■ Artificially prepared)
www.arl.army.mil/wmrd/LIBS

## Slide 12: Advantages of LIBS - spatial resolution
Laser allows point sampling (1-100 micron)
Elemental “surface maps” can then be created
Courtesy of Ben Smith, Javier Laserna
Courtesy of F.C. Alvira et al.

## Slide 13: Advantages of LIBS - depth profiling
Because laser only removes g to ng of material, ablation crater only microns deep
Subsequent shots thus sample progressively deeper layers
Courtesy of Ben Smith
Courtesy of Ben Smith

## Slide 14: Advantages of LIBS – sensitivity & speed
Concentrations of 1-100 ppm usually detectable in seconds using a standard LIBS apparatus

## Slide 15: Advantages of LIBS - portability / standoff
Apparatus is compact, low weight; can be made man-portable
All optical technique, so can be done at a distance “stand-off”

## Slide 16
First responder CBRNE prototypes have been built…
Head’s-up display
Hand-held probe contains laser, joystick for control, and focus optics
Microplasma/ LIBS Event
Backpack contains broadband high-resolution spectrometer, laser power supply, computer, and battery
courtesy of Ocean Optics.

## Slide 17
Courtesy of A.J. Miziolek, A. Whitehouse
High-energy remote systems have been built…

## Slide 18
Hand-held systems have been built…
mPulse – Oxford Instruments
ChemLite- TSI, Inc
LIBZ – SciApps, Inc

## Slide 19: Interdisciplinary Applications
The utility and ease of operation lend themselves to a variety of interdisciplinary applications.
Four I want to mention:
1. Bacterial identification
2. Biomedical specimens
3. Atomic branching ratios
4. Mars exploration

## Slide 20: 1. Bacterial identification

## Slide 21
Zinc in the fingernails has been shown to represent the overall zinc concentration in the body (needed for enzymatic activity, cellular processes, neuron communication.)
Need a real-time biomedical assay to evaluate zinc content.
2. Biomedical specimens
We are seeing adequate SNR of zinc at the 150 ppm level in human nails.
Notes: Shots separated by approximately 0.3 mm

## Slide 22: 3. Branching Ratios (Fractions)
440nm
6s 6I7/2
0.00 (cm-1)
6s 6I9/2
513.32(cm-1)
6s 4I9/2
1650.19(cm-1)
6s 4I11/2
3066.75(cm-1)
5d 6L11/2
4437.55(cm-1)
5d 6I7/2
7524.74(cm-1)
5d 6K9/2
6005.27(cm-1)
5d 6K11/2
6931.80(cm-1)
6p 6K9/2
Nd II: 23229.99(cm-1)
636nm
613nm
580nm
531nm
495nm
463nm
430nm
UPPER ENERGY LEVEL
Only 8 allowed transitions

## Slide 23: Metallic targets in low pressure Ar atmosphere yield good intensities for BR measurements
Observation time after plasma formation
Nd III : < 1 μs
Nd II : 1 μs to 3 μs
Nd I : > 3 μs
3. Branching Ratios (Fractions)

## Slide 24: 4. Mars exploration

## Slide 25: 4. Mars exploration

## Slide 26: 4. Mars exploration
SELFIE ON MARS

## Slide 27: 4. Mars exploration
Alpha Particle X-ray Spectrometer (APXS)
ChemCam (LIBS)
Courtesy of www.phys.org

## Slide 28: Conclusions
LIBS provides an accurate, fast, spatially resolved, remote spectrochemical analysis of almost any type of target (solid, liquid, gas, powder)
High degree of versatility and robustness suggests its adoption in many different interdisciplinary fields
Experiments utilizing LIBS involve an exciting mixture of physics, laser science, and analytic chemistry (at a minimum)

## Slide 29: Funding and Acknowledgements
We gratefully acknowledge funding for this project provided by:
A Natural Sciences and Engineering Research Council of Canada Discovery grant and a Research Tools and Instruments grant
A Canada Foundation for Innovation Leaders Opportunity Fund grant
An Ontario Research Fund Small Infrastructure Funds grant
University of Windsor Outstanding Scholars program
University of Windsor Faculty of Science

## Slide 30
All Credit to the Students!
Khadijia Sheikh
Russell Putnam
Andrew Daabous
Derek Gillies
Dylan Malenfant
Anthony Piazza
Vlora Riberdy
Allie Paulick
Dan Trojand