## Slide 1: Neutron Electric Dipole Moment Measurement at TRIUMF
J. Martin
The University of Winnipeg
S. Ahmed3,4, E. Altiere2, T. Andalib3,4, C. Bidinosti3,8, J. Birchall4, C. Davis5, M. Gericke4,
S. Hansen-Romu3,4, K. Hatanaka6, T. Hayamizu2, B. Jamieson3, D. Jones2, K. Katsika5, S. Kawasaki1,
T Kikawa5,6,1, A. Konaka5,8, E. Korkmaz7 , M. Lang3, T. Lindner5,3, L. Lee4,5, K. Madison2, J. Mammei4,
R. Mammei3,5, J. Martin3, R. Matsumiya6, E. Miller2, T. Momose2, S. Page4, R. Picker5,9, E. Pierre6,5,
W. Ramsay5, L. Rebenitsch3,4, J. Sonier9, I. Tanihata6, W.T.H. van Oers4,5, Y. Watanabe1,
and J. Weinands2
1KEK, Tsukuba, Ibaraki, Japan
2The University of British Columbia, Vancouver, BC, Canada
3The University of Winnipeg, Winnipeg, MB, Canada
4The University of Manitoba, Winnipeg, MB, Canada
5TRIUMF, Vancouver, BC, Canada
6RCNP, Osaka, Japan (Osaka University, Osaka, Japan)
7The University of Northern BC, Prince George, BC, Canada
8Osaka University, Osaka, Japan
9Simon Fraser University, Burnaby, BC, Canada

## Slide 2: Electric dipole moments and CP violation
The EDM (d) term violates CP.
Sensitivity to CP violating sources
  θQCD strong CP problem
  New CP violating sources above TeV scale, as required in baryogenesis scenarios.
Precision goal δdstat = 1.4 x 10-25 e-cm/cycle, δd ~ 10-27 e-cm in full experiment.
Sussex-RAL-ILL experiment d < 3.0 x 10-26 e-cm.

## Slide 3: Ultracold Neutrons (UCN)
Neutrons that are moving so slowly that they bounce off surfaces and can be bottled.
  v < 8 m/s = 30 km/h
  T < 4 mK
  K.E. < 300 neV
Interactions:
  Gravity: V = mgh mg = 100 neV/m
  Magnetic: V = -μ•B μ = 60 neV/T
  Strong: V = Veff Veff < 335 neV
  Weak: τ = 886 s = 15 mins.

## Slide 4
nEDM Experimental Cycle
p
n
UCN
valve
opens
phonon
Experiment
D2O cryostat
He-II cryostat
4He (4K,1K)
3He (0.8K)
Isopure 4He
Measurement of d takes eight fills of the nEDM cell.

## Slide 5: UCN/nEDM at TRIUMF
Overview:
  Spallation-driven superfluid-helium UCN source connected to room-temperature nEDM experiment.
  Goal sensitivity: δdn ~ 10-27 e-cm (“Phase 2”)
Recent/upcoming progress:
  Ongoing nEDM R&D: magnetic fields, comagnetometry with 129Xe- 199Hg, UCN guides, EDM cell/HV.
  Most components (incl. cold moderator cryostat from Japan) at TRIUMF and prepped.
  Superfluid cryostat by this fall.
  CFI IF proposal for UCN source upgrade and nEDM expt. in prep.
500 MeV
protons
UCN source
Shielding base layer installed
Kicker installed, commissioning
Comagnetometer laser reached 300 mW
UCN guide tests @ J-PARC & PSI this summer
Facility as expected in Sept. 2016

## Slide 6: Ultra-Cold Neutrons and the Electric Dipole Moment
Kicker magnet
Deflects every third proton bunch upwards
Lambertson septum
deflects upper beam by 9° to the left into BL1U
Bending dipole
deflects beam by 7° more
Quads
Diagnostics
Tungsten target + extraction system
Helium cryostat
cools He to < 1 K and neutrons to mK
HT SC Magnet
100% UCN polarization
Phase 2EDM experiment
Passive shielding
coils
EDM cell
2016
2014
2014
2015
2016
2016
2016
Phase 1: 2017
Phase 2: 2019
UCN facility in the Meson hall at TRIUMF
Status
UCN source
    Beamline finished by May 2016
    Installation of UCN source components by end of 2016
EDM experiment
    Phase 1 coming from Japan in 2017
    Phase 2 developed in Canada (CFI proposal this year) for 2019
Excellent talks by L. Lee and T. Kikawa @ CAP
yesterday morning

## Slide 7
“Phase 1” – what will exist in 2017
use existing EDM Ramsey apparatus from RCNP, Osaka
exploit higher UCN density at TRIUMF (also more beamtime available)
room temperature, 1 small cell, vertical loading, spherical B0 coil
incremental improvements allowing system tests, until replaced by Phase 2
  Active magnetic compensation system
  high voltage
  comagnetometer
  high-flux detector
EDM Phase 1 at RCNP
EDM Phase 1 schematic
ca 1 m

## Slide 8
“Phase 2” – to implement by 2020
LD2 moderator, to increase cold flux entering the superfluid
New high-quality UCN guides, and coating facility.
World-competitive nEDM experiment apparatus.
  New magnetic shielding, UCN guides/coatings, dual-species comagnetometer, multiple cells/HV, environmental stability, …
Possibly a new superfluid helium UCN source (depending on funding) CFI Innovation Fund application in progress. Scale $14M.
LD2 moderator surrounding superfluid He

## Slide 9: Canadian nEDM R&D
Dual Co-magnetometer
Magnetic environment
UCN detection
Electric field, UCN cell
UCNA @ LANL
Cylindrical shells of the 4 layer FM shield
active shielding
passive shielding
creation of stable, homogeneous B fields
Precision atomic magnetometry and SQUIDs
Need faster detectors
Li glass scintillators + lightguide + PMTs
Test run in August 2015 at PSI
R&D towards dual detectors which count both spin states simultaneously.
  n+6Li→3H (2.74 MeV) +4He (2.05 MeV)
UCN detection scheme
dielectric strength of Xe at 10-3 mbar unknown
50x100 mm cylindrical test cell
gas breakdown studies
material studies
HV test cell
0.1 m
Li glass
Lightguides
PMTs
9
Hg, Xe polarisation
laser development
2-photon transition requires development of intense CW UV lasers.
Xe EDM measurement

## Slide 10: Xe/Hg comagnetometer
All nEDM experiments use Hg comagnetometer to measure magnetic field in nEDM cell at same time as neutrons.
Goal: develop new magnetometer technology to remove false EDM of Hg comagnetometer, similar to:
  Cs magnetometers
  Neutrons as magnetometers
  3He magnetometers
Our plan: dual Xe/Hg comagnetometer cancels false EDM
Key R&D questions to be answered (Xe-129):
  2 photon direct laser probe
  HV breakdown vs. operating pressure
Laser design path parallel to Hg-199 laser.
Pursued by PSI group

## Slide 11: Xe/Hg Comagnetometer
253 nm CW Laser for Xe Excitation
252.4 nm Output Power Stability
@ 505 nm 1.28 W
OPSL
1009 nm CW
3.3 Watts
𝜑
252.4 nm
320 mW
505 nm
1.6 W
1009 nm 3.3 W
Pump
Feedback beam
Feedback beam
Beam out
LBO
BBO
PZT
PZT
Cavity Locking System
Cavity Locking System
Chip
PZT
10 MHz
16.6 MHz
253 nm CW laser system @ UBC
Recent highlight:
We now obtain 320 mW at 252.4 nm (linewidth <200kHz) without any power degradation.

## Slide 12: EDM cell and HV development
gas filling system
HV electrode
insulator
Macor support
HV feedthrough
Corona rings
1GΩ Resistor
Goals:
Investigate Xe gas and material compatibility with HV (15 kV/cm), neutrons, spins, lasers
Status, plans:
HV test setup complete, electrodes commissioned to 120 kV/cm
2016:
  Xe gas HV measurements
  cold neutron tests of insulating neutron storage coatings (dPE, dPS) at J-PARC
  UV laser transmission tests
86 cm
Recent highlight

## Slide 13: UCN Detector: Tests at PSI
Tested detector based on scintillating 6Li glass
  Benchmarked vs Cascade detector (boron coated gem detector at PSI)
Shown to be more efficient than that technology, particularly for high rates
  No show stoppers up to the rates of UCN tested (~150 kHz/channel)
L. Rebenitsch, B. Jamieson, et al., in prep.
Recent highlight:
Better understanding of contributions to measured spectra.
Data taking at PSI,
August 2015.

## Slide 14: Recent highlights: Magnetic Fields
A few recent highlights:
  Magnetic homogeneity (theoretical/FEA) progress.
  Time/temperature stability of magnetic fields.
  New measurements using NMOR-based Rb magnetometer in free-induction-decay mode, aimed at improving long-term stability.
  Planning for the magnetic environment at TRIUMF.

## Slide 15: Magnetic Homogeneity
Need 1 uT field with nT/m homogeneity generated inside multi-layer magnetically shielded room.
Innovative techniques to design very homogeneous coils, and shim coils.
New paradigm could be self-shielded coils, decoupling the coil design/stability from the magnetic shielding design/stability.
C. Crawford (UKy) technique.
C. Bidinosti (UWpg) technique

## Slide 16: Magnetic Stability
AC measurements of temperature stability of magnetic systems.
  Magnetic shielding
  Transformer core made of same material as shielding
  Studies with application to degaussing
Next: DC stability
e.g. Jiles-Atherton model shows quantitative understanding of hysteresis effects in measurement scheme.
T. Andalib, et al., in prep.
Out-of-phase
Sense coil
In-phase
Sense coil
Need long-term ~pT stability

## Slide 17: Internal Magnetic Sensors
Developing sensors based on nonlinear magneto-optical rotation (NMOR) of laser light polarization.
Achieved 20 fT precision in ~ 1 Hz bandwidth.
But can these sensors provide good stability in 0.01 Hz bandwidth?
Idea: use free-induction decay mode to remove laser instability. First demonstration completed in Winnipeg December 2015.
New: FID of optical rotation signal
time (s)
100 fT
J.W. Martin et al. NIM A 778, 61 (2015).

## Slide 18: Magnetic Environment @ TRIUMF
Magnetic field ~ 300 uT with 100 nT fluctuations at night
Saturation of MSR? Bucking coils?
Active compensation prototype.
Winnipeg prototype…
…modeled after PSI’s design

## Slide 19: Summary
UCN source & proton beamline installation to be completed calendar 2016.
R&D progress for the nEDM experiment.
Phase 1 nEDM operating by 2017.
Phase 2 aiming at 10-27 e-cm precision, CFI IF application in prep.

## Slide 20: Sakharov’s Criteria and EW Baryogenesis Solutions
Criteria
Departure from thermal equilibrium
B-violation
CP-violation
EW Baryogenesis
Requires new physics and CP-violation near the EW scale
D.E. Morrissey and M.J. Ramsey-Musolf, New J. Phys. 14, 125003 (2012).
EW Baryogenesis Problems:
EW phase transition not strong enough
Not enough CP violation in SM

## Slide 21: Sensitivity to new sources of CP violation
e.g. SUSY CP problem and relationship to LHC
M. Pospelov and A. Ritz,
A. Ritz, TRIUMF Summer Institute, 2012.
Induces:

## Slide 22: Sensitivity to SM sources of CP violation
Strong sector may violate CP via θ term.
Naively θ ~ 1.
Experimentally θ < 10-11, constrained mainly by nEDM.
Strong CP problem
Solution: Peccei-Quinn symmetry, axions(?)
CKM CP violation is 10-31 e-cm background

## Slide 23
129 Xe gyromagnetic ratio
Precession frequency [Hz] with a permanent dipole moment
Xe co-magnetometer
Expected upper limit for Xe atomic EDM measurements
per
per day with Xe
The present Xe EDM upper limit
Xe EDM sensitivity
nEDM error due to the present Xe atomic EDM upper limit
For <10-27 nEDM measurements
at
Xe
with Xe
Assuming design parameters for nEDM.
Smaller cell, higher E, higher pressure are other options to boost sensitivity.
64 days of measurement to reach this goal.