## Slide 1: Astronomy in the undergraduate advanced lab Studying delta-Scuti variable stars
Etienne Rollin
Penka Matanska
Carleton University, Ottawa
Canadian Association of Physicists Congress 2016 - Ottawa

## Slide 2: Outline
Background information
Equipment required
Data collection
Data analysis
Summary

## Slide 3: Origin
We wanted an experiment that would allow students to learn about observational astronomy.

## Slide 4: Variable Stars Considered
Their brightness varies significantly over a few hours.
They can be used as “standard candles”
Dwarf Cepheids
Sct
HADS
SX Phe

## Slide 5: Equipment required
Item | Recommendation | Price
Telescope | Diameter > 4” | $400 or more
Mount | Good tracking mount Tracks over a period of several hours | $1000 or more
CCD camera | Monochrome Large field of view Filter wheel for temperature measurement | $2000 or more
Acquisition Software | Comes with camera | Free
Analysis Software | AstroImageJ | Free
Alternative 1: Internet connected telescopes
Alternative 2: Computer generated images (Gaussian stars + noise)

## Slide 6: Apparatus at Carleton University

## Slide 7: Preparation
Find an adequate variable star
  High altitude, for a few hours
  Bright enough for the instrument
  Large variability
  Short period of variability
Advanced: Ask students to write a pseudo-formal proposal to use the telescope with an observation plan.

## Slide 8: Data Collection
Find the star
  Good motorized mount
  Large field of view camera/telescope combination
  Software
Find an adequate exposure time
Record images during several hours
Advanced: Record bias, darks and flats for image reduction.

## Slide 9: Data Analysis
Differential Photometry
AstroImageJ has intuitive routines
Identification of the stars (target and references)
Integrate the signal and remove the background
Convert the number of counts to a magnitude
Advanced: Submit data to AAVSO

## Slide 10: Distance Measurement
Extract the period of oscillation.
From the period (in days), calculate the absolute magnitude.
From the apparent () and absolute () magnitudes, calculate the distance (, in parsecs).
Advanced: O-C diagram, phase diagram or periodicity over many days/years

## Slide 11: Temperature Measurement
Calculate the star magnitude for the images taken through the photometric B and V filters.
Chart: Wavelength (nm)
Advanced: Extinction – Correction of

## Slide 12: Summary
The variable stars experiment teaches students:
  Observational astronomy experience
  Quantitative measurements on images; signal integration, noise, etc…
  Error analysis (propagation)
  Fitting routines, Fourier series
  Several astrophysics concepts
    Variable star types/mechanisms
    Inverse square law
    Blackbody spectrum
The variable stars experiment cost about $3000 to $5000 to implement.
Allow students at least 5 hours of data taking and 10 hours of analysis.

## Slide 13: Similar projects
Exoplanets
Asteroids
Evidence of Dark matter
Spectroscopy

## Slide 14: Useful Links
American Association of Variable Star Observers (AAVSO)
List of interesting variable stars
  Rodriguez, E. et al., 2000, A List of δ Scuti Stars and their Associated Parameters
Period/luminosity relationship
  King, J. R., 1991, On the delta Scuti Period-Luminosity Relation
(B-V)/Temperature relationship
  Reed, C., 1998, The Composite Observational-Theoretical HR Diagram
Stellarium (free planetarium software)

## Slide 15: List of high amplitude variable star studied
V2455 Cyg (Summer/Fall)
XX Cyg (Summer/Fall)
BL Cam (Fall/Winter/Spring)
DY Peg (Summer/Fall/Winter)
YZ Boo (Spring/Summer/Fall)

## Slide 16: Theory
Increase in Heat/Pressure
Star
Expands
More
Transparent
More
Opaque
Star
Contracts
Decrease in Heat/Pressure
He ionization
near the center
of the star

## Slide 17
Chart: YZ Boo

## Slide 18
Chart: YZ Boo Phase diagram

## Slide 19
Chart: V2455 Cyg B and V magnitudes
Chart: Temperature of V2455 Cyg

## Slide 20: HR Diagram
The Spectral Class is related
to and the temperature
The Absolute Magnitude is
related to the period for a Sct star
Source: Rursus at Wikimedia

## Slide 21: Radius Measurement
Calculate the star magnitude for the images taken through the photometric B and V filters.
: Radius of the star in meters
: Temperature of the star in kelvins
: Absolute magnitude of the star

## Slide 22: Typical Measurements (DY Peg)
 | Period (days) | Distance (pc) | Temperature (K)
Measured |  |  | to
Published |  |  | to
 | Period (days) | Distance (pc) | Temperature (K)
Measured |  |  | 
Published |  |  |